Australasian Health Facility Guidelines

Part D – Infection Prevention and Control

Infection Prevention and Control Checklist

April 2025

Version 8.0

| Infection Prevention and Control Checklist |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Facility: Name of HPU: (Print and complete one per HPU) |  |  |  |  |  |
| Agreed Role Delineation Level: |  |  |  |  |  |
| No. | Item | Y | N | N/A | Remarks / Comments |
| 1.0 | Hand Hygiene Facilities |  |  |  |  |
| 1.1 | Are the handwash basin types specified appropriate for their functions? |  |  |  |  |
| 1.2 | Are sufficient numbers of handwash basins provided? |  |  |  |  |
| 1.3 | Are the tap types specified appropriate for their functions? |  |  |  |  |
| 1.4 | Is the handwash basin available in a location that makes it accessible for all patient care and aseptic procedures? |  |  |  |  |
| 1.5 | Is alcohol-based hand rub available in a location that makes it accessible for all patient care and aseptic procedures? |  |  |  |  |
| 2.0 | Isolation Rooms |  |  |  |  |
| 2.1 | Are sufficient numbers of isolation rooms of the appropriate type provided? |  |  |  |  |
| 2.2 | Do the isolation rooms meet the minimum requirements for the class specified? |  |  |  |  |
| 2.3 | Are rooms identified for aerosol producing procedures (AGP) meet the minimum requirements? |  |  |  |  |
| 3.0 | Personal Protective Equipment (PPE) |  |  |  |  |
| 3.1 | Do bedrooms identified for care of patient/s with infection have PPE provided outside? |  |  |  |  |
| 3.2 | Do negative pressure rooms have PPE provided in the anteroom? |  |  |  |  |
| 3.3 | Are the PPE dispensers provided appropriate for the room/space? |  |  |  |  |
| 4.0 | Surfaces, Finishes & Components |  |  |  |  |
| 4.1 | Are the following finishes appropriate for the room usage? |  |  |  |  |
|  | Floor |  |  |  |  |
|  | Ceiling |  |  |  |  |
|  | Wall |  |  |  |  |
|  | Skirting |  |  |  |  |
|  | Fixture and fittings materials |  |  |  |  |
|  | Furniture materials |  |  |  |  |
| 5.0 | Physical Environment |  |  |  |  |
| 5.1 | Do operating areas sufficiently separate clean and contaminated areas? |  |  |  |  |
| 5.2 | Do cleaning and clean up areas sufficiently separate clean and contaminated areas? |  |  |  |  |
| 5.3 | Are staff eating and recreational areas sufficiently separate from work areas and patient treatment areas? |  |  |  |  |
| 6.0 | Storage and Supplies |  |  |  |  |
| 6.1 | Is the storeroom fit for purpose regarding IPC requirements? |  |  |  |  |
| 6.2 | Do the sterile storerooms meet the minimum requirements of sterile storage standards? |  |  |  |  |
| 6.3 | Do the storage fixtures and joinery meet the minimum IPC requirements? |  |  |  |  |
| 6.4 | Are there separate storage for boxes of sterile & non-sterile consumables and equipment? |  |  |  |  |
| 7.0 | Linen / Waste Management |  |  |  |  |
| 7.1 | Are clean and dirty linen stored in appropriate locations? |  |  |  |  |
| 7.2 | Are waste receptacles and storage locations appropriate for the types of wastes? |  |  |  |  |
| 7.0 | Additional IPC Items (Add IPC items specific to HPU) |  |  |  |  |
| 7.1 |  |  |  |  |  |
| 7.2 |  |  |  |  |  |
| 7.3 |  |  |  |  |  |