## Room Template Data
Room Data Sheet - File for Import
2026-04-07
No. of Standard Components = 1
Code | Template Name | Standard Component Set | ICS Translation Status | Standard Area | Modeled Ceiling Height | Previous Code | RDS Rev: Name | RDS Rev Date: Name | Panorama - URL for Project Use | Briefing - Hours of Operation | Briefing - Occupancy | Briefing - Description | Briefing - Additional Considerations | Performance Requirements - Electrical - PROTECTION: body protected | Performance Requirements - Electrical - PROTECTION: cardiac protected | Performance Requirements - Lighting - LIGHTING: general | Performance Requirements - Lighting - LIGHTING: colour corrected | Performance Requirements - Lighting - LIGHTING: dimmable | Performance Requirements - Lighting - LIGHTING: indirect | Performance Requirements - Nurse Call and Duress - NURSE CALL SYSTEM: buttons / handset | Performance Requirements - Nurse Call and Duress - NURSE CALL SYSTEM: annunciator | Performance Requirements - Nurse Call and Duress - DURESS: fixed | Performance Requirements - Nurse Call and Duress - DURESS: wireless coverage | Performance Requirements - Security - ACCESS CONTROL: to door | Performance Requirements - Security - ACCESS CONTROL: to item / joinery | Performance Requirements - Security - INTERCOM: service communications | Performance Requirements - Security - INTERCOM: security and access control | Performance Requirements - Security - CCTV: camera coverage within room | Performance Requirements - Security - INTRUSION DETECTION: door monitoring | Performance Requirements - Security - INTRUSION DETECTION: spatial monitoring | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: patient entertainment system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: visitor experience system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: virtual collaboration system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: clinical support system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: digital operating room system | Performance Requirements - Accessibility - AUDIO: hearing augmentation | Performance Requirements - Accessibility - VISUAL: luminance contrast | Performance Requirements - Accessibility - SIGNAGE: accessible, statutory | Performance Requirements - HVAC - AIRCONDITIONING: general | Performance Requirements - HVAC - AIRCONDITIONING: HEPA filtered | Performance Requirements - HVAC - AIRCONDITIONING: positive pressure | Performance Requirements - HVAC - AIRCONDITIONING: negative pressure | Performance Requirements - HVAC - VENTILATION: exhaust | Performance Requirements - HVAC - VENTILATION: supply | Performance Requirements - HVAC - VENTILATION: natural | Performance Requirements - Medical Gas - MEDICAL GAS: general anaesthesia | Performance Requirements - Medical Gas - MEDICAL GAS: special care | Performance Requirements - Medical Gas - MEDICAL GAS: special care, neonatal ventilation | Performance Requirements - Medical Gas - MEDICAL GAS: birthing | Performance Requirements - Hydraulic - WATER: drinking | Performance Requirements - Hydraulic - WATER: specialty | Performance Requirements - Hydraulic - DRAINAGE: sanitary | Performance Requirements - Hydraulic - DRAINAGE: specialty | Performance Requirements - Fire - DETECTION: smoke | Performance Requirements - Fire - DETECTION: heat | Performance Requirements - Shielding - SHIELDING: ionising radiation | Performance Requirements - Shielding - SHIELDING: magnetic and radio frequency | Performance Requirements - Acoustics - SPEECH PRIVACY: not private | Performance Requirements - Acoustics - SPEECH PRIVACY: moderate | Performance Requirements - Acoustics - SPEECH PRIVACY: private | Performance Requirements - Acoustics - SPEECH PRIVACY: confidential | Performance Requirements - Acoustics - NOISE SENSITIVITY: not sensitive | Performance Requirements - Acoustics - NOISE SENSITIVITY: low | Performance Requirements - Acoustics - NOISE SENSITIVITY: medium | Performance Requirements - Acoustics - NOISE SENSITIVITY: high | Performance Requirements - Acoustics - NOISE GENERATION: low | Performance Requirements - Acoustics - NOISE GENERATION: moderate | Performance Requirements - Acoustics - NOISE GENERATION: high | Performance Requirements - Acoustics - NOISE GENERATION: very high
ADLB | ADL Bathroom | Allied Health | Translation and QA Only | 12 | 2700 |  | 4 | 07.04.2026 |  | Up to 24 hours (dependent on unit operating hours) | 1 patient;; 1-2 staff | The ADL Bathroom provides a toilet, basin with vanity, shower and bath for the training and assessment of patients in Activities of Daily Living (ADL) tasks. | ~ The room is to provide domestic facilities with grab rails and other assistive devices to be included to reflect reasonable home modifications and equipment utilised by patients. The entrance of the room is to be flush with the adjoining corridor. The door is to be fitted with escape hardware for the door to open outwards if required. ~ An operational model for responding to calls from staff/patients will be needed to support the inclusion of a nurse call system and is to be determined based on service requirements. ~ The shower area may include a fixed raised hob to simulate a domestic scenario depending on service requirements. | TRUE | FALSE | TRUE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE

## Items In Room Template
Room Data Sheet - File for Import
2026-04-07
Code | Template Name | Standard Component Set | Item List: Name | Item Number | Name | Quantity | Priority | Category: Name | Comment
ADLB | ADL Bathroom | Allied Health | D+W | AFDPR-006.01 | DOOR PROTECTION: plate, to 900H | 1 | 1 | Internal - Door 1 | [DWPR-006] to room side
ADLB | ADL Bathroom | Allied Health | D+W | AFDPR-006.01 | DOOR PROTECTION: plate, to 900H | 1 | 1 | Internal - Door 1 | [DWPR-005] to corridor side, extent dependent on movement of beds and mobile equipment in adjacent area; to be coordinated with corridor wall protection
ADLB | ADL Bathroom | Allied Health | D+W | AFDPR-056.03 | DOOR FRAME PROTECTION: full wrap, to 1200H | 1 | 3 | Internal - Door 1 | [DWPR-010] optional
ADLB | ADL Bathroom | Allied Health | D+W | DOHI-104.01 | DOOR: hinged, 1 1/2 leaves, 1400 clear opening, solid | 1 | 1 | Internal - Door 1 | [DWSC-021] with privacy latch and emergency release
ADLB | ADL Bathroom | Allied Health | FFE | FIBM-102 | MIRROR: fixed, safety glass, frameless | 1 | 1 |  | [FIBM-006] to basin
ADLB | ADL Bathroom | Allied Health | FFE | FIBM-102 | MIRROR: fixed, safety glass, frameless | 1 | 1 |  | [FIBM-007] dressing
ADLB | ADL Bathroom | Allied Health | FFE | FIDI-231 | DISPENSER: paper towel, wall mounted | 1 | 1 |  | [FIDI-025] to basin
ADLB | ADL Bathroom | Allied Health | FFE | FIDI-256 | DISPENSER: soap, wall mounted | 1 | 1 |  | [FIDI-030] to basin
ADLB | ADL Bathroom | Allied Health | FFE | FIDI-282 | HOLDER: soap/shampoo, wall recessed | 2 | 1 |  | [FIDI-051]
ADLB | ADL Bathroom | Allied Health | FFE | FIDI-301 | DISPENSER: toilet paper, wall mounted | 1 | 1 |  | [FIDI-036]
ADLB | ADL Bathroom | Allied Health | FFE | FIHR-026 | HOOK: coat, wall mounted | 4 | 1 |  | [FIHR-026]
ADLB | ADL Bathroom | Allied Health | FFE | FIRT-051 | TRACK: curtain, privacy | 1 | 1 |  | [FIRT-034] optional, dependent on infection control policy
ADLB | ADL Bathroom | Allied Health | FFE | FIRT-105 | GRAB RAIL: 90 degree | 1 | 1 |  | [FIRT-048]
ADLB | ADL Bathroom | Allied Health | FFE | FIRT-125 | GRAB RAIL: toilet, 90 degree | 1 | 3 |  | [FIRT-006] 1 is optional, dependent on service requirements
ADLB | ADL Bathroom | Allied Health | FFE | FIRT-136 | GRAB RAIL: toilet, drop down | 1 | 3 |  | [FIRT-008] optional, dependent on service requirements and expected patient cohort
ADLB | ADL Bathroom | Allied Health | FFE | FIRT-151 | GRAB RAIL: shower, straight, horizontal | 1 | 1 |  | [FIRT-003] may be combined with rail for hand held shower
ADLB | ADL Bathroom | Allied Health | FFE | FIRT-173 | GRAB RAIL: bath, straight, vertical | 1 | 1 |  | [FIRT-044]
ADLB | ADL Bathroom | Allied Health | FFE | FQGE-102 | CURTAIN: shower | 2 | 3 |  | [FQGE-011] optional, provision to be confirmed to suit local IPC policies and operational models for cleaning/replacement of curtains
ADLB | ADL Bathroom | Allied Health | FFE | FQWS-051 | BIN: general waste, 20L | 1 | 1 |  | [FQCW-016] to basin
ADLB | ADL Bathroom | Allied Health | FFE | FQWS-331 | BIN: sanitary waste | 1 | 3 |  | [FQCW-037] optional, dependent on waste management policy
ADLB | ADL Bathroom | Allied Health | FFE | HYBA-143 | BASIN: type C, handwashing, with integral double shelf | 1 | 1 |  | [HYBA-002] shelf for patient belongings may be integral or separate
ADLB | ADL Bathroom | Allied Health | FFE | HYBA-201 | BATH: domestic, built-in, straight | 1 | 1 |  | [HYBA-025] warm water
ADLB | ADL Bathroom | Allied Health | FFE | HYSH-056 | SHOWER: hand-held, connection on wall, bracket on vertical wall mounted rail | 1 | 1 |  | [HYTP-020] to shower, vertical rail to have grabrail strength and fixings
ADLB | ADL Bathroom | Allied Health | FFE | HYSH-056 | SHOWER: hand-held, connection on wall, bracket on vertical wall mounted rail | 1 | 1 |  | [HYTP-021] to bath, vertical rail to have grabrail strength and fixings
ADLB | ADL Bathroom | Allied Health | FFE | HYTP-051 | TAPWARE: basin, mixer, fixture mounted | 1 | 1 |  | [HYTP-036] selection of basin and tapware to be coordinated to ensure compatibility
ADLB | ADL Bathroom | Allied Health | FFE | HYTP-251 | TAPWARE: shower, mixer | 2 | 1 |  | [HYTP-039] diverter required for shower over bath
ADLB | ADL Bathroom | Allied Health | FFE | HYTP-331 | TAPWARE: bath, spout, wall mounted | 1 | 1 |  | [HYTP-028]
ADLB | ADL Bathroom | Allied Health | FFE | HYWC-031 | TOILET SUITE: patient | 1 | 3 |  | [HYWC-006] 100mm clearout access point optional
ADLB | ADL Bathroom | Allied Health | FFE | MMBE-038 | TRANSFER AID: bench seat, patient self-assist transfer and positioning, freestanding | 1 | 1 |  | [FQBS-008] for over bath
ADLB | ADL Bathroom | Allied Health | FFE | MMGE-024 | CHAIR: shower | 1 | 1 |  | [MMGE-024] commode chair or combined shower/commode chair is also acceptable
ADLB | ADL Bathroom | Allied Health | FIN | CLCN-041 | CORNICE: wall trim fixing, prefinished | 1 | 1 | Ceiling Cornice | [CLCN-009] square set cornice acceptable if flush set ceiling is provided
ADLB | ADL Bathroom | Allied Health | FIN | CLTI-025.02 | CEILING: drop-in tiles, moisture resistant, prefinished, 600 x 1200 | 1 | 1 | Ceiling Finish 1 | [CLTI-014] water resistant flush set ceiling is also acceptable
ADLB | ADL Bathroom | Allied Health | FIN | FLGE-151 | SHOWER HOB: integrated with adjacent floor finish, vinyl | 1 | 3 | Floor Finish 2 | [FLGE-019] optional
ADLB | ADL Bathroom | Allied Health | FIN | FLSK-021 | SKIRTING: vinyl, integral with floor vinyl, coved | 5 | 1 | Floor Skirting | [FLSK-010] tiles acceptable if tiled floor is provided
ADLB | ADL Bathroom | Allied Health | FIN | FLVY-113 | FLOOR FINISH: vinyl, seamless, non-slip, wet area | 1 | 1 | Floor Finish 1 | [FLVY-009] significant change in colour from adjacent corridor to be avoided, to be suitable for bare feet, tiles are also acceptable
ADLB | ADL Bathroom | Allied Health | FIN | WLFI-011.07 | WALL FINISH: vinyl, full height | 6 | 1 | Wall Finish 1 | [WLWA-019] tiles also acceptable
ADLB | ADL Bathroom | Allied Health | SER | ELGP-202.01 | GPO: double, wall mounted, power available indicator, horizontal | 1 | 1 |  | [ELGP-209]
ADLB | ADL Bathroom | Allied Health | SER | ELSW-001 | SWITCH: light | 1 | 1 |  | [ELBO-015]
ADLB | ADL Bathroom | Allied Health | SER | HYDR-021 | DRAIN: floor waste, round | 2 | 1 |  | [HYDR-004]
ADLB | ADL Bathroom | Allied Health | SER | ITCL-121 | BUTTON: nurse call, patient to staff call, with cancel, wall mounted | 3 | 3 |  | [ITCL-006] optional; + indicator button & light
ADLB | ADL Bathroom | Allied Health | SER | ITCL-181 | BUTTON: nurse call, staff assist, with cancel, wall mounted | 1 | 1 |  | [ITCL-008] + indicator button & light
ADLB | ADL Bathroom | Allied Health | SER | ITCL-191 | BUTTON: nurse call, emergency, with cancel, wall mounted | 1 | 1 |  | [ITCL-004] + indicator button & light