## Room Data
Standard Components - Room Data Sheet
Date of issue: 12.07.2023
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
BBEV | Bay - Beverage | 4 | Up to 24 Hours | 1-2 intermittently |  |  | The Beverage Bay is an area for preparation (including heating as required) of refreshments, snacks and small meals, washing some utensils, storing small mounts of food and drink and disposing of food waste (in accordance with food hygiene requirements). Beverage bays may allocated to patient care areas, staff areas and meeting/education facilities. Additional Considerations: Ready access to a handwashing basin is recommended. If an instantaneous boiling water tap/unit is provided, it should be hardwired and access restricted to the unit e.g. within cupboard. If system is located within a joinery unit, ensure appropriate ventilation is provided. A side approach to the sink for wheelchair access has been shown; front access may be required depending on local/jurisdictional policies and service requirements. The Beverage Bay should be adequately recessed to avoid encroachment into the corridor. If the space is to be enclosed and/or access is restricted, an increase in area is required. The door will require an observation panel. Size, type and quantity of waste bins is dependent on environmental management policies and service requirements. Where a facility has additional waste streams, beyond the general waste and comingled recycling indicatively shown in this Standard Component, additional area may be required to accommodate the receptacles. Depending on frequency of waste removal, bin sizes may be larger in high use areas or as guided by local waste management policies. Joinery to conceal bins may be provided depending on infection prevention and control policies. Fridge dimensions will vary depending on selection and service requirements; clear area for fridge to allow for adequate ventilation and full opening of door. Provision and type of ice machine will be dependent on service requirements and local infection prevention and control policies.

## Items
Standard Components - Items in room
Date of issue: 12.07.2023
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
BBEV | Bay - Beverage | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | floor finish must be minimum slip rating R10/pendulum P3 or agreed equivalent around sink; coordinated with adjacent area, significant change in colour to be avoided
BBEV | Bay - Beverage | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 | coordinated with adjacent area
BBEV | Bay - Beverage | FA | WLPR-010 | WALL PROTECTION: corner guards, to 900 AFFL | 1 | coordinated with adjacent wall protection
BBEV | Bay - Beverage | FA | WLWA-007 | WALL FINISH: splashback | 2 | to back of bench and return wall
BBEV | Bay - Beverage | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1
BBEV | Bay - Beverage | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 | coordinated with adjacent area
BBEV | Bay - Beverage | FA | CLCN-009 | CORNICE: wall trim fixing | 1 | coordinated with adjacent area
BBEV | Bay - Beverage | FFE | FIJO-135 | CUPBOARD: underbench, double door, adj shelves | 1
BBEV | Bay - Beverage | FFE | FIJO-143 | CUPBOARD: wall mount, double door, adj shelves | 1 | optional; configuration of joinery to meet storage requirements
BBEV | Bay - Beverage | FFE | FIJO-104 | CUPBOARD: drawer unit, 3 equal | 2
BBEV | Bay - Beverage | FFE | FQCW-019 | BIN: waste, general, 50L | 1 | size, type and quantity of bins dependent on local waste management policies
BBEV | Bay - Beverage | FFE | HYGE-003 | BOILING/CHILLED WATER UNIT: Combination | 1 | provide grille in joinery for ventilation
BBEV | Bay - Beverage | FFE | HYTP-029 | TAPWARE: boiling/chilled water unit (comb) | 1 | instant hot/cold water tap to sink
BBEV | Bay - Beverage | FFE | FQCA-015 | DISPENSER: ice, potable | 1 | optional; item to comply with infection control requirements
BBEV | Bay - Beverage | FFE | FQCA-067 | OVEN: microwave, domestic | 1
BBEV | Bay - Beverage | FFE | HYTP-040 | TAPWARE: mixer, sink, accessible | 1
BBEV | Bay - Beverage | FFE | FQCA-032 | FRIDGE: domestic, 300L | 1 | clear area for fridge to allow for adequate ventilation and full opening of door
BBEV | Bay - Beverage | FFE | FIJO-069 | BENCH TOP: 750D, joinery under, laminate finish | 1 | minimum depth 600mm; where an ice machine is provided the depth may need to increase to accommodate
BBEV | Bay - Beverage | FFE | FIJO-163 | CUPBOARD: tall, single microwave | 1
BBEV | Bay - Beverage | FFE | FIJO-212 | BULKHEAD: joinery | 1 | plasterboard bulkhead is also acceptable
BBEV | Bay - Beverage | FFE | FIJO-212 | BULKHEAD: joinery | 1 | optional, provide if wall mounted joinery provided, plasterboard bulkhead is also acceptable
BBEV | Bay - Beverage | FFE | FQCW-062 | BIN: waste, recycling, comingled, 50L | 1 | size, type and quantity of bins dependent on local waste management policies
BBEV | Bay - Beverage | FFE | HYBA-080 | SINK: single, with drainer, accessible | 1
BBEV | Bay - Beverage | SE | HYTP-008 | OUTLET: cold water | 1 | to boiling/ chilled water unit
BBEV | Bay - Beverage | SE | ELBO-015 | SWITCH: light, single | 1 | optional, lighting and controls to be coordinated with adjacent area
BBEV | Bay - Beverage | SE | ELGP-109 | GPO: single, wall mounted | 3 | 1 to fridge, 1 to microwave, 1 to boiling/ chilled water unit
BBEV | Bay - Beverage | SE | ELGP-208 | GPO: double, wall mounted | 2 | over bench