## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
BFLW-ENC | Bay - Flowers, Enclosed | 4 |  | 1 intermittently | 24 Hours | Acoustic privacy is required | An enclosed Bay for staff, relatives or visitors to fill or empty vases, and to arrange and dispose of flowers. It should include a deep sink, storage for vases and a waste bon for disposal of spent flowers. The Flower Bay will have direct access to the Unit corridor. Acoustics: Acoustic privacy required

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
BFLW-ENC | Bay - Flowers, Enclosed | FE | FE-47890 | Sink & drainer - single, 930mmL | 1 | deep sink; short lever taps, provide warm water |  |  |  | No | No | Yes | Yes | Yes | Yes | Yes | No | No
BFLW-ENC | Bay - Flowers, Enclosed | FE | FE-4045 | Tapware - elbow mixer | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | FF | FF-1050 | Bench - laminate | 1 | open under part for bin |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | FF | FF-20000 | Shelving unit - adjustable | 2 | above bench for storing vases |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | FF | FF-20015 | Shelving unit - PPE | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | FF | FF-4410 | Cupboard - under bench | 1 | adjustable shelf |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | to sink |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | FF | FF-6156 | Dispenser - soap | 1 | to sink |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | FF | FF-8185 | Trolley - flowers | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | FF | FF-5824 | Waste bin - general | 1 | under bench |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | SE | S-9001 | GPO: Double | 1 | Above bench |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | SE | S-5015 | Ventilation | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | Fabrics | 1000 | Floor finish | 1 |  | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | Fabrics | 3060 | Wall finish | 1 | Default: = vinyl, tiles also acceptable | Vinyl | Prefinished | Splashback | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | Fabrics | 8010 | Door protection | 1 | Optional; Equal to 'Acrovyn' | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | Fabrics | 8040 | Door protection | 1 | Optional; Equal to 'Acrovyn' | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | Fabrics | 9004 | Door - 1100mm | 1 | 910mm clear opening, lockable | Solid Core/ Glass | Paint | Single leaf, observation panel | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
BFLW-ENC | Bay - Flowers, Enclosed | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No