## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Single line edit) | (Single line edit) | (Single line edit) | (Single line edit)
BIRM | Birthing Room - LDR | 28 |  | 1 patient; 1-2 support persons; up to 4 staff | 24 Hours | Sound attenuation level high, Acoustic privacy is required. | The Birthing Room LDR provides for the entire process of delivery including patient preparation, relaxation and analgesia during labour, delivery, infant resuscitation, post natal recovery and observation. The Birthing Room shall include a scrub basin. Clinical items such as medical gases and services may be concealed but within easy reach. Acoustics: Sound attenuation level high: Acoustic privacy required Body Protected electrical area

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No)
BIRM | Birthing Room - LDR | Fabrics | 1000 | Floor finish | 1 |  | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | Fabrics | 3060 | Wall finish | 1 | to basin | Vinyl | Prefinished | Splashback | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | Fabrics | 3092 | Wall protection | 1 |  | MDF | Laminate | Bed protection wall panel | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | Fabrics | 4030 | Wall protection | 1 |  | Composite | Prefinished PVC | Corner guards to 900 AFFL | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | Fabrics | 5010 | Ceiling - Plasterboard | 1 |  | Plasterboard | Paint, washable | Flush set, suspended | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | Fabrics | 6010 | Cornice | 1 |  | Plasterboard | Paint | 90mm to match ceiling finish | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | Fabrics | 8010 | Door protection | 1 | Equal to 'Acrovyn' | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | Fabrics | 8040 | Door protection | 1 | Equal to 'Acrovyn' | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | Fabrics | 9110 | Door - 1400mm | 1 | 1400mm clear opening | Solid Core | Paint | 1 1/2 leaf | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FE | FE-26950 | Infant resuscitaire | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FE | FE-3100 | Basin - scrub, Type A | 1 | refer to BHWS-A (sim) |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
BIRM | Birthing Room - LDR | FE | FE-31750 | Light - examination, mobile | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FE | FE-32700 | Light - operating, single, mobile | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FE | FE-35850 | Monitor - foetal, CTG | 1 | mobile |  |  |  | Yes | Yes | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FE | FE-54510 | Telephone - handset, standard | 1 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-1050 | Bench - laminate | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-12450 | Locker - bedside | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-12770 | Lounge - 2 1/2 seat | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-1465 | Bracket - suction bottle | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-1470 | Bracket - sharps | 1 | mounted to trolley |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-150 | Air flowmeter | 2 | optional |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-16200 | Table - overbed | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-16250 | Oxygen flowmeter | 3 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-16280 | Oxygen / nitrous mixer | 1 | mobile |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-19700 | Sharps bin | 1 | on trolley |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-19800 | Shelf - laminate | 1 | near basin |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-21700 | Stool - adjustable, mobile, high | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-21950 | Suction adapter | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-2200 | Chair - recliner | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-22000 | Suction bottle | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-23950 | Trolley | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-24125 | Waste bin - clinical | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-2650 | Chair - visitor, patient | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-4330 | Cupboard - wardrobe | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-4391 | Cupboard - special | 1 | to conceal services |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-4460 | Cupboard - wall mounted | 2 | over bench |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-4500 | Curtain track - ceiling mounted | 1 | to baby resus area |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-4600 | Curtain track - bed screen | 1 | to door entry |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-480 | Bassinet | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-4900 | Curtain track - window | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-5000 | Curtain - bed screen | 2 | to door entry and resus trolley |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-5410 | Curtain - window, drapes | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FE | FF-5547 | Patient entertainment | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-5825 | Bracket - patient entertainment, ceiling | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-6152 | Dispenser - disposable glove | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-6156 | Dispenser - soap | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-6158 | Dispenser - soap antiseptic | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FF | FF-710 | Bed - birthing, manual | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-1006 | Voice / Data outlet: double | 2 | 1 outlet on each panel for telephone |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-1090 | TV: MATV | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-11000 | Wall panel | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-1951 | Staff assist call | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-2072 | Scavenge Outlet | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-6001 | General: colour corrected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-6050 | Special: reading | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-6110 | Downlights: dimmable | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-6200 | Light switches | 3 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-7000 | Oxygen (O2) | 3 | 2-mother; 1-baby |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-7010 | Nitrous Oxide (N2O) | 1 | 1-mother |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-7020 | Medical Air (MA) | 2 | 1-mother; 1 baby |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-7040 | Suction | 2 | 1-mother; 1 baby |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-7070 | Scavenge | 1 | mother - for N2O |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-8000 | Patient/ Staff call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-8005 | Patient call handset | 1 | call button & light switch on the handset |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-8010 | Staff/ Nurse assist call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-8080 | Emergency call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-9000 | GPO: Single | 8 | 4-mother; 4-baby |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-9001 | GPO: Double | 4 | bench & walls, optional |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-9010 | GPO: Emergency power, single (V) | 6 | 4-mother; 2- baby |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-9040 | Body protected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | S-9060 | GPO: Special: for equipment | 1 | TV |  |  |  | No | No | No | No | No | No | No | No | No