## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
BIRM | Birthing Room - LDR | 28 | 24 Hours | 1 patient; 1-2 support persons; up to 4 staff |  | Sound attenuation level high, Acoustic privacy is required. | The Birthing Room LDR provides for the entire process of delivery including patient preparation, relaxation and analgesia during labour, delivery, infant resuscitation, post natal recovery and observation. The Birthing Room shall include a scrub basin. Clinical items such as medical gases and services may be concealed but within easy reach.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
BIRM | Birthing Room - LDR | FA | CLCN-006 | CORNICE: plasterboard, 90mm to match ceiling finish, paint | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | CLFS-006 | CEILING: plasterboard, flush set, suspended, paint, washable | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 1 | Equal to 'Acrovyn' | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 1 | Equal to 'Acrovyn' | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | DWSC-021 | DOOR: 1400mm c/o, 1 1/2 leaf, solid core, paint | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | DWWD-011 | CURTAIN: window, drapes | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | DWWH-005 | WINDOW | 2 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ELBO-015 | SWITCH: light, single | 3 | to wall panel, to ensuite, to store | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ELGP-101 | GPO: single, ceiling mounted | 1 | for ceiling mounted display screen (TV) | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ELGP-105 | GPO: single, on services panel | 4 | to services panel; 4-baby | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ELGP-109 | GPO: single, wall mounted | 4 | to wall panel; 4-mother | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ELGP-109 | GPO: single, wall mounted | 1 | low level, for electric bed | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ELGP-122 | GPO: emergency power, single, on services panel | 2 | to services panel, 2- baby | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ELGP-123 | GPO: emergency power, single, wall mounted | 4 | to wall panel, 4-mother | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ELGP-208 | GPO: double, wall mounted | 3 | bench & walls, optional | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ELGP-209 | GPO: double, wall mounted, RCD protected | 1 | to wall panel | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIDI-014 | DISPENSER: disposable glove | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to basin | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIHR-004 | BRACKET: for display screen, ceiling mounted | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIHR-016 | BRACKET: for sharps bin | 1 | mounted to trolley | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIHR-019 | BRACKET: for suction bottle | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIJO-020 | BENCH: 600D, open under, laminate finish | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIJO-122 | CUPBOARD: tall, double door, to conceal services | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIJO-130 | CUPBOARD: tall, single door, adj shelves and clothes rail | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIJO-143 | CUPBOARD: wall mount, double door, adj shelves | 2 | over bench | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIJO-194 | SHELF: laminate | 1 | near basin | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIRT-023 | TRACK: curtain, bedscreen, L shaped | 1 | to door entry | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIRT-028 | TRACK: curtain, ceiling mounted | 1 | to baby resus area | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FIRT-030 | TRACK: curtain, flat pelmet | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | FLVY-006 | FLOOR FINISH: vinyl, seamless, coved, non slip, textured | 1 | under basin | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQBS-001 | BASSINET | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQBS-022 | CHAIR: recliner, clinical | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQBS-030 | CHAIR: visitor, patient | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQBS-041 | LOUNGE: 2.5 seat | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQBS-052 | STOOL: mobile, high, adj height | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQCW-006 | BIN: waste, clinical, 240L | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQCW-016 | BIN: waste, general, 20L | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQCW-044 | BIN: waste, sharps, wall mounted | 1 | on trolley | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQGE-005 | CLOCK: analogue, battery operated | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQGE-009 | CURTAIN: bed screen | 2 | to door entry and resus trolley | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQSM-016 | TROLLEY | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQSN-051 | LOCKER: 2 drawers, open under, lockable, mobile | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | FQTA-013 | TABLE: overbed | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | HYBA-009 | BASIN: handwash, Type A, scrub | 1 | Refer to BWHS-A (similar) | No | No | Yes | No | Yes | Yes | Yes | No | No
BIRM | Birthing Room - LDR | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 |  | No | No | Yes | No | Yes | No | No | No | No
BIRM | Birthing Room - LDR | FFE | ITBU-012 | DISPLAY SCREEN: patient entertainment system | 1 |  | Yes | Yes | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 1 | to wall panel, + indicator button & light | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | to wall panel, + indicator button & light | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 1 | to wall panel, with light switch | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1 | to wall panel | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1 | above bench, 1 outlet for telephone | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | ITIN-070 | OUTLET: MATV | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1 |  | No | Yes | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | LIFX-008 | LIGHT: task light, built in | 1 | to overbench cupboards | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | LIFX-011 | LIGHT: reading light | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | LIPO-006 | LIGHT: examination, mobile | 1 |  | Yes | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | MGAS-022 | OUTLET: medical air (MA), on services panel | 2 | 1-mother (in cupboard); 1 baby (services panel) | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | MGAS-032 | OUTLET: nitrous oxide (N2O), on services panel | 1 | 1-mother (in cupboard) | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | MGAS-042 | OUTLET: oxygen (O2), on services panel | 3 | 2-mother (in cupboard); 1-baby (services panel) | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | MGAS-053 | OUTLET: scavenge, on services panel | 1 | 1-mother (in cupboard) for N2O | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | MGAS-062 | OUTLET: suction, on services panel | 2 | 1-mother (in cupboard); 1 baby (services panel) | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | MGFP-002 | FLOWMETER: medical air | 2 | optional | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | MGFP-004 | FLOWMETER: oxygen | 3 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | MMBE-006 | BED: patient, birthing, manual | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | MMGE-002 | ADAPTER: suction | 2 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | MMGE-063 | MONITOR: patient, foetal, CTG | 1 | mobile | Yes | Yes | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | MMGE-100 | SUCTION BOTTLE | 2 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | MMMA-011 | MIXER: oxygen and nitrous oxide | 1 | mobile | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FFE | MMMA-015 | WARMER: infant, radiant | 1 |  | Yes | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | SE | MMSP-026 | SERVICES PANEL: wall mounted | 1 | plus two panels in the form of bedhead wall protection and in cupboard | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | WLPR-002 | WALL PROTECTION: bed protection wall panel, composite, laminate finish | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | WLPR-012 | WALL PROTECTION: corner guards, to 900 AFFL, prefinished PVC | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No
BIRM | Birthing Room - LDR | FA | WLWA-010 | WALL FINISH: splashback, vinyl | 1 | to basin | No | No | No | No | No | No | No | No | No