## Room Data
Standard Components - Room Data Sheet
Date of issue: 24.06.2022
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
BPATH | Bay - Pathology Point of Care Testing (POCT) | 3 | Available 24 Hours | 1-2 staff, intermittently |  |  | The Bay - Pathology Point of Care Testing (POCT) provides the area and facilities for the preparation and testing of specimens close to patient care areas allowing for rapid results to improve clinical decision making and patient care. Two benchtop POCT devices have been indicated, with additional devices requiring added space and services. The devices shown are placeholders as there are many POCT devices available and various combinations of devices may be provided depending on the service requirements of the unit in which this bay is located. Additional Considerations: Ready access to handwashing bay is recommended. Ready access may be required to a pneumatic tube bay that is in a staff supervised area. If providing wall mounted joinery over the bench consider clearance heights for benchtop machines, including for futureproofing. Weight requirements for machines should be considered to ensure adequate support is provided to the bench. POCT devices should not to be located in direct sunlight as they can overheat. Refrigerator temperature monitoring may be required and is to be connected to the building management system (BMS). The alarm is to provide alerts where 24-hour monitoring is undertaken, within the unit and/or remotely. Type and extent of storage to suit testing requirements, including ambient temperature storage for cartridges. Ensure adequate lighting over workspace. Power requirements (type/quantity) to be considered to suit equipment and service requirements.

## Items
Standard Components - Items in room
Date of issue: 24.06.2022
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
BPATH | Bay - Pathology Point of Care Testing (POCT) | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | coordinated with adjacent area
BPATH | Bay - Pathology Point of Care Testing (POCT) | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 9 | coordinated with adjacent area
BPATH | Bay - Pathology Point of Care Testing (POCT) | FA | WLPR-006 | WALL PROTECTION: corner guards | 2 | coordinated with adjacent wall protection
BPATH | Bay - Pathology Point of Care Testing (POCT) | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 3
BPATH | Bay - Pathology Point of Care Testing (POCT) | FA | CLTI-008 | CEILING: plasterboard, drop-in tiles, prefinished, 600 x 1200 | 1 | coordinated with adjacent area
BPATH | Bay - Pathology Point of Care Testing (POCT) | FA | WLWA-009 | WALL FINISH: splashback, laminate | 3 | coved, integral to bench
BPATH | Bay - Pathology Point of Care Testing (POCT) | FA | CLCN-009 | CORNICE: wall trim fixing | 1 | coordinated with adjacent area
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | FIHR-016 | BRACKET: for sharps bin | 1
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | FQBS-019 | CHAIR: office, ergonomic, high | 1
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | FIJO-141 | CUPBOARD: underbench, single door, adj shelves, lockable | 1 | lockable; extent of storage to suit testing requirements
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | FQCW-016 | BIN: waste, general, 20L | 1 | quantity and type of bins to be based on local waste management policies
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | FIJO-106 | CUPBOARD: drawer unit, 4 equal | 1 | lockable; extent of storage to suit testing requirements
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | FQCW-044 | BIN: waste, sharps, wall mounted | 1 | with wide opening
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | FQCW-005 | BIN: waste, clinical, 20L | 1 | quantity and type of bins to be based on local waste management policies
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | MMLA-049 | DEVICE: point of care | 2 | quantity and type to suit service requirements
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | ITNE-007 | COMPUTER: desktop, with display screen | 1
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | FQGE-056 | PRINTER: desktop, labels | 1
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | MMLA-055 | FRIDGE: laboratory, underbench | 1 | lockable; temperature monitored
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1 | may be wall mounted
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | ITNE-003 | BAR CODING: reader | 1 | optional, dependent on software requirements
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | FIJO-069 | BENCH TOP: 750D, joinery under, laminate finish | 1 | laboratory grade
BPATH | Bay - Pathology Point of Care Testing (POCT) | FFE | FIJO-099 | CAC: cable access cap | 1
BPATH | Bay - Pathology Point of Care Testing (POCT) | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1 | to fridge
BPATH | Bay - Pathology Point of Care Testing (POCT) | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 3 | quantity to suit project specific equipment requirements
BPATH | Bay - Pathology Point of Care Testing (POCT) | SE | ITIN-036 | OUTLET: data, triple RJ45, wall mounted | 1 | to computer
BPATH | Bay - Pathology Point of Care Testing (POCT) | SE | ITBU-001 | ALARM: equipment monitoring, temperature | 1 | to fridge, dependent on requirements, may be integral to fridge
BPATH | Bay - Pathology Point of Care Testing (POCT) | SE | ELGP-223 | GPO: emergency power, double, wall mounted | 5 | quantity to suit project specific equipment requirements, confirm UPS requirements
BPATH | Bay - Pathology Point of Care Testing (POCT) | SE | ELGP-123 | GPO: emergency power, single, wall mounted | 1 | to fridge