## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
CHPT | Change Cubicle - Patient | 2 |  | 1 patient | 24 Hours |  | The change cubicle is provided for ambulant patients to undress from street clothes into a hospital gown, as appropriate, prior to examination or treatment. Following examination or treatment, the patient will re-dress in street clothes. The Change Cubicle should provide facilities for hanging clothes and a bench for the patient to sit on whilst changing. Special Requirements: Where two-way access is provided the corridor side door should be lockable from the inside to provide security to patient belongings.
CHPT-12 | Change Room - Patient (Male/Female) | 12 |  | Up to 3 | 24 Hours |  | The Patient Change areas are provided for patients to change into gowns, to store their street clothing and to perform personal ablutions. Change Rooms should be divided into Male and Female areas on a proportional basis and will include Change Cubicle, Toilet, handbasin and lockers for secure storage of personal property. Acoustics: Sound attenuation level - medium; acoustic privacy required. Body Protected Electrical Area
CHPT-D | Change Cubicle - Accessible | 4 |  | 1 patient | 24 Hours |  | A screened area for disabled patients to undress from street clothes into a hospital gown, as appropriate, prior to examination or treatment. Following examination or treatment, the patient will re-dress in street clothes. The Change Cubicle should provide facilities for hanging clothes and a bench for the patient to sit on whilst changing.
CHST-10 | Change - Staff (Male/Female), 10m2 | 10 |  | Up to 3 | 24 Hours | Sound attenuation level medium, Acoustic privacy is required. | Staff Change areas are provided for staff to change into appropriate work clothing or gowns, to store their street clothing and to perform personal ablutions. Change Rooms should be divided into Male and Female areas on a proportional basis and will include Showers, Toilets and handbasins. Secure storage for personal property should be provided. Secured, staff only access to Change Rooms is required. Acoustics: Sound attenuation level - medium; acoustic privacy required.
CHST-20 | Change - Staff (Male/Female), 20m2 | 20 |  | Up to 5 | 24 Hours | Sound attenuation level medium, Acoustic privacy is required. | Staff Change areas are provided for staff that are required to change into appropriate work clothing or gowns, to store their street clothing and to perform personal ablutions. Change rooms should be divided into Male and Female areas on a proportional basis and will include showers, toilets and handbasins. Secure storage for personal property should be provided. Secured, staff only access to Change Rooms is required. The area may increase according to the number of staff showers/toilets and lockers to be accommodated. Allow an additional 2m2 for each additional toilet and shower, 1m2 for each additional basin and 0.5m2 for each additional locker. Acoustics: Sound attenuation level - medium; acoustic privacy required.
CHST-35 | Change - Staff (Male/Female), 35m2 | 35 |  | Up to 15 | 24 Hours | Sound attenuation level medium, Acoustic privacy is required. | Staff Change areas are provided for staff to change into appropriate work clothing or gowns, to store their street clothing and to perform personal ablutions. Change Rooms should be divided into Male and Female areas on a proportional basis and will include Showers, Toilets and handbasins. Secure storage for personal property will be provided. Secured, staff only access to Change Rooms is required. Acoustics: Sound attenuation level - medium; acoustic privacy required.
LAUN-PT | Laundry - Patient | 6 |  | 1 - 2 | 24 Hours |  | Domestic style laundry for patient use, wheelchair accessible. The room will include a bench, laundry tub, domestic washing machine and dryer and ironing facilities.
OVBR | Overnight Stay - Bedroom | 10 |  | 1 | Available 24 Hours | Acoustic privacy is required | A single Bedroom with an adjoining Ensuite for clinical staff or parents needing to remain on close call overnight. The room shall be lockable. An external outlook is required. Acoustics: Acoustic privacy required.
OVES | Overnight Stay - Ensuite | 4 |  | 1 | Available 24 Hours | Acoustic privacy is required | An Ensuite with Shower, Toilet and Handbasin adjoining the Overnight Stay Bedroom for use by staff or parents. Acoustics: Acoustic Privacy required
PAR | Parenting Room | 6 |  | Up to 2 | Available 24 Hours | Sound attenuation level high, Acoustic privacy is required. | The Parenting Room is provided for parents to feed and change babies, and will provide access for prams. The Parenting Room will be located with other child related facilities and have ready access to a Toilet and Waiting area. Acoustics: Sound attenuation level - High. Acoustic privacy required.
PLST | Plaster Room | 14 |  | 1 patient; 2 -3 staff | 24 Hours |  | The Plaster Room allows for the application of Plaster of Paris, or other splints, and for the closed reduction of displaced fractures or dislocations under sedative or regional anaesthesia. Sound attenuation level - high; acoustic privacy required Body Protected electrical area

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
CHPT | Change Cubicle - Patient | Fabrics | 1000 | Floor finish | 1 | Default= vinyl, carpet also acceptable | Vinyl | Standard slip resistant | Seamless, coved | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | Fabrics | 2000 | Skirting | 1 | Default= vinyl coved, feather edge acceptable if carpet used | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | Fabrics | 2529 | Door protection | 1 | To be decided at project level. | Composite | Prefinished PVC | To door frame | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | Fabrics | 2530 | Door protection | 1 |  | Composite | Prefinished PVC | Protection plate to 900 AFFL | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | Fabrics | 2683 | Wall protection | 1 |  |  |  | Corner guards to 900 AFFL maximum | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | Fabrics | 9001 | Door - 1100mm | 1 | Optional. Curtain across doorway also acceptable. | Solid Core | Paint | Single leaf | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | FF | FF-1000 | Bench seat | 1 | Optional in lieu of chair. | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | FF | FF-13700 | Mirror | 1 | for patient changing | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | FF | FF-2650 | Chair - visitor, patient | 1 | optional in lieu of bench; consider weight capacity of chair. | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | FF | FF-3400 | Coathook | 2 | at 1200 AFFL for wheelchair users | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | FF | FF-4700 | Curtain track - privacy screen (90 deg) | 1 | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | FF | FF-5250 | Curtain - privacy screen | 1 | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | SE | S-1951 | Staff assist call | 1 | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | SE | S-5000 | Airconditioning | 1 | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | SE | S-6000 | General fluorescent | 1 | Sensor light optional. | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | SE | S-6200 | Light switches | 1 | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | SE | S-8000 | Patient/ Staff call | 1 | + indicator button & light | bar: Connections Ele to Connections Stm
CHPT | Change Cubicle - Patient | SE | S-8080 | Emergency call | 1 | + indicator button & light, outside cubicle entry, optional - may be shared between a group of rooms | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | Fabrics | 1000 | Floor finish | 1 | Default= vinyl, carpet also acceptable | Vinyl | Standard slip resistant | Seamless, coved | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | Fabrics | 2000 | Skirting | 1 | Default= vinyl coved, feather edge acceptable if carpet used | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | Fabrics | 2529 | Door protection | 1 | To be decided at project level. | Composite | Prefinished PVC | To door frame | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | Fabrics | 2530 | Door protection | 1 |  | Composite | Prefinished PVC | Protection plate to 900 AFFL | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | Fabrics | 2727 | Wall finish | 1 | To basin. Selection of material to comply with Part D Infection Prevention and Control AusHFG. |  |  | Splashback | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | Fabrics | 5030 | Ceiling - Plasterboard | 1 |  | Plasterboard | Prefinished | Drop-in tiles, 600x1200 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | Fabrics | 9001 | Door - 1100mm | 1 | optional, 910mm outward opening, privacy latch, with emergency release | Solid Core | Paint | Single leaf | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FE | FE-2850 | Basin - handwash, Type C (with vanity) | 1 | Or ensuite basin with integral shelf for patient belongings. |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
CHPT-12 | Change Room - Patient (Male/Female) | FE | FE-55605 | Toilet suite - patient | 1 |  |  |  |  | No | No | Yes | No | Yes | No | Yes | No | No
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-1000 | Bench seat | 1 | To change cubicle. Or chair, consider weight capacity. | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-12300 | Linen carrier - dirty, single | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-12509 | Locker - 2 tier | 4 | 16 half lockers or quarter lockers. | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-12600 | Locker - 4 tier (1/4 size) | 2 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-13700 | Mirror | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-19100 | Waste bin - sanitary | 1 | To Female Change Rooms. Optional, depends on Waste Management Policy. | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-19910 | Shelf - vanity | 1 | Above basin. Or integrated with basin. | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-23610 | Partitions - toilet | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-2650 | Chair - visitor, patient | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-2740 | Partitions - change cubicle | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-3350 | Clock - battery operated | 1 | Optional | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-3400 | Coathook | 2 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-5824 | Waste bin - general | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-6156 | Dispenser - soap | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-6160 | Dispenser - toilet paper | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-8390 | Trolley - gowns | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | FF | FF-8400 | Grab rail - WC | 2 | Ambulant provision. | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | SE | S-1951 | Staff assist call | 1 | + indicator button & light | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | SE | S-4033 | Floor waste | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | SE | S-5000 | Airconditioning | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | SE | S-5019 | Exhaust | 1 | To WC. | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | SE | S-6000 | General fluorescent | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | SE | S-6200 | Light switches | 1 | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | SE | S-8000 | Patient/ Staff call | 2 | + indicator button & light. WC and change cubicle. | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | SE | S-8080 | Emergency call | 1 | + indicator button & light | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | SE | S-9001 | GPO: Double | 1 | Optional. | bar: Connections Ele to Connections Stm
CHPT-12 | Change Room - Patient (Male/Female) | SE | S-9040 | Body protected | 1 | If power required. | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | Fabrics | 1000 | Floor finish | 1 | Default= vinyl: carpet also acceptable | Vinyl | Standard slip resistant | Seamless, coved | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | Fabrics | 2000 | Skirting | 1 | Default = coved vinyl: unless carpet required | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | Fabrics | 2529 | Door protection | 1 | To be decided at project level. | Composite | Prefinished PVC | To door frame | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | Fabrics | 2683 | Wall protection | 1 |  |  |  | Corner guards to 900 AFFL maximum | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | Fabrics | 2712 | Door protection | 1 |  |  |  | Protection plate to 900 AFFL | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | Fabrics | 9001 | Door - 1100mm | 1 | Optional. Curtain across doorway also acceptable. | Solid Core | Paint | Single leaf | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | FF | FF-1000 | Bench seat | 1 | Optional in lieu of chair. | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | FF | FF-13700 | Mirror | 1 | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | FF | FF-2650 | Chair - visitor, patient | 1 | optional in lieu of bench; consider weight capacity of chair. | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | FF | FF-3400 | Coathook | 2 | at 1200 AFFL for wheelchair users | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | FF | FF-4700 | Curtain track - privacy screen (straight) | 1 | optional depending on if door provided | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | FF | FF-5250 | Curtain - privacy screen | 1 | optional depending on if door provided | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | FF | FF-8510 | Grab Rail - SS | 1 | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | SE | S-1951 | Staff assist call | 1 | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | SE | S-5000 | Airconditioning | 1 | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | SE | S-6000 | General fluorescent | 1 | Sensor light optional. | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | SE | S-6200 | Light switches | 1 | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | SE | S-8000 | Patient/ Staff call | 1 | + indicator button & light | bar: Connections Ele to Connections Stm
CHPT-D | Change Cubicle - Accessible | SE | S-8080 | Emergency call | 1 | + indicator button & light, outside cubicle entry, optional or shared with a group of change rooms | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | Fabrics | 1000 | Floor finish | 1 | Default = vinyl: tiles also acceptable | Vinyl | Standard slip resistant | Seamless, coved | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | Fabrics | 2000 | Skirting | 1 | Default = coved vinyl: or tiled skirting to tiled floor | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | Fabrics | 2713 | Door protection | 1 |  |  |  | Kick plate 300 AFFL | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | Fabrics | 2727 | Wall finish | 1 | Selection of material to comply with Part D Infection Prevention and Control AusHFG. |  |  | Splashback | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | Fabrics | 3035 | Wall finish | 1 |  | Vinyl | Prefinished | Wall vinyl full height | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | Fabrics | 5023 | Ceiling - Plasterboard | 1 |  | Plasterboard | Prefinished | Water resistant, drop in tiles, 600x1200 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | Fabrics | 9001 | Door - 1100mm | 1 | 910mm clear; Secure staff only access | Solid Core | Paint | Single leaf | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FE | FE-2850 | Basin - handwash, Type C (with vanity) | 1 | Or ensuite basin with integral shelf for staff belongings. |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
CHST-10 | Change - Staff (Male/Female), 10m2 | FE | FE-40412 | TAP - COLD | 1 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FE | FE-40413 | TAP - HOT | 1 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FE | FE-47500 | Shower - fixed rose | 1 | with adjustable shower head |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
CHST-10 | Change - Staff (Male/Female), 10m2 | FE | FE-55600 | Toilet suite - standard | 1 |  |  |  |  | No | No | Yes | No | Yes | No | Yes | No | No
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-1000 | Bench seat | 1 | to shower cubicle | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-1000 | Bench seat | 0 | Under lockers, optional. | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-12300 | Linen carrier - dirty, single | 1 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-12340 | Trolley - clean linen | 1 | Number to suit service. | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-12509 | Locker - 2 tier | 6 | 12 half lockers | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-13700 | Mirror | 1 | above basin | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-13700 | Mirror | 1 | full height, dressing | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-19100 | Waste bin - sanitary | 1 | To Female Change Rooms. Optional, depends on Waste Management Policy. | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-19910 | Shelf - vanity | 1 | Above basin. Or integrated with basin. | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-20055 | Partitions - shower | 1 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-20650 | Soap / shampoo holder | 1 | to shower cubicle | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-23610 | Partitions - toilet | 1 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-3350 | Clock - battery operated | 1 | Optional | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-3400 | Coathook | 2 | WC / Shower cubicles | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-4800 | Curtain track - shower (90deg) | 1 | Optional | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-5300 | Curtain - shower | 1 | Optional, depends on Infection Control Policy | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-5824 | Waste bin - general | 1 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | to basin | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-6156 | Dispenser - soap | 1 | to basin | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | FF | FF-6160 | Dispenser - toilet paper | 1 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | SE | S-10020 | Card access | 1 | or keypad, on entry door from corridor | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | SE | S-4033 | Floor waste | 2 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | SE | S-5000 | Airconditioning | 1 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | SE | S-5019 | Exhaust | 1 | To shower / wc. | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | SE | S-6000 | General fluorescent | 1 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | SE | S-6200 | Light switches | 1 | bar: Connections Ele to Connections Stm
CHST-10 | Change - Staff (Male/Female), 10m2 | SE | S-9001 | GPO: Double | 1 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | Fabrics | 1000 | Floor finish | 1 | Default = vinyl: tiles also acceptable | Vinyl | Standard slip resistant | Seamless, coved | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | Fabrics | 2000 | Skirting | 1 | Default = coved vinyl: or tiled skirting to tiled floor | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | Fabrics | 2526 | Floor finish | 1 | Suitable for barefeet. To shower, default = vinyl, tiles also acceptable. | Vinyl | Non-slip | Seamless coved | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | Fabrics | 2713 | Door protection | 1 |  |  |  | Kick plate 300 AFFL | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | Fabrics | 2727 | Wall finish | 1 | Selection of material to comply with Part D Infection Prevention and Control AusHFG. |  |  | Splashback | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | Fabrics | 3035 | Wall finish | 1 |  | Vinyl | Prefinished | Wall vinyl full height | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | Fabrics | 5023 | Ceiling - Plasterboard | 1 |  | Plasterboard | Prefinished | Water resistant, drop in tiles, 600x1200 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | Fabrics | 9001 | Door - 1100mm | 1 | 910mm clear; Secure staff only access | Solid Core | Paint | Single leaf | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FE | FE-2850 | Basin - handwash, Type C (with vanity) | 2 | Or ensuite basin with integral shelf for staff belongings. |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
CHST-20 | Change - Staff (Male/Female), 20m2 | FE | FE-40406 | Tapware - shower mixer | 1 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FE | FE-47500 | Shower - fixed rose | 1 | with adjustable shower head |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
CHST-20 | Change - Staff (Male/Female), 20m2 | FE | FE-54520 | Telephone - handset, handsfree (WM) | 1 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
CHST-20 | Change - Staff (Male/Female), 20m2 | FE | FE-55600 | Toilet suite - standard | 2 |  |  |  |  | No | No | Yes | No | Yes | No | Yes | No | No
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-1000 | Bench seat | 1 | to shower cubicle | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-12300 | Linen carrier - dirty, single | 1 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-12340 | Trolley - clean linen | 1 | Number to suit service. | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-12509 | Locker - 2 tier | 8 | 16 half lockers | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-13700 | Mirror | 1 | above basin | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-13800 | Mirror - full length | 1 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-19100 | Waste bin - sanitary | 2 | To Female Change Rooms. Optional, depends on Waste Management Policy. | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-19910 | Shelf - vanity | 1 | Above basin. Or integrated with basin. | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-20055 | Partitions - shower | 1 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-20650 | Soap / shampoo holder | 1 | to shower cubicle | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-23610 | Partitions - toilet | 2 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-3350 | Clock - battery operated | 1 | Optional | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-3400 | Coathook | 3 | 1 per cubicle. | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-4800 | Curtain track - shower (90deg) | 1 | Optional | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-5300 | Curtain - shower | 1 | Optional, depends on Infection Control Policy | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-5824 | Waste bin - general | 1 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | to basin | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-6156 | Dispenser - soap | 2 | 1 per basin. | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | FF | FF-6160 | Dispenser - toilet paper | 2 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | SE | S-10020 | Card access | 1 | or keypad, on entry door from corridor | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | SE | S-1005 | Voice / Data outlet: single | 1 | Wall telephone. | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | SE | S-4033 | Floor waste | 2 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | SE | S-5000 | Airconditioning | 1 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | SE | S-5019 | Exhaust | 1 | To shower / wc. | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | SE | S-6000 | General fluorescent | 1 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | SE | S-6200 | Light switches | 1 | bar: Connections Ele to Connections Stm
CHST-20 | Change - Staff (Male/Female), 20m2 | SE | S-9001 | GPO: Double | 1 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | Fabrics | 1000 | Floor finish | 1 | Default = vinyl: tiles also acceptable | Vinyl | Standard slip resistant | Seamless, coved | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | Fabrics | 2000 | Skirting | 1 | Default = coved vinyl:or tiled skirting to tiled floor | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | Fabrics | 2526 | Floor finish | 1 | Suitable for barefeet. To shower, default = vinyl, tiles also acceptable. | Vinyl | Non-slip | Seamless coved | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | Fabrics | 2713 | Door protection | 1 |  |  |  | Kick plate 300 AFFL | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | Fabrics | 2715 | Wall finish | 1 |  | Vinyl | Prefinished | Wall vinyl full height to wet areas | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | Fabrics | 2727 | Wall finish | 1 | Selection of material to comply with Part D Infection Prevention and Control AusHFG. |  |  | Splashback | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | Fabrics | 5023 | Ceiling - Plasterboard | 1 |  | Plasterboard | Prefinished | Water resistant, drop in tiles, 600x1200 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | Fabrics | 9001 | Door - 1100mm | 1 | 910mm clear; Secure staff only access from corridor | Solid Core | Paint | Single leaf | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FE | FE-2850 | Basin - handwash, Type C (with vanity) | 3 | Or ensuite basin with integral shelf for staff belongings. |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
CHST-35 | Change - Staff (Male/Female), 35m2 | FE | FE-47500 | Shower - fixed rose | 1 | with adjustable shower head |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
CHST-35 | Change - Staff (Male/Female), 35m2 | FE | FE-54520 | Telephone - handset, handsfree (WM) | 1 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
CHST-35 | Change - Staff (Male/Female), 35m2 | FE | FE-55600 | Toilet suite - standard | 3 |  |  |  |  | No | No | Yes | No | Yes | No | Yes | No | No
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-1000 | Bench seat | 1 | to shower cubicle, waterproof | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-1000 | Bench seat | 2 | Under lockers, optional. | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-12300 | Linen carrier - dirty, single | 2 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-12340 | Trolley - clean linen | 1 | Number to suit service. | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-12509 | Locker - 2 tier | 12 | 24 half lockers | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-13700 | Mirror | 1 | above basin | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-13700 | Mirror | 1 | full height, dressing | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-1492 | Cabinet - coat/shoes valet | 1 | optional | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-19100 | Waste bin - sanitary | 3 | To Female Change Rooms. Optional, depends on Waste Management Policy. | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-20055 | Partitions - shower | 1 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-20650 | Soap / shampoo holder | 1 | to shower cubicle | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-23610 | Partitions - toilet | 3 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-3350 | Clock - battery operated | 1 | Optional | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-3400 | Coathook | 4 | 1 to each cubicle | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-4800 | Curtain track - shower (90deg) | 1 | Optional | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-5300 | Curtain - shower | 1 | Optional, depends on Infection Control Policy | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-5824 | Waste bin - general | 2 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-6154 | Dispenser - paper/ hand towel | 2 | to basins | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-6156 | Dispenser - soap | 2 | 1 between each basin. | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | FF | FF-6160 | Dispenser - toilet paper | 3 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | SE | S-10020 | Card access | 1 | or keypad, on entry door from corridor | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | SE | S-1005 | Voice / Data outlet: single | 1 | Wall telephone. | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | SE | S-1983 | General fluoresecent downlights | 4 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | SE | S-4033 | Floor waste | 2 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | SE | S-5000 | Airconditioning | 1 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | SE | S-5019 | Exhaust | 1 | To shower / wc. | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | SE | S-6000 | General fluorescent | 1 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | SE | S-6200 | Light switches | 2 | bar: Connections Ele to Connections Stm
CHST-35 | Change - Staff (Male/Female), 35m2 | SE | S-9001 | GPO: Double | 2 | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | Fabrics | 2529 | Door protection | 1 | To be decided at project level. | Composite | Prefinished PVC | To door frame | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | Fabrics | 2530 | Door protection | 1 |  | Composite | Prefinished PVC | Protection plate to 900 AFFL | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | Fabrics | 2726 | Floor finish | 1 |  | Vinyl, non slip |  | Seamless coved | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | Fabrics | 2727 | Wall finish | 1 | Selection of material to comply with Part D Infection Prevention and Control AusHFG. |  |  | Splashback | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | Fabrics | 5021 | Ceiling - Plasterboard | 1 |  | Plasterboard | Paint, washable | Water resistant, flush set, suspended | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | Fabrics | 7030 | Observation | 1 | Observation window, optional | Alum/ Glass | Powdercoat | Internal window, door height | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | Fabrics | 9004 | Door - 1100mm | 1 | 910mm clear opening, lockable | Solid Core/ Glass | Paint | Single leaf, observation panel | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | FE | FE-18400 | Dryer - tumble, domestic | 1 | wall mounted @ 600mm AFFL on bracket |  |  |  | Yes | No | No | No | No | No | No | No | No
LAUN-PT | Laundry - Patient | FE | FE-29200 | Iron - electric | 1 | inside cupboard, hardwired. |  |  |  | Yes | No | No | No | No | No | No | No | No
LAUN-PT | Laundry - Patient | FE | FE-40403 | Tapware - accessible basin mixer | 1 | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | FE | FE-49400 | Sink - laundry, single | 1 | with overflow drain, warm water, sinlge mixer to tub optional |  |  |  | No | No | Yes | Yes | Yes | Yes | Yes | No | No
LAUN-PT | Laundry - Patient | FE | FE-60650 | Washing machine - domestic | 1 | heavy duty |  |  |  | Yes | No | Yes | Yes | Yes | No | Yes | No | No
LAUN-PT | Laundry - Patient | FF | FF-1050 | Bench - laminate | 1 | With inset laundry tub, open under part. Length to suit layout, refer RLS or project specific requirements. | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | FF | FF-1460 | Bracket - wall | 1 | for dryer | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | FF | FF-1505 | Cabinet - ironing board | 1 | lockable, with integral ironing board | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | FF | FF-23956 | Trolley - laundry, basket | 1 | under bench | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | FF | FF-4410 | Cupboard - under bench | 1 | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | FF | FF-4460 | Cupboard - wall mounted | 2 | Over bench. Number to suit layout, refer RLS or project specific requirements. Some lockable space may be needed. | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | FF | FF-5824 | Waste bin - general | 1 | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | SE | S-4000 | Hot water: outlet | 1 | to washing machine | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | SE | S-4010 | Cold water: outlet | 1 | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | SE | S-4033 | Floor waste | 1 | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | SE | S-5000 | Airconditioning | 1 | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | SE | S-5019 | Exhaust | 1 | extra steam/ heat extraction to room | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | SE | S-5037 | Special exhaust: dryer | 1 | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | SE | S-6000 | General fluorescent | 1 | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | SE | S-6200 | Light switches | 1 | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | SE | S-9000 | GPO: Single | 3 | washer, dryer, ironing cabinet, 30mA RCD protection | bar: Connections Ele to Connections Stm
LAUN-PT | Laundry - Patient | SE | S-9001 | GPO: Double | 1 | 30mA RCD protection, above bench | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | Fabrics | 1130 | Floor finish | 1 |  | Carpet | 90/10 Wool/ Nylon | Carpet tiles | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | Fabrics | 2010 | Skirting | 1 |  | Vinyl | Prefinished | Feather edged, 150 mmH | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | Fabrics | 2692 | Wall protection | 1 |  |  |  | Bed protection wall panel | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | Fabrics | 2710 | Door protection | 1 |  |  |  | Protection plate to 300 AFFL | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | Fabrics | 7001 | Windows | 1 | essential | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | Fabrics | 9001 | Door - 1100mm | 1 | 910mm clear opening, lockable | Solid Core | Paint | Single leaf | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | FE | FE-44000 | Refrigerator - 120 Litre, domestic | 1 | optional |  |  |  | Yes | No | No | No | No | No | No | No | No
OVBR | Overnight Stay - Bedroom | FE | FE-54510 | Telephone - handset, standard | 1 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
OVBR | Overnight Stay - Bedroom | FF | FF-2100 | Chair - ergonomic, office | 1 | to desk | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | FF | FF-22690 | Table - bedside | 1 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | FF | FF-4330 | Cupboard - wardrobe | 1 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | FF | FF-5824 | Waste bin - general | 1 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | FF | FF-5828 | External window dressing | 1 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | FF | FF-5900 | Desk | 1 | small | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | FF | FF-6425 | Bed - domestic, single + mattress | 1 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | SE | S-1006 | Voice / Data outlet: double | 1 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | SE | S-2087 | Special: reading light | 1 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | SE | S-5000 | Airconditioning | 1 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | SE | S-6000 | General fluorescent | 1 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | SE | S-6200 | Light switches | 2 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | SE | S-9001 | GPO: Double | 2 | bar: Connections Ele to Connections Stm
OVBR | Overnight Stay - Bedroom | SE | S-9001 | GPO: Double | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | Fabrics | 2000 | Skirting | 1 | default = vinyl: or tiles for tiled floor | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | Fabrics | 2526 | Floor finish | 1 | Suitable for barefeet. Tiles also acceptable. | Vinyl | Non-slip | Seamless coved | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | Fabrics | 2529 | Door protection | 1 | To be decided at project level. | Composite | Prefinished PVC | To door frame | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | Fabrics | 2712 | Door protection | 1 |  |  |  | Protection plate to 900 AFFL | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | Fabrics | 3035 | Wall finish | 1 | default = vinyl, tiles also acceptable. | Vinyl | Prefinished | Wall vinyl full height | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | Fabrics | 5023 | Ceiling - Plasterboard | 1 |  | Plasterboard | Prefinished | Water resistant, drop in tiles, 600x1200 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | Fabrics | 9001 | Door - 1100mm | 1 | 850mm clear opening; privacy latch, cavity sliding door. | Solid Core | Paint | Single leaf | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FE | FE-40412 | TAP - COLD | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FE | FE-40413 | TAP - HOT | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FE | FE-47500 | Shower - fixed rose | 1 |  |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
OVES | Overnight Stay - Ensuite | FE | FE-55600 | Toilet suite - standard | 1 |  |  |  |  | No | No | Yes | No | Yes | No | Yes | No | No
OVES | Overnight Stay - Ensuite | FE | FE-5603 | Basin - ensuite | 1 | With integral shelf for personal belongings or separate shelf. |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
OVES | Overnight Stay - Ensuite | FF | FF-13700 | Mirror | 1 | above basin | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FF | FF-19100 | Waste bin - sanitary | 1 | Optional, depends on Waste Management Policy. | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FF | FF-20650 | Soap / shampoo holder | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FF | FF-23700 | Towel rail | 1 | 600mm length; grab rail fittings | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FF | FF-3400 | Coathook | 2 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FF | FF-4800 | Curtain track - shower (90deg) | 1 | Optional, depends on infection control policy | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FF | FF-5300 | Curtain - shower | 1 | Optional, depends on infection control policy. | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FF | FF-5824 | Waste bin - general | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FF | FF-6156 | Dispenser - soap | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | FF | FF-6160 | Dispenser - toilet paper | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | SE | S-4033 | Floor waste | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | SE | S-5015 | Ventilation | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | SE | S-5019 | Exhaust | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | SE | S-6000 | General fluorescent | 1 | Sensor light optional. | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | SE | S-6200 | Light switches | 1 | bar: Connections Ele to Connections Stm
OVES | Overnight Stay - Ensuite | SE | S-9001 | GPO: Double | 1 | bar: Connections Ele to Connections Stm
PAR | Parenting Room | Fabrics | 1000 | Floor finish | 1 | tiles also acceptable | Vinyl | Standard slip resistant | Seamless, coved | bar: Connections Ele to Connections Stm
PAR | Parenting Room | Fabrics | 2000 | Skirting | 1 | or tiles for tiled floor | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | bar: Connections Ele to Connections Stm
PAR | Parenting Room | Fabrics | 2529 | Door protection | 1 | To be decided at project level. | Composite | Prefinished PVC | To door frame | bar: Connections Ele to Connections Stm
PAR | Parenting Room | Fabrics | 2712 | Door protection | 1 |  |  |  | Protection plate to 900 AFFL | bar: Connections Ele to Connections Stm
PAR | Parenting Room | Fabrics | 2727 | Wall finish | 1 | Selection of material to comply with Part D Infection Prevention and Control AusHFG. |  |  | Splashback | bar: Connections Ele to Connections Stm
PAR | Parenting Room | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable | bar: Connections Ele to Connections Stm
PAR | Parenting Room | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | bar: Connections Ele to Connections Stm
PAR | Parenting Room | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | bar: Connections Ele to Connections Stm
PAR | Parenting Room | Fabrics | 9001 | Door - 1100mm | 1 | 910mm clear opening, privacy latch | Solid Core | Paint | Single leaf | bar: Connections Ele to Connections Stm
PAR | Parenting Room | FE | FE-40403 | Tapware - accessible basin mixer | 1 | bar: Connections Ele to Connections Stm
PAR | Parenting Room | FE | FE-47800 | Sink, SS - single in bench | 1 | warm water. Tapware: sink mixer, fixture mounted. |  |  |  | No | No | Yes | Yes | Yes | Yes | Yes | No | No
PAR | Parenting Room | FF | FF-1050 | Bench - laminate | 1 | with sink. Length to suit layout, refer RLS or project specific requirements. | bar: Connections Ele to Connections Stm
PAR | Parenting Room | FF | FF-2000 | Chair - lounge | 1 | bar: Connections Ele to Connections Stm
PAR | Parenting Room | FF | FF-3400 | Coathook | 1 | bar: Connections Ele to Connections Stm
PAR | Parenting Room | FF | FF-5860 | Waste bin - fliptop | 1 | bar: Connections Ele to Connections Stm
PAR | Parenting Room | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | to sink | bar: Connections Ele to Connections Stm
PAR | Parenting Room | FF | FF-6156 | Dispenser - soap | 1 | to sink | bar: Connections Ele to Connections Stm
PAR | Parenting Room | FF | FF-7229 | Baby change mat | 1 | bar: Connections Ele to Connections Stm
PAR | Parenting Room | SE | S-5000 | Airconditioning | 1 | bar: Connections Ele to Connections Stm
PAR | Parenting Room | SE | S-5019 | Exhaust | 1 | bar: Connections Ele to Connections Stm
PAR | Parenting Room | SE | S-6000 | General fluorescent | 1 | bar: Connections Ele to Connections Stm
PAR | Parenting Room | SE | S-6200 | Light switches | 1 | bar: Connections Ele to Connections Stm
PAR | Parenting Room | SE | S-9001 | GPO: Double | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 1000 | Floor finish | 1 |  | Vinyl | Standard slip resistant | Seamless, coved | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 2529 | Door protection | 1 | To be decided at project level. | Composite | Prefinished PVC | To door frame | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 2537 | Wall protection | 1 |  |  |  | Crash rail at 900 AFFL | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 2692 | Wall protection | 1 | or similar |  |  | Bed protection wall panel | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 2712 | Door protection | 1 |  |  |  | Protection plate to 900 AFFL | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 2726 | Floor finish | 1 | Under basin. Significant change in colour to be avoided. | Vinyl, non slip |  | Seamless coved | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 2727 | Wall finish | 1 | Selection of material to comply with Part D Infection Prevention and Control AusHFG. |  |  | Splashback | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 5007 | Ceiling - Plasterboard | 1 | Between above bench joinery and ceiling. | Plasterboard | Paint | Bulkhead | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | bar: Connections Ele to Connections Stm
PLST | Plaster Room | Fabrics | 9128 | Door - 1200mm | 1 | 1400mm clear opening, sliding cover to glazing | Solid Core/ Glass | Paint | 1 1/2 leaf, observation panel | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FE | FE-11400 | Computer - PC & monitor | 1 | On bench, flatscreen, or wall mounted. If wall mounted add bracket. PACS images may be viewed, refer specific project requirements. |  |  |  | Yes | Yes | No | No | No | No | No | No | No
PLST | Plaster Room | FE | FE-2800 | Basin - handwash, Type B | 1 | elbow action levers or handsfree optional. |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
PLST | Plaster Room | FE | FE-31700 | Light - examination, ceiling | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
PLST | Plaster Room | FE | FE-40300 | Plaster trap | 1 | under sink, mobile |  |  |  | No | No | No | No | No | No | Yes | No | No
PLST | Plaster Room | FE | FE-40330 | Saw - plaster | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FE | FE-4045 | Tapware - elbow mixer | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FE | FE-49110 | Sink - 450x350x300D | 1 | hot water; tapware, long lever, wall mounted |  |  |  | No | No | Yes | Yes | Yes | Yes | Yes | No | No
PLST | Plaster Room | FE | FE-54520 | Telephone - handset, handsfree (WM) | 1 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
PLST | Plaster Room | FE | FE-5622 | Bed - inpatient, electric + standard patient mattress | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-1010 | Bench - stainless steel | 1 | With SS sink and wet edge. Length to suit layout, refer RLS or project specific requirements. | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-1465 | Bracket - suction bottle | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-1470 | Bracket - sharps | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-150 | Air flowmeter | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-16250 | Oxygen flowmeter | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-17501 | Trolley - plaster | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-19700 | Sharps bin | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-22000 | Suction bottle | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-4360 | Cupboard - door ht adj. shelves | 1 | Number to suit layout, refer RLS or project specific requirements. | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-4420 | Cupboard - under bench, lockable | 1 | Number to suit layout, refer RLS or project specific requirements. | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-4420 | Cupboard - under bench, lockable (s) | 1 | Number to suit layout, refer RLS or project specific requirements. | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-4470 | Cupboard - wall mounted, lockable | 1 | Number to suit layout, refer RLS or project specific requirements. | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-4472 | Cupboard - wall mounted, lockable | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-5824 | Waste bin - general | 2 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-5830 | Dispenser - antiseptic hand rub | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-6152 | Dispenser - disposable glove | 1 | to basin | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-6153 | Dispenser - moisturiser | 1 | to hand basin. Depends on operational policy. | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | to basin | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-6156 | Dispenser - soap | 1 | to basin | bar: Connections Ele to Connections Stm
PLST | Plaster Room | FF | FF-6158 | Dispenser - soap antiseptic | 1 | to basin | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-10005 | Duress alarm | 1 | optional in ambulatory care area | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-1005 | Voice / Data outlet: single | 1 | wall mounted telephone | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-1006 | Voice / Data outlet: double | 2 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-11000 | Wall panel | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-1951 | Staff assist call | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-2072 | Scavenge Outlet | 1 | If nitrous required. | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-2088 | Light switch: single | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-5000 | Airconditioning | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-6001 | General: colour corrected | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-6055 | Special: task light, built in | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-6200 | Light switches | 2 | Task light and room. | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-7000 | Oxygen (O2) | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-7010 | Nitrous Oxide (N2O) | 1 | Optional. | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-7020 | Medical Air (MA) | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-7040 | Suction | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-8000 | Patient/ Staff call | 1 | + indicator button & light | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-8005 | Patient call handset | 1 | call button on the handset | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-8080 | Emergency call | 1 | + indicator button & light | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-9000 | GPO: Single | 4 | to services panel | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-9001 | GPO: Double | 3 | to walls, bench | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-9010 | GPO: Emergency power, single (V) | 2 | to services panel | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-9015 | GPO: Cleaner | 1 | bar: Connections Ele to Connections Stm
PLST | Plaster Room | SE | S-9040 | Body protected | 1 | bar: Connections Ele to Connections Stm