## Room Template Data
Room Data Sheet - File for Import
2026-04-07
No. of Standard Components = 1
Code | Template Name | Standard Component Set | ICS Translation Status | Standard Area | Modeled Ceiling Height | Previous Code | RDS Rev: Name | RDS Rev Date: Name | Panorama - URL for Project Use | Briefing - Hours of Operation | Briefing - Occupancy | Briefing - Description | Briefing - Additional Considerations | Performance Requirements - Electrical - PROTECTION: body protected | Performance Requirements - Electrical - PROTECTION: cardiac protected | Performance Requirements - Lighting - LIGHTING: general | Performance Requirements - Lighting - LIGHTING: colour corrected | Performance Requirements - Lighting - LIGHTING: dimmable | Performance Requirements - Lighting - LIGHTING: indirect | Performance Requirements - Nurse Call and Duress - NURSE CALL SYSTEM: buttons / handset | Performance Requirements - Nurse Call and Duress - NURSE CALL SYSTEM: annunciator | Performance Requirements - Nurse Call and Duress - DURESS: fixed | Performance Requirements - Nurse Call and Duress - DURESS: wireless coverage | Performance Requirements - Security - ACCESS CONTROL: to door | Performance Requirements - Security - ACCESS CONTROL: to item / joinery | Performance Requirements - Security - INTERCOM: service communications | Performance Requirements - Security - INTERCOM: security and access control | Performance Requirements - Security - CCTV: camera coverage within room | Performance Requirements - Security - INTRUSION DETECTION: door monitoring | Performance Requirements - Security - INTRUSION DETECTION: spatial monitoring | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: patient entertainment system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: visitor experience system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: virtual collaboration system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: clinical support system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: digital operating room system | Performance Requirements - Accessibility - AUDIO: hearing augmentation | Performance Requirements - Accessibility - VISUAL: luminance contrast | Performance Requirements - Accessibility - SIGNAGE: accessible, statutory | Performance Requirements - HVAC - AIRCONDITIONING: general | Performance Requirements - HVAC - AIRCONDITIONING: HEPA filtered | Performance Requirements - HVAC - AIRCONDITIONING: positive pressure | Performance Requirements - HVAC - AIRCONDITIONING: negative pressure | Performance Requirements - HVAC - VENTILATION: exhaust | Performance Requirements - HVAC - VENTILATION: supply | Performance Requirements - HVAC - VENTILATION: natural | Performance Requirements - Medical Gas - MEDICAL GAS: general anaesthesia | Performance Requirements - Medical Gas - MEDICAL GAS: special care | Performance Requirements - Medical Gas - MEDICAL GAS: special care, neonatal ventilation | Performance Requirements - Medical Gas - MEDICAL GAS: birthing | Performance Requirements - Hydraulic - WATER: drinking | Performance Requirements - Hydraulic - WATER: specialty | Performance Requirements - Hydraulic - DRAINAGE: sanitary | Performance Requirements - Hydraulic - DRAINAGE: specialty | Performance Requirements - Fire - DETECTION: smoke | Performance Requirements - Fire - DETECTION: heat | Performance Requirements - Shielding - SHIELDING: ionising radiation | Performance Requirements - Shielding - SHIELDING: magnetic and radio frequency | Performance Requirements - Acoustics - SPEECH PRIVACY: not private | Performance Requirements - Acoustics - SPEECH PRIVACY: moderate | Performance Requirements - Acoustics - SPEECH PRIVACY: private | Performance Requirements - Acoustics - SPEECH PRIVACY: confidential | Performance Requirements - Acoustics - NOISE SENSITIVITY: not sensitive | Performance Requirements - Acoustics - NOISE SENSITIVITY: low | Performance Requirements - Acoustics - NOISE SENSITIVITY: medium | Performance Requirements - Acoustics - NOISE SENSITIVITY: high | Performance Requirements - Acoustics - NOISE GENERATION: low | Performance Requirements - Acoustics - NOISE GENERATION: moderate | Performance Requirements - Acoustics - NOISE GENERATION: high | Performance Requirements - Acoustics - NOISE GENERATION: very high
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | Translation and QA Only | 12 | 2700 |  | 3 | 07.04.2026 |  | Up to 24 hours (dependent on unit operating hours) | up to 3 patients intermittently;; | The Change Room - Patient provides the area and amenities required for ambulant patients to change into appropriate clothes prior to physical therapy or hydrotherapy sessions, and to re-dress and perform personal ablutions afterwards. | ~ Change Rooms are typically divided into gender specific areas on a proportional basis. and will include Change Cubicle, Toilet, handbasin and lockers for secure storage of personal property. ~ Operational models for handling patient belongings are to be considered. The change room may include facilities for temporarily storing clothes, or close proximity to patient lockers or other secure property storage may be required where belongings are not to be kept with the patient. ~ Grab rails are to be securely fixed to the wall with the structural support required to meet weight ratings/SWL that must be confirmed at project level (generally accommodating patients up to 150kg for standard patient spaces). Provision of structural support and FF&E that is suitable for supporting bariatric patients (typically up to 250kgs) may be considered and confirmed at a project level. ~ Mobile duress coverage is to be assessed and planned at a department level and coverage is to suit local security and WHS policies and operational service requirements. | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE

## Items In Room Template
Room Data Sheet - File for Import
2026-04-07
Code | Template Name | Standard Component Set | Item List: Name | Item Number | Name | Quantity | Priority | Category: Name | Comment
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | D+W | AFDPR-006.01 | DOOR PROTECTION: plate, to 900H | 1 | 1 | Internal - Door 1 | [DWPR-006] to corridor side, extent dependent on movement of beds and mobile equipment in adjacent area; to be coordinated with corridor wall protection
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | D+W | AFDPR-006.01 | DOOR PROTECTION: plate, to 900H | 1 | 1 | Internal - Door 1 | [DWPR-006] to room side
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | D+W | AFDPR-056.01 | DOOR FRAME PROTECTION: full wrap, to 900H | 1 | 3 | Internal - Door 1 | [DWPR-010] optional, provision and extent dependent on frame material/finish and movement of beds and mobile equipment in adjacent area
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FIN | CLCN-041 | CORNICE: wall trim fixing, prefinished | 1 | 1 | Ceiling Cornice | [CLCN-002] square set cornice acceptable if flush set ceiling is provided
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FIN | CLTI-021.02 | CEILING: drop-in tiles, prefinished, 600 x 1200 | 1 | 1 | Ceiling Finish 1 | [CLTI-008] flush set ceiling is also acceptable
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | D+W | DOHI-003.01 | DOOR: hinged, 1 leaf, 900 clear opening, solid | 1 | 1 | Internal - Door 1 | [DWSC-003] privacy latch, with emergency release
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | SER | ELGP-201 | GPO: double, wall mounted | 1 | 3 |  | [ELGP-208] optional
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | SER | ELSW-001 | SWITCH: light | 1 | 1 |  | [ELBO-015]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FIBM-102 | MIRROR: fixed, safety glass, frameless | 1 | 1 |  | [FIBM-006]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FIDI-231 | DISPENSER: paper towel, wall mounted | 1 | 1 |  | [FIDI-025] to basin
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FIDI-256 | DISPENSER: soap, wall mounted | 1 | 1 |  | [FIDI-030] to basin
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FIDI-301 | DISPENSER: toilet paper, wall mounted | 1 | 1 |  | [FIDI-036]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FIHR-026 | HOOK: coat, wall mounted | 2 | 1 |  | [FIHR-026]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FIRT-125 | GRAB RAIL: toilet, 90 degree | 2 | 1 |  | [FIRT-006] Ambulant provision.
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FIN | FLSK-021 | SKIRTING: vinyl, integral with floor vinyl, coved | 5 | 1 | Floor Skirting | [FLSK-010]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FIN | FLVY-101 | FLOOR FINISH: vinyl, seamless, standard slip resistance | 1 | 1 | Floor Finish 1 | [FLVY-007] minimum slip rating R10/Pendulum P3 or agreed equivalent to extend under basin or an inset section of non-slip vinyl is required
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FQCL-211 | LINEN CARRIER: dirty, single skip | 1 | 1 |  | [MMGE-048]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FQGE-121 | CLOCK: analogue display, battery operated | 1 | 3 |  | [FQGE-005] optional
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FQSN-322 | LOCKER: floor standing, 2 door, on plinth | 4 | 1 |  | [FQSN-048] quantity and size of lockers to suit service requirements
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FQSN-342 | LOCKER: floor standing, 4 door, on plinth | 2 | 1 |  | [FQSN-050] quantity and size of lockers to suit service requirements
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FQWS-051 | BIN: general waste, 20L | 1 | 1 |  | [FQCW-016]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | FQWS-331 | BIN: sanitary waste | 1 | 3 |  | [FQCW-037] optional, to be provided to female change rooms
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | HYBA-141 | BASIN: type C, handwashing | 1 | 1 |  | [HYBA-011] with detachable shroud to pipework; location of thermostatic mixing valve to be determined based on ability to share with nearby basins
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | SER | HYDR-021 | DRAIN: floor waste, round | 1 | 1 |  | [HYDR-004]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | SER | HYDR-201 | DIRECT CONNECTION: wastewater, general | 1 | 1 |  | to basin
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | HYTP-051 | TAPWARE: basin, mixer, fixture mounted | 1 | 1 |  | [HYTP-036] selection of basin and tapware to be coordinated to ensure compatibility
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | SER | HYTP-451 | DIRECT CONNECTION: water, cold | 1 | 1 |  | to basin tapware
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | SER | HYTP-453 | DIRECT CONNECTION: water, warm | 1 | 1 |  | to basin tapware
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | HYWC-031 | TOILET SUITE: patient | 1 | 1 |  | [HYWC-006]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | SER | ITCL-111 | LIGHT: nurse call indicator, ceiling mounted | 1 | 1 |  | outside door
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | SER | ITCL-121 | BUTTON: nurse call, patient to staff call, with cancel, wall mounted | 2 | 1 |  | [ITCL-006] 1 to toilet cubicle, 1 to change cubicle
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | SER | ITCL-181 | BUTTON: nurse call, staff assist, with cancel, wall mounted | 1 | 1 |  | [ITCL-008]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | SER | ITCL-191 | BUTTON: nurse call, emergency, with cancel, wall mounted | 1 | 1 |  | [ITCL-004]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | JOSH-401 | SHELF: wall mounted, laminate | 1 | 1 |  | [FIJO-191] over basin; provision of basin with integral shelf is also acceptable
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FFE | MMTR-121 | TROLLEY: gowns/scrubs, 1060W x 490D x 1830H nominal | 1 | 3 |  | [MMGE-122] optional
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FIN | WLFI-001 | WALL FINISH: paint | 1 | 1 | Wall Finish 1 | [WLWA-004]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FIN | WLFI-101 | SPLASHBACK: vinyl | 1 | 1 | Wall Finish 4 | [WLWA-007] to basin
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FIN | WLPT-051 | PARTITION SYSTEM: cubicle, changing | 1 | 1 | Wall Finish 3 | [WLPT-001]
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FIN | WLPT-054 | PARTITION SYSTEM: integral seat, changing | 1 | 1 | Wall Finish 3 | [FIGE-003] chair is also acceptable; confirm weight capacity requirements
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | Sanitary Facilities | FIN | WLPT-062 | PARTITION SYSTEM: cubicle, toilet, ambulant | 1 | 1 | Wall Finish 2 | [WLPT-005]