## Room Data
Standard Components - Room Data Sheet
Date of issue: 31.01.2024
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
CHPT-AC | Change Cubicle - Patient, Accessible | 4.5 | up to 24 Hours | 1 patient, 1 staff / carer assisting as required |  |  | The Change Cubicle - Patient, Accessible provides area and amenities for patients using wheelchairs, walking aids and/or requiring assistance to change into a hospital gown or appropriate clothes prior to physical therapy, examination, diagnostic imaging, treatment, procedures or surgery, and to re-dress afterwards. The cubicle should provide facilities for temporarily hanging clothes and a bench seat or chair for the patient to sit on whilst changing. Additional Considerations: Provision of a door, cubicle partition system, or privacy curtain to enclose the change cubicle is to be determined to suit patient cohort and service requirements. Where possible, the cubicle should be located so the entry opening is discreet and not facing into high traffic areas. Where door is provided it must swing outward. For door to swing inward, additional area for circulation and emergency release hardware is required. In both cases it is required that the door can be opened from the outside in an emergency. The selection of door hardware, namely handles and locks/privacy latches, must ensure usability by people with limited dexterity and motor skills. Lighting control may be provided external to the change cubicle to serve a number of change cubicles in an area, particularly where cubicle systems or privacy curtains are provided. Enclosed change cubicles may have individual light switches or motion controlled lighting. Where two-way access is provided, e.g. from a corridor and directly from a treatment or imaging room, additional area may be required to provide appropriate circulation at the second entry. Where adjacent or with direct access to an imaging room or treatment room where imaging devices are used, the change room must be adequately shielded. Radiation shielding is to be as advised and confirmed by a Radiation Consultant. Where paediatric services are provided, additional area within change cubicles will be required to support parents/carers assisting children to change. The provision of multiple benches with different seating heights (450mm-520mm for adults and 350mm for children) may also be considered to support paediatric patients. Operational models for handling patient belongings are to be considered. Close proximity to patient lockers or other secure property storage may be required where belongings are not to be kept with the patient. The depth of the seat is to be adequate to support movement while changing, and the weight rating of all seating, including provision for bariatric capacity, is to be considered. The colour of seating is to contrast with the flooring and walls to support visibility and reduce the risk of falls. An operational model for responding to calls from staff/patients will be required to support the provision of the patient to staff call button, staff assist call button and emergency call button, and inclusion is to be determined based on service requirements. Additional staff assist and emergency call buttons my be located outside of the cubicle and shared between a number of change rooms depending on service requirements.

## Items
Standard Components - Items in room
Date of issue: 31.01.2024
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
CHPT-AC | Change Cubicle - Patient, Accessible | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1
CHPT-AC | Change Cubicle - Patient, Accessible | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1
CHPT-AC | Change Cubicle - Patient, Accessible | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 1
CHPT-AC | Change Cubicle - Patient, Accessible | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1
CHPT-AC | Change Cubicle - Patient, Accessible | FA | CLFS-002 | CEILING: fibre cement, flush set, suspended, paint, washable | 1 | drop-in tile ceiling is also acceptable
CHPT-AC | Change Cubicle - Patient, Accessible | FA | DWSC-003 | DOOR: 910mm c/o, single leaf, solid core, paint | 1 | outward opening, with accessible privacy latch; cubicle system or curtain track with privacy curtain are also acceptable
CHPT-AC | Change Cubicle - Patient, Accessible | FA | CLCN-009 | CORNICE: wall trim fixing | 1
CHPT-AC | Change Cubicle - Patient, Accessible | FFE | FIGE-003 | BENCH SEAT: fixed, indoor | 1 | colour of seating to contrast with flooring and walls as per AS1428.1 luminance contrast requirements
CHPT-AC | Change Cubicle - Patient, Accessible | FFE | FIHR-026 | HOOK: coat | 2 | 1 mounted at accessible height to AS1428.1 requirements
CHPT-AC | Change Cubicle - Patient, Accessible | FFE | FIRT-006 | GRAB RAIL: WC | 1 | L-shaped grabrail
CHPT-AC | Change Cubicle - Patient, Accessible | FFE | FIBM-006 | MIRROR: fixed, glass | 1
CHPT-AC | Change Cubicle - Patient, Accessible | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | with indicator button and light
CHPT-AC | Change Cubicle - Patient, Accessible | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 1 | with indicator button and light, low for access from seated position or floor
CHPT-AC | Change Cubicle - Patient, Accessible | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | with indicator button and light
CHPT-AC | Change Cubicle - Patient, Accessible | SE | ITSE-044 | SENSOR: motion detection, for lighting control | 1 | light switch is also acceptable