## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Briefing
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics | Description / Special Requirements
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
CLRM-5 | Cleaner's Room, 5m2 | 5 |  | 1 - 2 intermittently | 24 Hours |  | A secure room for the localised storage and decanting of cleaning materials and agents, storage of cleaning equipment and trolley, washing and storage of mops, buckets, brooms etc. and for liquid waste disposal.

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
CLRM-5 | Cleaner's Room, 5m2 | FE | FE-2850 | Basin - handwash, Type C | 1 |  |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
CLRM-5 | Cleaner's Room, 5m2 | FE | FE-49200 | Sink - cleaner | 1 |  |  |  |  | No | No | Yes | Yes | Yes | No | Yes | No | No
CLRM-5 | Cleaner's Room, 5m2 | FE | FE-58400 | Vacuum cleaner - commercial | 1 | optional |  |  |  | Yes | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FE | FE-9300 | Dispenser - detergent/ chemical mixer | 1 | hot water may also be required, optional |  |  |  | No | No | Yes | No | Yes | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FE | FE-4045 | TAPWARE - ELBOW MIXER: TAP MIXER, LONG LEVER | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FF | FF-1390 | Bucket - cleaner's | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FF | FF-1485 | Hook rack - broom/ mop | 1 | 4 hooks, on mounting plate |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FF | FF-15300 | Mop | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FF | FF-19970 | Shelving unit - heavy duty | 1 | adjustable shelves |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FF | FF-3200 | Trolley - cleaner's | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FF | FF-6152 | Dispenser - disposable glove | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FF | FF-6154 | Dispenser - paper/ hand towel | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FF | FF-6156 | Dispenser - soap | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FF | FF-5830 | Dispenser - antiseptic hand rub | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | SE | S-9001 | GPO: Double | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | SE | S-4000 | Hot water: outlet | 1 | to detergent/ chemical mixer if required |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | SE | S-4010 | Cold water: outlet | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | SE | S-4033 | Floor waste | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | SE | S-4050 | Cold water: hosecock | 1 | to detergent/ chemical mixer if required |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | SE | S-5015 | Ventilation | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | SE | S-5019 | Exhaust | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | Fabrics | 1020 | Floor finish | 1 |  | Vinyl, non-slip | Safety | Seamless, coved | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | Fabrics | 2526 | Floor finish | 1 |  | Vinyl | Non-slip | Seamless coved | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | Fabrics | 3052 | Wall finish | 1 | Default = vinyl: tiles also acceptable | Vinyl | Prefinished | Wall vinyl to 1500 AFFL | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | Fabrics | 5007 | Ceiling - Plasterboard | 1 |  | Plasterboard | Paint | Bulkhead | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | Fabrics | 5023 | Ceiling - Plasterboard | 1 |  | Plasterboard | Prefinished | Water resistant, drop in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | Fabrics | 9001 | Door - 1100mm | 1 | 910mm clear opening; lock set | Solid Core | Paint | Single leaf | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | Fabrics | 2530 | Door protection | 1 |  | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | Fabrics | 2529 | Door protection | 1 |  | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
CLRM-5 | Cleaner's Room, 5m2 | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No