## Room Data
Standard Components - Room Data Sheet
Date of issue: 28.06.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
DEN-MLB | Dental Laboratory, Minor | 12 | 8am to 6pm, daily | 1-2 staff |  | Sound attenuation high: Acoustic privacy required | The Minor Dental Laboratory provides facilities and equipment for dental clinicians/technicians to make adjustments to dentures or other dental prosthetics, and to store prosthetic supplies. Additional Design Considerations: Dust extraction is required at the source and may be integral to equipment in some instances. If Bunsen burner to be used in this room, gas outlet or portable gas is required and overhead joinery may need to be reviewed to provide appropriate clearance. A workstation with computer and barcode scanner may be provided for digital tracking and records.

## Items
Standard Components - Items in room
Date of issue: 28.06.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
DEN-MLB | Dental Laboratory, Minor | FA | FLVY-004 | FLOOR FINISH: vinyl, seamless, coved, non-slip, safety | 1 | floor finish must be minimum slip rating R10; Pendulum P3 or agreed equivalent under basin and around sink
DEN-MLB | Dental Laboratory, Minor | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 9
DEN-MLB | Dental Laboratory, Minor | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 1
DEN-MLB | Dental Laboratory, Minor | FA | WLWA-007 | WALL FINISH: splashback | 1
DEN-MLB | Dental Laboratory, Minor | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 4
DEN-MLB | Dental Laboratory, Minor | FA | WLWA-010 | WALL FINISH: splashback, vinyl | 2
DEN-MLB | Dental Laboratory, Minor | FA | CLTI-008 | CEILING: plasterboard, drop-in tiles, prefinished, 600 x 1200 | 1
DEN-MLB | Dental Laboratory, Minor | FA | DWGL-005 | DOOR: 910mm c/o, single leaf, observation panel, solid core/glass, paint | 1
DEN-MLB | Dental Laboratory, Minor | FA | CLCN-009 | CORNICE: wall trim fixing | 1
DEN-MLB | Dental Laboratory, Minor | FFE | ITNE-052 | TELEPHONE: handset, wall mount | 1
DEN-MLB | Dental Laboratory, Minor | FFE | FIJO-021 | BENCH: 600D, open under, stainless steel lipped | 2
DEN-MLB | Dental Laboratory, Minor | FFE | FIJO-135 | CUPBOARD: underbench, double door, adj shelves | 1
DEN-MLB | Dental Laboratory, Minor | FFE | FQCW-016 | BIN: waste, general, 20L | 1 | to basin
DEN-MLB | Dental Laboratory, Minor | FFE | FIDI-014 | DISPENSER: disposable glove | 1 | to basin
DEN-MLB | Dental Laboratory, Minor | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin
DEN-MLB | Dental Laboratory, Minor | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin
DEN-MLB | Dental Laboratory, Minor | FFE | FIHR-033 | PANEL: for storage bins, wall mount | 2
DEN-MLB | Dental Laboratory, Minor | FFE | FIJO-197 | SHELF: stainless steel, underbench | 4 | some shelves may be removable or omitted to allow for storage of bulk items on mobile dolly
DEN-MLB | Dental Laboratory, Minor | FFE | FIJO-152 | CUPBOARD: wall mount, shelf unit, adj shelves | 5
DEN-MLB | Dental Laboratory, Minor | FFE | FQBS-052 | STOOL: mobile, high, adj height | 1
DEN-MLB | Dental Laboratory, Minor | FFE | FQSN-006 | BIN: storage bins, for wall mounted panel | 10 | various sizes
DEN-MLB | Dental Laboratory, Minor | FFE | MMDN-004 | DEVICE: dental, micromotor | 1 | optional
DEN-MLB | Dental Laboratory, Minor | FFE | MMDN-005 | DEVICE: dental, model trimmer | 1 | plumbed to sink
DEN-MLB | Dental Laboratory, Minor | FFE | HYBA-010 | BASIN: handwash, Type B | 1
DEN-MLB | Dental Laboratory, Minor | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to basin
DEN-MLB | Dental Laboratory, Minor | FFE | HYTP-038 | TAPWARE: mixer, elbow levers, long | 1 | to sink
DEN-MLB | Dental Laboratory, Minor | FFE | ITNE-007 | COMPUTER: desktop, with display screen | 1 | optional; to workstation if provided
DEN-MLB | Dental Laboratory, Minor | FFE | HYDR-008 | TRAP: plaster | 1
DEN-MLB | Dental Laboratory, Minor | FFE | MMDN-009 | LATHE: dental, polishing | 1 | extraction is required if not integral to equipment
DEN-MLB | Dental Laboratory, Minor | FFE | MMDN-013 | MOULDER: dental, forming machine | 1
DEN-MLB | Dental Laboratory, Minor | FFE | HYBA-052 | SINK: single, 450 x 350 x 250D | 1
DEN-MLB | Dental Laboratory, Minor | FFE | FIJO-100 | BENCH LEGS: stainless steel, for bench top | 2
DEN-MLB | Dental Laboratory, Minor | FFE | ITNE-003 | BAR CODING: reader | 1 | optional; to workstation if provided
DEN-MLB | Dental Laboratory, Minor | FFE | FIJO-212 | BULKHEAD: joinery | 2 | plasterboard bulkhead is also acceptable
DEN-MLB | Dental Laboratory, Minor | FFE | FQDW-052 | DESK: adj height, 1000W x 600D x 750H nom. | 1 | optional; to workstation if provided
DEN-MLB | Dental Laboratory, Minor | FFE | MMDN-023 | DEVICE: dental extraction unit | 1
DEN-MLB | Dental Laboratory, Minor | FFE | MMDN-024 | DEVICE: dental, mixing vibrator | 1 | a vacuum mixer may also be considered
DEN-MLB | Dental Laboratory, Minor | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1
DEN-MLB | Dental Laboratory, Minor | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1
DEN-MLB | Dental Laboratory, Minor | SE | HYDR-004 | DRAIN: floor waste | 1
DEN-MLB | Dental Laboratory, Minor | SE | LIFX-008 | LIGHT: task light, built in | 5
DEN-MLB | Dental Laboratory, Minor | SE | ELBO-015 | SWITCH: light, single | 3 | 1 x general room lighting, 2 x task light
DEN-MLB | Dental Laboratory, Minor | SE | MGAS-008 | OUTLET: compressed air, wall mounted | 1 | to forming machine
DEN-MLB | Dental Laboratory, Minor | SE | ELGP-109 | GPO: single, wall mounted | 1
DEN-MLB | Dental Laboratory, Minor | SE | ELGP-208 | GPO: double, wall mounted | 8 | 2 x optional; to workstation if provided