## Room Data
Standard Components - Room Data Sheet
Date of issue: 12.07.2023
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
DINR | Dining - Patient | 40 | Up to 24 Hours | 16 patients seated, 3-4 staff intermittently |  | Sound attenuation level high; acoustic privacy is required. | The Dining Room is an area provided for patients to eat their meals away from the bedroom environment in an inpatient setting. The Dining Room may be used for other patient recreational activities when not in use for meals. In this instance, additional transfer of noise to adjacent patient care areas to be considered. Additional Considerations: Food services model, e.g. meal trolley (tray or re-thermalisation), servery, beverage bay, etc. will impact room design. A kitchen, servery or beverage bay may be collocated or combined with the Dining Room. Size of space will depend on number of beds and models of care; designed area based on 3m2 per person. Access will be required for patients with limited mobility including wheelchairs, walking frames and other walking aids. Design must also consider the needs of patients with dementia and frail/elderly. An operational model for responding to calls from staff/patients will be needed to support the inclusion of a nurse call system and is to be determined based on service requirements. Patient to nurse call button and handset is optional and may be provided in units where high patient observation is required. Duress provision will be dependent on service requirements. Furniture shown in this Standard Component is indicative and items selected will vary depending on patient cohort. Considerations regarding furniture include assessing the weight rating of all seating, including for bariatric capacity as required, providing a mix of chairs with and without arms to support patient mobility, and providing built-in furniture or securing furniture where there may be safety/security concerns. Lighting to be consistent across the space. Size, type and quantity of waste bins is dependent on environmental management policies and service requirements. Where a facility has additional waste streams, beyond the general waste and comingled recycling indicatively shown in this Standard Component, additional area may be required to accommodate the receptacles. Depending on frequency of waste removal, bin sizes may be larger in high use areas or as guided by local waste management policies. Joinery to conceal bins may be provided depending on infection prevention and control policies. Where possible a achieving a domestic appearance with furniture, fittings and finishes is recommended. The display of artwork and cultural assets will be guided by the facility. A rail display system may be considered to minimise risks and allow for flexibility in display. Ease of cleaning for infection prevention and control also needs to be considered when selecting artwork. Natural light and external outlook is essential.

## Items
Standard Components - Items in room
Date of issue: 12.07.2023
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
DINR | Dining - Patient | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | floor finish must be minimum slip rating R10/pendulum P3 or agreed equivalent to extend under basin; significant change in colour to be avoided
DINR | Dining - Patient | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1
DINR | Dining - Patient | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 1
DINR | Dining - Patient | FA | WLWA-007 | WALL FINISH: splashback | 1 | to basin
DINR | Dining - Patient | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1
DINR | Dining - Patient | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
DINR | Dining - Patient | FA | DWWH-005 | WINDOW | 2 | natural light and external outlook is essential
DINR | Dining - Patient | FA | DWGL-031 | DOOR: 1400mm c/o, 1 1/2 leaf, half glazed, solid core/glass, paint | 1 | with hold open device to support trolley movement as required
DINR | Dining - Patient | FA | WLWA-025 | WALL FINISH: vinyl, to 1200 AFFL | 2 | to meal trolley parking area
DINR | Dining - Patient | FA | CLCN-009 | CORNICE: wall trim fixing | 1
DINR | Dining - Patient | FFE | FQGE-002 | ARTWORK | 1
DINR | Dining - Patient | FFE | FQBS-015 | CHAIR: dining | 16 | furniture is indicative and selection will be dependent on patient/visitor cohort and service requirements
DINR | Dining - Patient | FFE | DWWD-004 | BLIND: roller | 2
DINR | Dining - Patient | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 2
DINR | Dining - Patient | FFE | FQCW-016 | BIN: waste, general, 20L | 1 | to basin
DINR | Dining - Patient | FFE | FIDI-014 | DISPENSER: disposable glove | 1 | to basin
DINR | Dining - Patient | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin
DINR | Dining - Patient | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin
DINR | Dining - Patient | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to basin
DINR | Dining - Patient | FFE | FIHR-006 | BRACKET: for display screen, wall mounted | 1 | optional
DINR | Dining - Patient | FFE | FIJO-104 | CUPBOARD: drawer unit, 3 equal | 1
DINR | Dining - Patient | FFE | FQTA-059 | TABLE: square, 1100W, dining height | 4 | furniture is indicative and selection will be dependent on patient/visitor cohort and service requirements
DINR | Dining - Patient | FFE | FQCW-019 | BIN: waste, general, 50L | 1 | size, type and quantity of bins dependent on local waste management policies
DINR | Dining - Patient | FFE | ITBU-011 | DISPLAY SCREEN: MATV | 1 | optional
DINR | Dining - Patient | FFE | HYBA-010 | BASIN: handwash, Type B | 1
DINR | Dining - Patient | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to basin
DINR | Dining - Patient | FFE | FQCA-082 | TROLLEY: food delivery, hot/cold | 1 | as required to suit food service model
DINR | Dining - Patient | FFE | ITNE-053 | TELEPHONE: handset, wall mount, handsfree | 1
DINR | Dining - Patient | FFE | FIJO-059 | BENCH TOP: 600D, joinery under, laminate finish | 1
DINR | Dining - Patient | FFE | FQCW-062 | BIN: waste, recycling, comingled, 50L | 1 | size, type and quantity of bins dependent on local waste management policies
DINR | Dining - Patient | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1 | to wall mounted telephone
DINR | Dining - Patient | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1 | optional, to television, MATV outlet may also be provided depending on local ICT policies
DINR | Dining - Patient | SE | ITCL-008 | BUTTON: nurse call, staff assist | 2 | with indicator button and light
DINR | Dining - Patient | SE | ELBO-015 | SWITCH: light, single | 1
DINR | Dining - Patient | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 2 | optional, dependent on patient cohort, provide in areas requiring high staff observation; with indicator button and light
DINR | Dining - Patient | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 1 | optional, dependent on patient cohort, provide in areas requiring high staff observation; with indicator button and light
DINR | Dining - Patient | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | with indicator button and light
DINR | Dining - Patient | SE | ELGP-109 | GPO: single, wall mounted | 1 | to meal trolley parking area; power requirements dependent on type of meal trolley
DINR | Dining - Patient | SE | ELGP-208 | GPO: double, wall mounted | 3
DINR | Dining - Patient | SE | ELGP-208 | GPO: double, wall mounted | 1 | optional, to television
DINR | Dining - Patient | SE | ELPR-001 | BODY PROTECTED ELECTRICAL AREA | 1