## Room Data
Standard Components - Room Data Sheet
Date of issue: 13.05.2020
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
ECHO-TOE | Echocardiography - Transoesophageal | 26 | Available 24 Hours | 1 patient; 1 - 2 staff |  | Acoustic privacy is required | Room for diagnostic echocardiography procedures including transoesophageal echocardiography. Echocardiography procedures may be performed under local anaesthesia and sedation. The Echocardiography room should be located close to patient toilet and change rooms.

## Items
Standard Components - Items in room
Date of issue: 13.05.2020
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
ECHO-TOE | Echocardiography - Transoesophageal | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | floor finish must be minimum slip rating R10; Pendulum P3 or agreed equivalent to extend under basin
ECHO-TOE | Echocardiography - Transoesophageal | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 7
ECHO-TOE | Echocardiography - Transoesophageal | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 2 | optional
ECHO-TOE | Echocardiography - Transoesophageal | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 3
ECHO-TOE | Echocardiography - Transoesophageal | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 4
ECHO-TOE | Echocardiography - Transoesophageal | FA | CLFS-006 | CEILING: plasterboard, flush set, suspended, paint, washable | 1
ECHO-TOE | Echocardiography - Transoesophageal | FA | DWSC-003 | DOOR: 910mm c/o, single leaf, solid core, paint | 1 | optional, to patient wc
ECHO-TOE | Echocardiography - Transoesophageal | FA | DWSC-021 | DOOR: 1400mm c/o, 1 1/2 leaf, solid core, paint | 1
ECHO-TOE | Echocardiography - Transoesophageal | FA | CLCN-008 | CORNICE: square set flush between wall and ceiling, paint | 1
ECHO-TOE | Echocardiography - Transoesophageal | FA | WLWA-025 | WALL FINISH: vinyl, to 1200 AFFL | 5
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MGFP-002 | FLOWMETER: medical air | 1 | patient services panel
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIHR-019 | BRACKET: for suction bottle | 2
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FQBS-019 | CHAIR: office, ergonomic, high | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIHR-026 | HOOK: coat | 2 | optional
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIJO-131 | CUPBOARD: tall, single door, adj shelves, lockable | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIRT-025 | TRACK: curtain, bedscreen, U shaped | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FQGE-010 | CURTAIN: privacy screen | 1 | to entry door
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FQCW-016 | BIN: waste, general, 20L | 1 | to basin
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIDI-019 | DISPENSER: gown/apron | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FQCW-043 | BIN: waste, sharps, on trolley | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIDI-014 | DISPENSER: disposable glove | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to basin
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIDI-021 | DISPENSER: mask | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MMGE-126 | TROLLEY: intubation | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MMGE-048 | LINEN CARRIER: dirty, single | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIHR-033 | PANEL: for storage bins, wall mount | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MGFP-004 | FLOWMETER: oxygen | 2 | patient services panel
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MMGE-088 | SAFE: dangerous drugs, small | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FQBS-051 | STOOL: mobile, adj height | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FQSN-006 | BIN: storage bins, for wall mounted panel | 3
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MMGE-002 | ADAPTER: suction | 2 | patient services panel
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MMGE-100 | SUCTION BOTTLE | 2
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FQSM-016 | TROLLEY | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FQCW-005 | BIN: waste, clinical, 20L | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FQSM-003 | PEDESTAL: mobile, wire basket unit, 840H | 2
ECHO-TOE | Echocardiography - Transoesophageal | FFE | HYBA-009 | BASIN: handwash, Type A, scrub | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to basin
ECHO-TOE | Echocardiography - Transoesophageal | FFE | ITCL-014 | CLOCK: analogue, electric | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MMHA-002 | DEFIBRILLATOR | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MMGE-062 | MONITOR: patient, dynamap | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MMMI-325 | DEVICE: imaging, echocardiography machine | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | LIFX-027 | LIGHT: examination, ceiling mounted | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIJO-059 | BENCH TOP: 600D, joinery under, laminate finish | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIJO-212 | BULKHEAD: joinery | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | FIHR-067 | BRACKET: for monitor, wall mounted, articulated, adj height | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MMGE-169 | SLING: arm, dynamic, ceiling mounted | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | MMBE-069 | TROLLEY: patient, echocardiography | 1
ECHO-TOE | Echocardiography - Transoesophageal | FFE | ITNE-071 | COMPUTER: desktop, with dual display screens | 1
ECHO-TOE | Echocardiography - Transoesophageal | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1
ECHO-TOE | Echocardiography - Transoesophageal | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 5
ECHO-TOE | Echocardiography - Transoesophageal | SE | ELPR-006 | RCD: residual current device | 2 | on services panel
ECHO-TOE | Echocardiography - Transoesophageal | SE | ELGP-101 | GPO: single, ceiling mounted | 1 | exam light
ECHO-TOE | Echocardiography - Transoesophageal | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | on services panel
ECHO-TOE | Echocardiography - Transoesophageal | SE | ELBO-015 | SWITCH: light, single | 2 | 1 optional, to optional clean up room
ECHO-TOE | Echocardiography - Transoesophageal | SE | MGAS-042 | OUTLET: oxygen (O2), on services panel | 2 | on services panel
ECHO-TOE | Echocardiography - Transoesophageal | SE | MGAS-022 | OUTLET: medical air (MA), on services panel | 1 | on services panel
ECHO-TOE | Echocardiography - Transoesophageal | SE | MGAS-062 | OUTLET: suction, on services panel | 2 | on services panel
ECHO-TOE | Echocardiography - Transoesophageal | SE | ITCL-004 | BUTTON: nurse call, emergency | 1
ECHO-TOE | Echocardiography - Transoesophageal | SE | ELGP-109 | GPO: single, wall mounted | 1
ECHO-TOE | Echocardiography - Transoesophageal | SE | ELGP-208 | GPO: double, wall mounted | 5
ECHO-TOE | Echocardiography - Transoesophageal | SE | ELGP-122.1 | GPO: emergency power, single, on services panel (V) | 4 | on services panel
ECHO-TOE | Echocardiography - Transoesophageal | SE | ELGP-223 | GPO: emergency power, double, wall mounted | 3
ECHO-TOE | Echocardiography - Transoesophageal | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1
ECHO-TOE | Echocardiography - Transoesophageal | SE | ELGP-123 | GPO: emergency power, single, wall mounted | 1
ECHO-TOE | Echocardiography - Transoesophageal | SE | MMSP-026 | SERVICES PANEL: wall mounted | 1
ECHO-TOE | Echocardiography - Transoesophageal | SE | ELBO-012 | SWITCH: light, dimmer | 1