## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Briefing
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics | Description / Special Requirements
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
ENS-ACC | Ensuite - Accessible | 7 |  | 1 patient; 1-2 staff assisting | 24 Hours | Sound attenuation level high, Acoustic privacy is required. | An Ensuite is for use by a patient with a disability to wash, shave, groom themselves, shower and use the toilet, either independently or with assistance. The room shall comply with AS1428. The area and layout must accommodate an assisting nurse and a shower commode. Mobile patient lifters will not routinely be used within this space but the ensuite should accommodate this equipment in the case of a patient fall. Acoustics: sound attenuation level - High. Acoustic privacy required. Additional design requirements: - The shower floor must not have a raised hob - The entrance is to be flush with the adjoining floor - The door is to be fitted with escape hardware Body protected electrical area.

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
ENS-ACC | Ensuite - Accessible | FE | FE-3050 | Basin - handwash, accessible | 1 |  |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
ENS-ACC | Ensuite - Accessible | FE | FE-47400 | Shower - hand-held | 1 |  |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
ENS-ACC | Ensuite - Accessible | FE | FE-5604 | Toilet suite - accessible | 1 |  |  |  |  | No | No | Yes | No | Yes | No | Yes | No | No
ENS-ACC | Ensuite - Accessible | FE | FE-40406 | Tapware - shower mixer | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-13700 | Mirror | 1 | over basin |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-19100 | Waste bin - sanitary | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-20050 | Shower seat - fold up | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-20650 | Soap / shampoo holder | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-23700 | Towel rail | 1 | with grab rail strength and fixings |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-3400 | Coathook | 2 | 1 @ 1200 AFFL for wheelchair users |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-4800 | Curtain track - shower (90deg) | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-5300 | Curtain - shower | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-6156 | Dispenser - soap | 2 | optional |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-6160 | Dispenser - toilet paper | 1 | locate on drop down rail |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-8400 | Grab rail - WC | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-8450 | Grab rail - Shower | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-8500 | Grab rail - WC, hinged | 1 | drop down rails to sides of WC |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE | S-9001 | GPO: Double | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE-Req | S-9040 | Body protected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE | S-4033 | Floor waste | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE-Req | S-5019 | Exhaust | 1 | for heat/ steam |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE | S-5019 | Exhaust | 1 | for heat/ steam |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE-Req | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE | S-1983 | General fluoresecent downlights | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE | S-8000 | Patient/ Staff call | 2 | + indicator button & light; may be located on drop down rail beside toilet |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE | S-8080 | Emergency call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | SE | S-1951 | Staff assist call | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | Fabrics | 2526 | Floor finish | 1 |  | Vinyl | Non-slip | Seamless coved | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | Fabrics | 3070 | Wall finish | 1 | to wet areas; tiles also acceptable | Vinyl | Prefinished | Wall vinyl full height | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | Fabrics | 5023 | Ceiling - Plasterboard | 1 | water resistant set plasterboard ceiling also acceptable | Plasterboard | Prefinished | Water resistant, drop in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | Fabrics | 9110 | Door - 1400mm | 1 |  | Solid Core | Paint | 1 1/2 leaf | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | Fabrics | 2530 | Door protection | 1 |  | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | Fabrics | 2529 | Door protection | 1 |  | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
ENS-ACC | Ensuite - Accessible | Fabrics | 2000 | Skirting | 1 | or tiles for a tiled floor | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No