## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Single line edit) | (Single line edit) | (Single line edit) | (Single line edit)
FORM | Formula Room | 7 |  | 1 - 2 | 24 Hours | Acoustic privacy is required | The Formula Room provides space for the preparation, distribution and storage of baby feeds. Pre-packaged feeds will also be stored in this area. The room will provide facilities for washing, sterilisation and storage of baby bottles, teats and equipment, preparation of baby formulas, refrigerated storage of baby feeds and demonstration of formula preparation to mothers. Acoustics: Acoustic privacy required

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No)
FORM | Formula Room | Fabrics | 1000 | Floor finish | 1 |  | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
FORM | Formula Room | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No
FORM | Formula Room | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | Fabrics | 3060 | Wall finish | 1 | tiles also acceptable | Vinyl | Prefinished | Splashback | No | No | No | No | No | No | No | No | No
FORM | Formula Room | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
FORM | Formula Room | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
FORM | Formula Room | Fabrics | 7030 | Observation | 1 | observation window to Nursery area | Alum/ Glass | Powdercoat | Internal window, door height | No | No | No | No | No | No | No | No | No
FORM | Formula Room | Fabrics | 8010 | Door protection | 1 | equal to Acrovyn | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
FORM | Formula Room | Fabrics | 8040 | Door protection | 1 | equal to Acrovyn | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
FORM | Formula Room | Fabrics | 9004 | Door - 1100mm | 1 | 910 mm clear opening, with hold open device | Solid Core/ Glass | Paint | Single leaf, observation panel | No | No | No | No | No | No | No | No | No
FORM | Formula Room | FE | FE-16600 | Dishwasher - commercial | 1 | under bench, optional |  |  |  | Yes | No | Yes | No | Yes | No | Yes | No | No
FORM | Formula Room | FE | FE-19500 | Kettle - electric | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
FORM | Formula Room | FE | FE-4045 | Tapware - elbow mixer | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | FE | FE-44100 | Refrigerator - 250 Litre, domestic | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
FORM | Formula Room | FE | FE-47890 | Sink & drainer - single, 930mmL | 1 |  |  |  |  | No | No | Yes | Yes | Yes | Yes | Yes | No | No
FORM | Formula Room | FF | FF-1050 | Bench - laminate | 1 | with inset sink |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | FF | FF-19990 | Shelving unit - microwave | 1 | over bench, optional |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | FF | FF-4410 | Cupboard - under bench | 1 | adjustable shelves |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | FF | FF-44207 | Underbench single door | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | FF | FF-4430 | Cupboard - drawer unit | 1 | under bench |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | FF | FF-4460 | Cupboard - wall mounted | 2 | over bench |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | to sink |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | FF | FF-6156 | Dispenser - soap | 1 | to sink |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | SE | S-6055 | Special: task light, built in | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | SE | S-6200 | Light switches | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | SE | S-9000 | GPO: Single | 5 |  |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | SE | S-9001 | GPO: Double | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | SE | S-9040 | Body protected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FORM | Formula Room | SE | S-9060 | GPO: Special: for equipment | 3 | BWU, fridge, microwave |  |  |  | No | No | No | No | No | No | No | No | No