## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Single line edit) | (Single line edit) | (Single line edit) | (Single line edit)
FPVR | Film Processing, Viewing and Reporting | 16 |  | Up to 4 | 8am to 8pm, daily | Sound attenuation level medium, Acoustic privacy is required. | A room located within the Medical Imaging Unit to accommodate the film processing equipment along with a workstation area for viewing, and reporting of images. Acoustics: Sound attenuation level - Medium; acoustic privacy required.

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No)
FPVR | Film Processing, Viewing and Reporting | Fabrics | 1000 | Floor finish | 1 |  | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | Fabrics | 3060 | Wall finish | 1 | above sink, tiles also acceptable | Vinyl | Prefinished | Splashback | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | Fabrics | 7010 | Observation | 1 |  | Glass | Clear | Through door/s | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | Fabrics | 8000 | Door protection | 1 |  | Vinyl | Prefinished | Kickplate, 300mm high | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | Fabrics | 9004 | Door - 1100mm | 1 | 910mm clear opening, glazing optional | Solid Core/ Glass | Paint | Single leaf, observation panel | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FE | FE-11415 | Computer - PACS | 2 | for computerised images |  |  |  | Yes | Yes | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FE | FE-4045 | Tapware - elbow mixer | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FE | FE-41100 | Printer - networked | 1 |  |  |  |  | Yes | Yes | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FE | FE-49115 | Sink - 600x450x450D | 1 | hot water, lab sink |  |  |  | No | No | Yes | Yes | Yes | Yes | Yes | No | No
FPVR | Film Processing, Viewing and Reporting | FE | FE-54510 | Telephone - handset, standard | 2 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FE | FE-65100 | IMG - processor, daylight | 1 |  |  |  |  | Yes | No | Yes | No | Yes | No | Yes | No | No
FPVR | Film Processing, Viewing and Reporting | FE | FE-65900 | IMG - silver recovery unit | 1 |  |  |  |  | No | No | No | No | No | No | Yes | No | No
FPVR | Film Processing, Viewing and Reporting | FE | FE-69210 | Xray viewer - multiscreen | 2 | optional |  |  |  | Yes | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-1050 | Bench - laminate | 1 | with inset sink |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-1120 | Bench - workstation | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-17360 | Pinboard - fabric covered | 2 | above bench |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-20000 | Shelving unit - adjustable | 5 | over workstation bench |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-2100 | Chair - ergonomic, office | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-21290 | Cupboard - steel | 1 | chemical storage |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-3350 | Clock - battery operated | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-4410 | Cupboard - under bench | 1 | adjustable shelves |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-4460 | Cupboard - wall mounted | 1 | over sink bench, adjustable shelves |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | to sink |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | FF | FF-6156 | Dispenser - soap | 1 | to sink |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | SE | S-1006 | Voice / Data outlet: double | 1 | printer |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | SE | S-1006 | Voice / Data outlet: double | 4 | 2 outlets on workstations for telephone |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | SE | S-4037 | Tundish drain | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | SE | S-6005 | Dimmable | 1 | for image viewing |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | SE | S-6055 | Special: task light, built in | 4 | under O/H shleving |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | SE | S-6200 | Light switches (pelmet) | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | SE | S-9001 | GPO: Double | 6 | 2 per workstation + 1- printer |  |  |  | No | No | No | No | No | No | No | No | No
FPVR | Film Processing, Viewing and Reporting | SE | S-9060 | GPO: Special: for equipment | 2 | Processor, XRV |  |  |  | No | No | No | No | No | No | No | No | No