## Room Data
Standard Components - Room Data Sheet
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
GYAH-GP | Gymnasium, Group Therapy | 105 | 7am to 6pm daily | up to 15 patients, 2-3 staff |  | Acoustic privacy is required | The Gymnasium - Group Therapy provides space and facilities for patient evaluation, rehabilitation exercise activities, therapy and ambulation training in a group setting. An open area is typically provided for aerobic/movement exercises and may also provide space for group debriefing, discussion and education after sessions. An external outlook and ready access to outdoor areas is desirable. The range of specialised exercise equipment, open exercise areas and number of clients / patients to be accommodated within a gymnasium will vary from unit to unit and will require confirmation to inform overall space requirements. Additional Design Requirements: RCD protection is required to body protected areas in accordance with AS/NZS3003. Quantity and location dependent on selected equipment and circuiting arrangements.

## Items
Standard Components - Items in room
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
GYAH-GP | Gymnasium, Group Therapy | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1
GYAH-GP | Gymnasium, Group Therapy | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 3
GYAH-GP | Gymnasium, Group Therapy | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 2
GYAH-GP | Gymnasium, Group Therapy | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 3
GYAH-GP | Gymnasium, Group Therapy | FA | WLWA-020 | WALL FINISH: vinyl, to 1500 AFFL | 2
GYAH-GP | Gymnasium, Group Therapy | FA | CLTI-008 | CEILING: plasterboard, drop-in tiles, prefinished, 600 x 1200 | 1
GYAH-GP | Gymnasium, Group Therapy | FA | DWSC-027 | DOOR: 1600mm c/o, 1 1/2 leaf, solid core, paint | 1 | optional, to equipment store
GYAH-GP | Gymnasium, Group Therapy | FA | DWGL-041 | DOOR: 1500mm c/o, 1 1/2 leaf, half glazed, solid core/glass, paint | 1
GYAH-GP | Gymnasium, Group Therapy | FA | CLCN-009 | CORNICE: wall trim fixing | 1
GYAH-GP | Gymnasium, Group Therapy | FA | FLVY-010 | FLOOR FINISH: vinyl, seamless, inset floor markings | 1
GYAH-GP | Gymnasium, Group Therapy | FFE | MMAH-016 | ERGOMETER: arm | 2
GYAH-GP | Gymnasium, Group Therapy | FFE | FQBS-030 | CHAIR: visitor, patient | 2 | to arm ergometer
GYAH-GP | Gymnasium, Group Therapy | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 2
GYAH-GP | Gymnasium, Group Therapy | FFE | FQGE-005 | CLOCK: analogue, battery operated | 1
GYAH-GP | Gymnasium, Group Therapy | FFE | FQGE-010 | CURTAIN: privacy screen | 2 | to plinth
GYAH-GP | Gymnasium, Group Therapy | FFE | FQSN-007 | BIN: storage bins, wire mesh, stainless steel | 1 | to plinth
GYAH-GP | Gymnasium, Group Therapy | FFE | FIHR-029 | HOOK: equipment | 2 | to plinth
GYAH-GP | Gymnasium, Group Therapy | FFE | MMAH-002 | BICYCLE: exercise | 2
GYAH-GP | Gymnasium, Group Therapy | FFE | MMAH-003 | BICYCLE: exercise, recumbent | 1
GYAH-GP | Gymnasium, Group Therapy | FFE | FIHR-033 | PANEL: for storage bins, wall mount | 1 | to plinth
GYAH-GP | Gymnasium, Group Therapy | FFE | FIRT-017 | STEEL MESH: framed, ceiling mount | 1 | optional, to plinth
GYAH-GP | Gymnasium, Group Therapy | FFE | MMAH-035 | PLINTH: single width | 1
GYAH-GP | Gymnasium, Group Therapy | FFE | FIHR-061 | RACK: weights | 1
GYAH-GP | Gymnasium, Group Therapy | FFE | MMAH-019 | MACHINE: rowing | 1
GYAH-GP | Gymnasium, Group Therapy | FFE | MMAH-020 | MACHINE: stepping | 1
GYAH-GP | Gymnasium, Group Therapy | FFE | ITNE-053 | TELEPHONE: handset, wall mount, handsfree | 1
GYAH-GP | Gymnasium, Group Therapy | FFE | MMAH-027 | TREADMILL: automatic | 2
GYAH-GP | Gymnasium, Group Therapy | FFE | FQDW-028 | WORKSTATION: straight, adj height, 1200W x 750D x 750H nom. | 2 | for arm ergometer
GYAH-GP | Gymnasium, Group Therapy | FFE | FIJO-212 | BULKHEAD: joinery | 1 | plasterboard bulkhead also acceptable
GYAH-GP | Gymnasium, Group Therapy | FFE | FIJO-225 | CUPBOARD: tall, pigeon hole shelf unit, gymnasium | 1
GYAH-GP | Gymnasium, Group Therapy | FFE | FIJO-227 | CUPBOARD: tall, double door, gym equipment storage | 1
GYAH-GP | Gymnasium, Group Therapy | FFE | FIRT-047 | TRACK: curtain, privacy, U shaped | 1
GYAH-GP | Gymnasium, Group Therapy | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1 | to telephone
GYAH-GP | Gymnasium, Group Therapy | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1 | to plinth
GYAH-GP | Gymnasium, Group Therapy | SE | ITCL-008 | BUTTON: nurse call, staff assist | 2 | 1 x to plinth, 1 x at entry door
GYAH-GP | Gymnasium, Group Therapy | SE | ELBO-015 | SWITCH: light, single | 1
GYAH-GP | Gymnasium, Group Therapy | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 1 | optional, to plinth
GYAH-GP | Gymnasium, Group Therapy | SE | ITCL-004 | BUTTON: nurse call, emergency | 2 | 1 x to plinth, 1 x at entry door
GYAH-GP | Gymnasium, Group Therapy | SE | ELGP-109 | GPO: single, wall mounted | 1 | to plinth
GYAH-GP | Gymnasium, Group Therapy | SE | ELGP-208 | GPO: double, wall mounted | 9 | quantity to suit equipment requirements
GYAH-GP | Gymnasium, Group Therapy | SE | ELGP-208 | GPO: double, wall mounted | 3 | to plinth
GYAH-GP | Gymnasium, Group Therapy | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1