## Room Data
Standard Components - Room Data Sheet
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
GYAH-ID | Gymnasium, Individual Treatment | 76 | 7am to 6pm daily | up to 8 patients, 3 staff |  | Acoustic privacy is required | The Gymnasium - Individual Treatment provides space and facilities for one on one patient evaluation, therapy and ambulation training. A number of curtained bays with plinths are typically provided along with an open area accommodating a range of equipment such as stairs, parallel bars and exercise bikes. An external outlook and ready access to outdoor areas is desirable. The range of specialised exercise equipment, open exercise areas and number of clients / patients to be accommodated within a gymnasium will vary from unit to unit and will require confirmation to inform overall space requirements. Additional Design Requirements: RCD protection is required to body protected areas in accordance with AS/NZS3003. Quantity and location dependent on selected equipment and circuiting arrangements.

## Items
Standard Components - Items in room
Date of issue: 26.04.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
GYAH-ID | Gymnasium, Individual Treatment | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1
GYAH-ID | Gymnasium, Individual Treatment | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 3
GYAH-ID | Gymnasium, Individual Treatment | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 2
GYAH-ID | Gymnasium, Individual Treatment | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 2
GYAH-ID | Gymnasium, Individual Treatment | FA | WLWA-020 | WALL FINISH: vinyl, to 1500 AFFL | 1
GYAH-ID | Gymnasium, Individual Treatment | FA | CLTI-008 | CEILING: plasterboard, drop-in tiles, prefinished, 600 x 1200 | 1
GYAH-ID | Gymnasium, Individual Treatment | FA | DWSC-027 | DOOR: 1600mm c/o, 1 1/2 leaf, solid core, paint | 1 | optional, to equipment store
GYAH-ID | Gymnasium, Individual Treatment | FA | DWGL-041 | DOOR: 1500mm c/o, 1 1/2 leaf, half glazed, solid core/glass, paint | 1
GYAH-ID | Gymnasium, Individual Treatment | FA | CLCN-009 | CORNICE: wall trim fixing | 1
GYAH-ID | Gymnasium, Individual Treatment | FA | FLVY-010 | FLOOR FINISH: vinyl, seamless, inset floor markings | 1
GYAH-ID | Gymnasium, Individual Treatment | FFE | FIBM-010 | MIRROR: fixed, safety glass, full length | 1
GYAH-ID | Gymnasium, Individual Treatment | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 4
GYAH-ID | Gymnasium, Individual Treatment | FFE | FQGE-005 | CLOCK: analogue, battery operated | 1
GYAH-ID | Gymnasium, Individual Treatment | FFE | FIRT-032 | TRACK: curtain, privacy, L shaped | 3
GYAH-ID | Gymnasium, Individual Treatment | FFE | FQGE-010 | CURTAIN: privacy screen | 3 | to plinths
GYAH-ID | Gymnasium, Individual Treatment | FFE | FQSN-007 | BIN: storage bins, wire mesh, stainless steel | 3 | to plinths
GYAH-ID | Gymnasium, Individual Treatment | FFE | FIHR-029 | HOOK: equipment | 6 | to plinths
GYAH-ID | Gymnasium, Individual Treatment | FFE | MMAH-002 | BICYCLE: exercise | 1
GYAH-ID | Gymnasium, Individual Treatment | FFE | FIHR-033 | PANEL: for storage bins, wall mount | 3 | to plinths
GYAH-ID | Gymnasium, Individual Treatment | FFE | FIRT-017 | STEEL MESH: framed, ceiling mount | 3 | optional, to plinths
GYAH-ID | Gymnasium, Individual Treatment | FFE | MMAH-001 | BARS: parallel | 1 | bariatric capacity to be determine based on service requirements
GYAH-ID | Gymnasium, Individual Treatment | FFE | MMAH-033 | PLINTH: double width | 1
GYAH-ID | Gymnasium, Individual Treatment | FFE | MMAH-035 | PLINTH: single width | 2
GYAH-ID | Gymnasium, Individual Treatment | FFE | FIHR-061 | RACK: weights | 1
GYAH-ID | Gymnasium, Individual Treatment | FFE | ITNE-008 | COMPUTER: for workstation on wheels | 3
GYAH-ID | Gymnasium, Individual Treatment | FFE | ITNE-053 | TELEPHONE: handset, wall mount, handsfree | 1
GYAH-ID | Gymnasium, Individual Treatment | FFE | MMAH-027 | TREADMILL: automatic | 1
GYAH-ID | Gymnasium, Individual Treatment | FFE | MMGE-164 | WORKSTATION ON WHEELS: clinical, mobile | 3
GYAH-ID | Gymnasium, Individual Treatment | FFE | FIJO-212 | BULKHEAD: joinery | 1 | plasterboard bulkhead also acceptable
GYAH-ID | Gymnasium, Individual Treatment | FFE | FIJO-227 | CUPBOARD: tall, double door, gym equipment storage | 1
GYAH-ID | Gymnasium, Individual Treatment | FFE | MMAH-044 | STAIRS: exercise, 90 degree | 1
GYAH-ID | Gymnasium, Individual Treatment | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1 | to telephone
GYAH-ID | Gymnasium, Individual Treatment | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 3 | to plinths
GYAH-ID | Gymnasium, Individual Treatment | SE | ITCL-008 | BUTTON: nurse call, staff assist | 4 | 3 x to plinth, 1 x at entry door
GYAH-ID | Gymnasium, Individual Treatment | SE | ELBO-015 | SWITCH: light, single | 1
GYAH-ID | Gymnasium, Individual Treatment | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 3 | optional, to plinths
GYAH-ID | Gymnasium, Individual Treatment | SE | ITCL-004 | BUTTON: nurse call, emergency | 4 | 3 x to plinth, 1 x at entry door
GYAH-ID | Gymnasium, Individual Treatment | SE | ELGP-109 | GPO: single, wall mounted | 3 | to plinths
GYAH-ID | Gymnasium, Individual Treatment | SE | ELGP-208 | GPO: double, wall mounted | 3 | quantity to suit equipment requirements
GYAH-ID | Gymnasium, Individual Treatment | SE | ELGP-208 | GPO: double, wall mounted | 9 | to plinths
GYAH-ID | Gymnasium, Individual Treatment | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1