## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Briefing
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics | Description / Special Requirements
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
INTF | Interview Room | 12 |  | Up to 6 persons | 24 Hours | Sound attenuation level high, Acoustic privacy is required. | A larger Interview Room to undertake confidential discussion and/ or counselling between staff, patients and or family members where required. The Interview Room may also be used as a multipurpose room for small staff groups or discussions. An external outlook is desirable. The Interview Room - Family may also be used for mental health patients. If used for this purpose an observation window (toughened glass with integral venetians) should be installed. Assumes staff will bring their own laptop / tablet (BYOD). Acoustics: Sound attenuation level - high; Acoustic privacy required. Additional Design Considerations: - A second egress door may be required for staff safety and security

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
INTF | Interview Room | FE | FE-54510 | Telephone - handset, standard | 1 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
INTF | Interview Room | FF | FF-17385 | Pinboard/ whiteboard combination | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | FF | FF-22660 | Table - round | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | FF | FF-22780 | Table - small | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | FF | FF-2655 | Chair - visitor | 6 |  |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | FF | FF-350 | Artwork | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | FF | FF-5828 | External window dressing | 0 | If external window provided |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | SE | S-9001 | GPO: Double | 3 |  |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | SE | S-1006 | Voice / Data outlet: double | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | SE | S-6110 | Downlights: dimmable | 1 | indirect lighting |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | SE | S-10005 | Duress alarm | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | Fabrics | 1130 | Floor finish | 1 |  | Carpet | 90/10 Wool/ Nylon | Carpet tiles | No | No | No | No | No | No | No | No | No
INTF | Interview Room | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
INTF | Interview Room | Fabrics | 9004 | Door - 1100mm | 1 |  | Solid Core/ Glass | Paint | Single leaf, observation panel | No | No | No | No | No | No | No | No | No
INTF | Interview Room | Fabrics | 7001 | Windows | 0 | Desirable (external outlook) |  |  |  | No | No | No | No | No | No | No | No | No
INTF | Interview Room | Fabrics | 2529 | Door protection | 2 |  | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
INTF | Interview Room | Fabrics | 2712 | Door protection | 1 |  |  |  | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
INTF | Interview Room | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
INTF | Interview Room | Fabrics | 2010 | Skirting | 4 | or floor vinyl coved skirting | Vinyl | Prefinished | Feather edged, 150 mmH | No | No | No | No | No | No | No | No | No