## Room Template Data
Room Data Sheet - File for Import
2026-10-29
No. of Standard Components = 1
Code | Template Name | Standard Component Set | Standard Area | Modeled Ceiling Height | Previous Code | RDS Rev: Name | RDS Rev Date: Name | Panorama - URL for Project Use | Briefing - Hours of Operation | Briefing - Occupancy | Briefing - Description | Briefing - Additional Considerations | Performance Requirements - Electrical - PROTECTION: body protected | Performance Requirements - Electrical - PROTECTION: cardiac protected | Performance Requirements - Lighting - LIGHTING: general | Performance Requirements - Lighting - LIGHTING: colour corrected | Performance Requirements - Lighting - LIGHTING: dimmable | Performance Requirements - Lighting - LIGHTING: indirect | Performance Requirements - Nurse Call and Duress - NURSE CALL SYSTEM: buttons / handset | Performance Requirements - Nurse Call and Duress - NURSE CALL SYSTEM: annunciator | Performance Requirements - Nurse Call and Duress - DURESS: fixed | Performance Requirements - Nurse Call and Duress - DURESS: wireless coverage | Performance Requirements - Security - ACCESS CONTROL: to door | Performance Requirements - Security - ACCESS CONTROL: to item / joinery | Performance Requirements - Security - INTERCOM: service communications | Performance Requirements - Security - INTERCOM: security and access control | Performance Requirements - Security - CCTV: camera coverage within room | Performance Requirements - Security - INTRUSION DETECTION: door monitoring | Performance Requirements - Security - INTRUSION DETECTION: spatial monitoring | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: patient entertainment system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: visitor experience system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: virtual collaboration system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: clinical support system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: digital operating room system | Performance Requirements - Accessibility - AUDIO: hearing augmentation | Performance Requirements - Accessibility - VISUAL: luminance contrast | Performance Requirements - Accessibility - SIGNAGE: accessible, statutory | Performance Requirements - HVAC - AIRCONDITIONING: general | Performance Requirements - HVAC - AIRCONDITIONING: HEPA filtered | Performance Requirements - HVAC - AIRCONDITIONING: positive pressure | Performance Requirements - HVAC - AIRCONDITIONING: negative pressure | Performance Requirements - HVAC - VENTILATION: exhaust | Performance Requirements - HVAC - VENTILATION: supply | Performance Requirements - HVAC - VENTILATION: natural | Performance Requirements - Medical Gas - MEDICAL GAS: general anaesthesia | Performance Requirements - Medical Gas - MEDICAL GAS: special care | Performance Requirements - Medical Gas - MEDICAL GAS: special care, neonatal ventilation | Performance Requirements - Medical Gas - MEDICAL GAS: birthing | Performance Requirements - Hydraulic - WATER: drinking | Performance Requirements - Hydraulic - WATER: specialty | Performance Requirements - Hydraulic - DRAINAGE: sanitary | Performance Requirements - Hydraulic - DRAINAGE: specialty | Performance Requirements - Fire - DETECTION: smoke | Performance Requirements - Fire - DETECTION: heat | Performance Requirements - Shielding - SHIELDING: ionising radiation | Performance Requirements - Shielding - SHIELDING: magnetic and radio frequency | Performance Requirements - Acoustics - SPEECH PRIVACY: not private | Performance Requirements - Acoustics - SPEECH PRIVACY: moderate | Performance Requirements - Acoustics - SPEECH PRIVACY: private | Performance Requirements - Acoustics - SPEECH PRIVACY: confidential | Performance Requirements - Acoustics - NOISE SENSITIVITY: not sensitive | Performance Requirements - Acoustics - NOISE SENSITIVITY: low | Performance Requirements - Acoustics - NOISE SENSITIVITY: medium | Performance Requirements - Acoustics - NOISE SENSITIVITY: high | Performance Requirements - Acoustics - NOISE GENERATION: low | Performance Requirements - Acoustics - NOISE GENERATION: moderate | Performance Requirements - Acoustics - NOISE GENERATION: high | Performance Requirements - Acoustics - NOISE GENERATION: very high
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | 12 | 2700 | DEN-MLB; DENW | 5 | 29.10.2026 |  | Business hours | 1-2 staff | The Laboratory - Dental, Minor provides the space and facilities for dental clinicians and technicians to undertake minor adjustments to dentures and other dental prostheses, store prosthetic supplies, and hold patient devices, prostheses and impressions for dispatch to or receipt from central manufacturing services. | Planning Context ~ The service model and operational requirements should inform the extent of dental laboratory activities undertaken within the room, including the provision of off-site central manufacturing services and requirements for on-site manufacturing, mould preparation, dispatch and receiving, adjustments and repairs. Furniture, Fixtures and Equipment (FF&E) Selection ~ Dust-generating activities and equipment should be identified during planning. Provide dust extraction at the source, noting that extraction may be integral to some equipment. ~ Where a Bunsen burner is required, provide a suitable gas supply. Review the location and clearance of overhead joinery in relation to the burner and associated equipment. Information and Communication Technology (ICT) ~ Consider the provision of a workstation with computer and barcode scanner where digital tracking and record management are required within the room. Security ~ Where there is potential for unauthorised access to staff-only areas, consider access control and staff safety requirements, including swipe card access and/or a fixed duress button. Waste Management ~ Size, type and quantity of waste bins provided within the room, including sharps bins, will be dependent on services requirements, operational models for waste management (including separation of waste streams and frequency of waste removal) and local infection prevention and control (IPC) policies. | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE

## Items In Room Template
Room Data Sheet - File for Import
2026-10-29
Code | Template Name | Standard Component Set | Item List: Name | Item Number | Name | Quantity | Priority | Category: Name | Comment
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | D+W | AFDPR-006.01 | DOOR PROTECTION: plate, to 900H | 1 | 1 | Internal - Door 1 | to room side
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | D+W | AFDPR-006.01 | DOOR PROTECTION: plate, to 900H | 1 | 1 | Internal - Door 1 | to corridor side, extent dependent on movement of beds and mobile equipment in adjacent area
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | D+W | AFDPR-056.01 | DOOR FRAME PROTECTION: full wrap, to 900H | 1 | 3 | Internal - Door 1 | optional, provision and extent dependent on frame material/finish and movement of beds and mobile equipment in adjacent area
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FIN | CLCN-041 | CORNICE: wall trim fixing, prefinished | 1 | 1 | Ceiling Cornice
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FIN | CLTI-021.02 | CEILING: drop-in tiles, prefinished, 600 x 1200 | 1 | 1 | Ceiling Finish 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | D+W | DOHI-013.01 | DOOR: hinged, 1 leaf, 900 clear opening, solid, standard vision panel | 1 | 1 | Internal - Door 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | ELGP-101.01 | GPO: single, wall mounted, horizontal | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | ELGP-201.01 | GPO: double, wall mounted, horizontal | 7 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | ELSW-001 | SWITCH: light | 3 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | FIDI-106 | DISPENSER: PPE, disposable gloves, wall mounted | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | FIDI-231 | DISPENSER: paper towel, wall mounted | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | FIDI-256 | DISPENSER: soap, wall mounted | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FIN | FLSK-021 | SKIRTING: vinyl, integral with floor vinyl, coved | 1 | 1 | Floor Skirting
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FIN | FLVY-112 | FLOOR FINISH: vinyl, seamless, non-slip, safety | 1 | 1 | Floor Finish 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | FQBS-203 | STOOL: clinical areas, mobile, high | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | FQWS-051 | BIN: general waste, 20L | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | HYBA-121 | BASIN: type B, handwashing | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | HYBA-301 | SINK: single bowl | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | HYDR-021 | DRAIN: floor waste, round | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | HYDR-151 | TRAP: plaster | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | HYTP-067 | TAPWARE: basin, tap set, wall mounted, lever handles | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | HYTP-182 | TAPWARE: sink, tap set, wall mounted, lever handles | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | HYTP-431 | OUTLET: water, cold | 2 | 1 |  | 1 to sink, 1 to basin
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | HYTP-432 | OUTLET: water, hot | 1 | 1 |  | to sink
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | HYTP-433 | OUTLET: water, warm | 1 | 1 |  | to basin
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | ITNE-076 | TELEPHONE: handset, wall mounted | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | ITNE-101 | COMPUTER: single display screen, central processing unit (CPU), keyboard and mouse, desktop | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | ITNE-221 | INPUT DEVICE: bar code scanner | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | JOBE-033 | BENCH: 600D, stainless steel lipped | 3 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | JOBE-231 | BENCH SUPPORT: legs and frame, stainless steel | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | JOBE-232 | BENCH SUPPORT: legs and frame, stainless steel, with low shelf | 2 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | JOCU-001 | CUPBOARD: tall, single door | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | JOCU-221 | CUPBOARD: under bench, double door | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | JOGE-001 | BULKHEAD: joinery | 3 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | JOSH-101 | SHELF UNIT: wall mounted, adjustable shelves | 5 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | LIFX-108 | LIGHT: task, integral to joinery | 4 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | SER | MGAS-153 | OUTLET: compressed air, wall mounted | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | MMDN-161 | DEVICE: dental, micromotor, benchtop | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | MMDN-162 | DEVICE: dental, model trimmer, benchtop | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | MMDN-163 | DEVICE: dental, lathe, benchtop | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | MMDN-164 | DEVICE: dental, moulder, forming machine, benchtop | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | MMDN-165 | DEVICE: dental, mixing vibrator | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FFE | MMDN-171 | DEVICE: dental, dust extraction unit | 1 | 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FIN | WLFI-002 | WALL FINISH: paint, clinical areas | 1 | 1 | Wall Finish 1
LAB-DEN-MIN | Laboratory - Dental, Minor | Oral Health | FIN | WLFI-101 | SPLASHBACK: vinyl | 1 | 1 | Wall Finish 2 | to basin