## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Single line edit) | (Single line edit) | (Single line edit) | (Single line edit)
LNPA-12 | Lounge - Parent, 12m2 | 12 |  | Up to 6 visitors | 24 Hours | Sound attenuation level medium, Acoustic privacy is required. | The Parent Lounge provides a change of environment away from clinical areas for parents or visitors to patients in the Paediatric/ Adolescent Unit, NNIC and SCN. An external outlook is desirable. Door width should allow access for twin prams. Acoustics: Sound attenuation level - Medium; Acoustic privacy required.

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No)
LNPA-12 | Lounge - Parent, 12m2 | Fabrics | 1149 | Floor finish | 1 | Default = carpet: Vinyl also acceptable | Carpet | 90/10 Wool/ Nylon | Broadloom, 48 oz. | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | Fabrics | 2010 | Skirting | 1 | Default = feather edged: or floor vinyl coved skirting | Vinyl | Prefinished | Feather edged, 150 mmH | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | Fabrics | 7001 | Windows | 1 | desirable |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | Fabrics | 7030 | Observation | 1 | optional | Alum/ Glass | Powdercoat | Internal window, door height | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | Fabrics | 8010 | Door protection | 1 | Equal to Acrovyn | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | Fabrics | 8040 | Door protection | 1 | Equal to Acrovyn | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | Fabrics | 9115 | Door - 1400mm | 1 | 910 /1400mm clear opening, small door leaf optional | Solid Core/ Glass | Paint | 1 1/2 leaf, half glazed | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | FE | FE-54510 | Telephone - handset, standard | 1 | on table, optional |  |  |  | No | Yes | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | FE | FE-7719 | Monitor - LCD | 1 |  |  |  |  | Yes | Yes | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | FF | FF-1250 | Blind - Venetian | 1 | to internal windows, optional |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | FF | FF-2000 | Chair - lounge | 4 |  |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | FF | FF-22800 | Table - low | 3 |  |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | FF | FF-2655 | Chair - visitor | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | FF | FF-350 | Artwork | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | FF | FF-4900 | Curtain track - window | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | FF | FF-5410 | Curtain - window, drapes | 2 | or blinds |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | FF | FF-7513 | Bracket LCD monitor | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | SE | S-1006 | Voice / Data outlet: double | 1 | 1 outlet for telephone |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | SE | S-1090 | TV: MATV | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | SE | S-6046 | Indirect lighting | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | SE | S-9000 | GPO: Single | 4 |  |  |  |  | No | No | No | No | No | No | No | No | No
LNPA-12 | Lounge - Parent, 12m2 | SE | S-9060 | GPO: Special: for equipment | 1 | TV, optional |  |  |  | No | No | No | No | No | No | No | No | No