## Room Data
Standard Components - Room Data Sheet
Date of issue: 24.06.2022
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
MEET-30 | Meeting Room, 30m2 | 30 | Available 24 Hours | Up to 18 seated |  | Sound attenuation level high, Acoustic privacy is required. | A multipurpose room for staff meetings, education and training activities. Requirement for Hearing Augmentation to be confirmed. Additional Considerations: Video conferencing systems and AV equipment will be dependent on service requirements and local ICT policies. The display system, sound system, microphone, room and video conferencing control and supporting AV equipment must be carefully considered to provide a cohesive solution for users. Where a camera is provided for video conferencing the furniture layout should be considered to allow for visibility of users within the field of view. To support video conferencing, decor should be light/neutral and free from busy patterns within the camera view for optimal image quality. Room booking panels may be provided to suit service/facility approach to room scheduling. Occupancy will vary, with the total number of people that may be accommodated in the space dependent on furniture layout. Furniture and layout will vary to suit service requirements. Furniture considerations include provision of stackable chairs and folding tables to support reconfiguration of the layout for flexible use of the space. Floor boxes for services may be provided to support flexible use of the space. Location to be confirmed to suit service requirements. Acoustics to be carefully considered to ensure appropriate sound levels, particularly with video conferencing equipment provided, and to reduce noise transfer to/from adjacent areas for privacy and to reduce disruption. Background noise (e.g. from air conditioning) should be minimised. Hard surfaces may be covered to reduce reverberation as required. Where a meeting room is intended to be used with patients and/or family, additional features for staff safety (e.g. duress buttons, additional egress doors, etc.) may be considered to suit service requirements. An operational model for responding to calls from staff/patients will be needed to support the inclusion of a nurse call system and is to be determined based on service requirements. When used with patients and/or family in mental health settings, an alternative egress door should be provided. Where possible, equipment should be recessed into walls and finishes, fittings, fixtures and furniture should be suitable for mental health patients. All glazing (including external windows) is to be Grade A safety glass to comply with AS/NZS 2208 and AS 1288. Ready access to a telephone in an adjacent space may be required to answer pagers. An external outlook is desirable.

## Items
Standard Components - Items in room
Date of issue: 24.06.2022
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
MEET-30 | Meeting Room, 30m2 | FA | FLCP-006 | FLOOR FINISH: carpet, carpet tiles, 90/10 wool/nylon | 1
MEET-30 | Meeting Room, 30m2 | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 5
MEET-30 | Meeting Room, 30m2 | FA | DWPR-001 | DOOR PROTECTION: kickplate, to 300 AFFL | 1
MEET-30 | Meeting Room, 30m2 | FA | WLWA-001 | WALL FINISH: acoustic panels, prefinished | 12 | optional; to suit acoustic requirements
MEET-30 | Meeting Room, 30m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 4
MEET-30 | Meeting Room, 30m2 | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
MEET-30 | Meeting Room, 30m2 | FA | DWWH-005 | WINDOW | 1 | desirable
MEET-30 | Meeting Room, 30m2 | FA | DWGL-005 | DOOR: 910mm c/o, single leaf, observation panel, solid core/glass, paint | 1 | optional lockable
MEET-30 | Meeting Room, 30m2 | FA | CLCN-009 | CORNICE: wall trim fixing | 1
MEET-30 | Meeting Room, 30m2 | FFE | DWWD-004 | BLIND: roller | 1
MEET-30 | Meeting Room, 30m2 | FFE | FQGE-005 | CLOCK: analogue, battery operated | 1
MEET-30 | Meeting Room, 30m2 | FFE | FQCW-016 | BIN: waste, general, 20L | 1
MEET-30 | Meeting Room, 30m2 | FFE | FIHR-006 | BRACKET: for display screen, wall mounted | 1
MEET-30 | Meeting Room, 30m2 | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1
MEET-30 | Meeting Room, 30m2 | FFE | ITNE-004 | CAMERA: video conferencing | 1 | multidirectional
MEET-30 | Meeting Room, 30m2 | FFE | ITAV-057 | SPEAKER: ceiling recessed | 4 | to replace or support audio from soundbar as required
MEET-30 | Meeting Room, 30m2 | FFE | FIJO-011 | BENCH: 450D, open under, laminate finish | 1
MEET-30 | Meeting Room, 30m2 | FFE | ITAV-006 | CONTROL PANEL: AV system, wall mount | 1 | may be wall mounted or on table top
MEET-30 | Meeting Room, 30m2 | FFE | ITAV-051 | DISPLAY SCREEN: audio visual | 1
MEET-30 | Meeting Room, 30m2 | FFE | FIJO-099 | CAC: cable access cap | 1
MEET-30 | Meeting Room, 30m2 | FFE | FIHR-065 | BRACKET: for bench, 450D, wall mounted | 2
MEET-30 | Meeting Room, 30m2 | FFE | FQBS-059 | CHAIR: meeting rom, stackable | 18
MEET-30 | Meeting Room, 30m2 | FFE | ITAV-062 | CONTROL PANEL: room booking system | 1 | optional
MEET-30 | Meeting Room, 30m2 | FFE | ITAV-063 | COMPUTER: AV system | 1
MEET-30 | Meeting Room, 30m2 | FFE | ITAV-071 | MICROPHONE: AV system, ceiling mounted, array | 1 | may be recessed in ceiling
MEET-30 | Meeting Room, 30m2 | FFE | FQTA-086 | TABLE: meeting room, folding | 3 | with services boxes to connect to floor boxes
MEET-30 | Meeting Room, 30m2 | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 2 | 1 is optional for booking system if provided
MEET-30 | Meeting Room, 30m2 | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1
MEET-30 | Meeting Room, 30m2 | SE | ITIN-036 | OUTLET: data, triple RJ45, wall mounted | 2
MEET-30 | Meeting Room, 30m2 | SE | ITIN-021 | OUTLET: data, double RJ45, ceiling mounted | 1 | to microphone array
MEET-30 | Meeting Room, 30m2 | SE | ITIN-022 | OUTLET: data, double RJ45, in floorbox | 2
MEET-30 | Meeting Room, 30m2 | SE | ITIN-143 | FLOORBOX: for power, data, AV, flush mounted | 2
MEET-30 | Meeting Room, 30m2 | SE | ELBO-015 | SWITCH: light, single | 1
MEET-30 | Meeting Room, 30m2 | SE | ELGP-208 | GPO: double, wall mounted | 4
MEET-30 | Meeting Room, 30m2 | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1
MEET-30 | Meeting Room, 30m2 | SE | ELGP-203 | GPO: double, in floorbox | 2
MEET-30 | Meeting Room, 30m2 | SE | ITIN-145 | DESK BOX: for power, data, AV, flush mounted, softwired | 2 | to tables to connect to floor boxes