## Room Data
Standard Components - Room Data Sheet
Date of issue: 24.06.2022
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
MEET-55 | Meeting Room, 55m2 | 55 | Available up to 24 Hours | Up to 45 seated |  | Sound attenuation level high, Acoustic privacy is required. | A large multipurpose room for staff meetings, education and training activities. Requirement for Hearing Augmentation to be confirmed. Additional Considerations: An operable wall may be provided to open this room to an adjoining meeting room, increasing capacity for lectures, training activities or events. Connections and coordination between AV and video conferencing equipment in adjoining rooms will need to be considered to support both separate and combined activities. Video conferencing systems and AV equipment will be dependent on service requirements and local ICT policies. The lectern design, display system, sound system, microphone, room and video conferencing control and supporting AV equipment must be carefully considered to provide a cohesive solution for users. To support video conferencing, decor should be light/neutral and free from busy patterns within the camera view for optimal image quality. Room booking panels may be provided to suit service/facility approach to room scheduling. Occupancy will vary, with the total number of people that may be accommodated in the space dependent on furniture layout. Furniture and layout will vary to suit service requirements. Furniture considerations include provision of chairs with integral note tables, stackable chairs and folding tables to support reconfiguration of the layout for flexible use of the space. A storage zone or enclosed storeroom may be provided to hold additional furniture to support alternate layouts. If multiple rooms are provided, furniture storage areas may be shared. Floor boxes for services may be provided to support flexible use of the space. Location to be confirmed to suit service requirements. Acoustics to be carefully considered to ensure appropriate sound levels, particularly with video conferencing equipment provided, and to reduce noise transfer to/from adjacent areas for privacy and to reduce disruption. Background noise (e.g. from air conditioning) should be minimised. Hard surfaces may be covered to reduce reverberation as required. Where a meeting room is intended to be used with patients and/or family, additional features for staff safety (e.g. duress buttons, additional egress doors, etc.) may be considered to suit service requirements. An operational model for responding to calls from staff/patients will be needed to support the inclusion of a nurse call system and is to be determined based on service requirements. When used with patients and/or family in mental health settings, an alternative egress door should be provided. Where possible, equipment should be recessed into walls and finishes, fittings, fixtures and furniture should be suitable for mental health patients. All glazing (including external windows) is to be Grade A safety glass to comply with AS/NZS 2208 and AS 1288. Ready access to a telephone in an adjacent space may be required to answer pagers.

## Items
Standard Components - Items in room
Date of issue: 24.06.2022
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
MEET-55 | Meeting Room, 55m2 | FA | FLCP-006 | FLOOR FINISH: carpet, carpet tiles, 90/10 wool/nylon | 1
MEET-55 | Meeting Room, 55m2 | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 5
MEET-55 | Meeting Room, 55m2 | FA | DWPR-001 | DOOR PROTECTION: kickplate, to 300 AFFL | 2
MEET-55 | Meeting Room, 55m2 | FA | WLWA-001 | WALL FINISH: acoustic panels, prefinished | 12 | optional; to suit acoustic requirements
MEET-55 | Meeting Room, 55m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 4
MEET-55 | Meeting Room, 55m2 | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
MEET-55 | Meeting Room, 55m2 | FA | DWGL-052 | DOOR: 1600mm c/o, double leaf, observation panel, solid core/glass, paint | 1 | optional lockable
MEET-55 | Meeting Room, 55m2 | FA | CLCN-009 | CORNICE: wall trim fixing | 1
MEET-55 | Meeting Room, 55m2 | FFE | FQGE-005 | CLOCK: analogue, battery operated | 1
MEET-55 | Meeting Room, 55m2 | FFE | FQCW-016 | BIN: waste, general, 20L | 1
MEET-55 | Meeting Room, 55m2 | FFE | FIHR-006 | BRACKET: for display screen, wall mounted | 1
MEET-55 | Meeting Room, 55m2 | FFE | FQDW-006 | LECTERN: mobile | 1
MEET-55 | Meeting Room, 55m2 | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1
MEET-55 | Meeting Room, 55m2 | FFE | ITNE-004 | CAMERA: video conferencing | 1
MEET-55 | Meeting Room, 55m2 | FFE | ITAV-057 | SPEAKER: ceiling recessed | 6
MEET-55 | Meeting Room, 55m2 | FFE | ITAV-006 | CONTROL PANEL: AV system, wall mount | 1
MEET-55 | Meeting Room, 55m2 | FFE | ITAV-014 | MICROPHONE: surface mounted, gooseneck | 1
MEET-55 | Meeting Room, 55m2 | FFE | ITAV-051 | DISPLAY SCREEN: audio visual | 1
MEET-55 | Meeting Room, 55m2 | FFE | FQBS-059 | CHAIR: meeting rom, stackable | 42
MEET-55 | Meeting Room, 55m2 | FFE | ITAV-062 | CONTROL PANEL: room booking system | 1 | optional
MEET-55 | Meeting Room, 55m2 | FFE | ITAV-063 | COMPUTER: AV system | 1
MEET-55 | Meeting Room, 55m2 | FFE | ITAV-064 | CAMERA: AV system, ceiling mounted | 1 | optional, multidirectional, to rear of room for view of speaker
MEET-55 | Meeting Room, 55m2 | FFE | ITAV-071 | MICROPHONE: AV system, ceiling mounted, array | 2 | may be recessed in ceiling
MEET-55 | Meeting Room, 55m2 | FFE | FQTA-086 | TABLE: meeting room, folding | 4 | quantity and size/type to suit requirements
MEET-55 | Meeting Room, 55m2 | SE | ITIN-011 | OUTLET: data, single RJ45, ceiling mounted | 1 | optional, to speaker camera if provided
MEET-55 | Meeting Room, 55m2 | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 2 | 1 is optional for booking system if provided
MEET-55 | Meeting Room, 55m2 | SE | ITIN-036 | OUTLET: data, triple RJ45, wall mounted | 2
MEET-55 | Meeting Room, 55m2 | SE | ITIN-021 | OUTLET: data, double RJ45, ceiling mounted | 2 | to microphone array
MEET-55 | Meeting Room, 55m2 | SE | ITIN-022 | OUTLET: data, double RJ45, in floorbox | 3 | 1 to each floorbox if provided
MEET-55 | Meeting Room, 55m2 | SE | ITIN-143 | FLOORBOX: for power, data, AV, flush mounted | 3 | 1 to lectern, 2 optional to support flexible layout, location to be confirmed to suit service requirements
MEET-55 | Meeting Room, 55m2 | SE | ELBO-015 | SWITCH: light, single | 1
MEET-55 | Meeting Room, 55m2 | SE | ELGP-208 | GPO: double, wall mounted | 4
MEET-55 | Meeting Room, 55m2 | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1 | as required
MEET-55 | Meeting Room, 55m2 | SE | ELGP-203 | GPO: double, in floorbox | 6 | 2 to each floorbox if provided