## Room Data
Standard Components - Room Data Sheet
Date of issue: 18.01.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
MOR-VR | Mortuary - Viewing Room | 8 | up to 24 Hours | 4-5 visitors; 1 staff |  | Sound attenuation level high, Acoustic privacy is essential | The Mortuary - Viewing Room is provided for relatives and others to view a body with the support of a social worker. The Mortuary - Viewing Room will be located adjacent to the Mortuary - Waiting. A body may be viewed through a window from within the Mortuary - Waiting, with access provided between the two rooms provided to allow for viewing a body directly.

## Items
Standard Components - Items in room
Date of issue: 18.01.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
MOR-VR | Mortuary - Viewing Room | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1
MOR-VR | Mortuary - Viewing Room | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 6
MOR-VR | Mortuary - Viewing Room | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 2
MOR-VR | Mortuary - Viewing Room | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 4
MOR-VR | Mortuary - Viewing Room | FA | CLFS-006 | CEILING: plasterboard, flush set, suspended, paint, washable | 1
MOR-VR | Mortuary - Viewing Room | FA | DWOB-005 | OBSERVATION: internal window, alum/glass, powdercoat | 1
MOR-VR | Mortuary - Viewing Room | FA | DWPR-003 | DOOR PROTECTION: kickplate, to 300 AFFL, vinyl, prefinished | 1
MOR-VR | Mortuary - Viewing Room | FA | DWSC-003 | DOOR: 910mm c/o, single leaf, solid core, paint | 1
MOR-VR | Mortuary - Viewing Room | FA | DWGL-052 | DOOR: 1600mm c/o, double leaf, observation panel, solid core/glass, paint | 1
MOR-VR | Mortuary - Viewing Room | FA | CLCN-008 | CORNICE: square set flush between wall and ceiling, paint | 1
MOR-VR | Mortuary - Viewing Room | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
MOR-VR | Mortuary - Viewing Room | FFE | FIRT-031 | TRACK: curtain, privacy | 1
MOR-VR | Mortuary - Viewing Room | FFE | FQGE-010 | CURTAIN: privacy screen | 1 | heavy/domestic fabric is acceptable
MOR-VR | Mortuary - Viewing Room | FFE | MMGE-186 | TROLLEY: mortuary, transport | 1
MOR-VR | Mortuary - Viewing Room | SE | ELBO-015 | SWITCH: light, single | 1