## Room Data
Standard Components - Room Data Sheet
Date of issue: 28.05.2019
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
MRICR | MRI Control Room | 14 | Available 24 hours | Up to 3 staff |  |  | Room adjacent to the MRI Imaging Room with direct visibility to the patient for remote control of equipment, and review and reporting of procedure images. The MRI Control Room must be located with consideration of four safety exclusion zones leading toward the MRI Room. Additional Design Considerations: Magnetic and radiofrequency shielding as advised by Consultant. Cable ducts from the MRI Imaging and MRI Equipment room will be required. Additional space is required for an AW workstation if included in the Control Room which will require 2 GPOs.

## Items
Standard Components - Items in room
Date of issue: 28.05.2019
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
MRICR | MRI Control Room | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1
MRICR | MRI Control Room | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 4
MRICR | MRI Control Room | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 4
MRICR | MRI Control Room | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
MRICR | MRI Control Room | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1
MRICR | MRI Control Room | FFE | FQBS-018 | CHAIR: office, ergonomic | 3
MRICR | MRI Control Room | FFE | DWWD-004 | BLIND: roller | 1
MRICR | MRI Control Room | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
MRICR | MRI Control Room | FFE | FIHR-026 | HOOK: coat | 2 | optional
MRICR | MRI Control Room | FFE | FQSN-031 | CABINET: short, single door, tambour, adj shelves, lockable | 1
MRICR | MRI Control Room | FFE | FQCW-016 | BIN: waste, general, 20L | 1
MRICR | MRI Control Room | FFE | FQSN-050 | LOCKER: 4 tier (quarter size) | 2 | optional
MRICR | MRI Control Room | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1
MRICR | MRI Control Room | FFE | ITNE-063 | DISPLAY SCREEN: for computer | 2 | for RIS/PMS and patient observation
MRICR | MRI Control Room | FFE | MMGE-032 | DISPLAY SCREEN: slave, for patient monitor | 1 | wall mounted, on bracket, cardiac/ anaesthetic monitor
MRICR | MRI Control Room | FFE | ITNE-023 | PRINTER: networked | 1 | on benchtop
MRICR | MRI Control Room | FFE | ITAV-057 | SPEAKER: ceiling recessed | 1
MRICR | MRI Control Room | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1
MRICR | MRI Control Room | FFE | ITAV-014 | MICROPHONE: surface mounted, gooseneck | 1 | on bench
MRICR | MRI Control Room | FFE | FIJO-031 | BENCH: 750D, open under, laminate finish | 1 | high bench at 900-950 AFFL optional
MRICR | MRI Control Room | FFE | MMMI-171 | BOX: alarm, MRI | 1
MRICR | MRI Control Room | FFE | MMMI-193 | COMPUTER: tower, acquisition, MRI | 1
MRICR | MRI Control Room | FFE | MMMI-195 | WINDOW: radiofrequency, MRI | 1
MRICR | MRI Control Room | FFE | MMMI-197 | BUTTON: quench, MRI | 1
MRICR | MRI Control Room | FFE | MMMI-199 | PANEL: waveguide, MRI | 2
MRICR | MRI Control Room | FFE | MMMI-202 | CONSOLE: Control, MRI | 1
MRICR | MRI Control Room | FFE | FIJO-099 | CAC: cable access cap | 2
MRICR | MRI Control Room | FFE | FIHR-066 | BRACKET: for display screen, wall mounted, articulated, adj height | 1
MRICR | MRI Control Room | FFE | ITNE-067 | KEYBOARD: keyboard and mouse only | 2
MRICR | MRI Control Room | FFE | MMMI-369 | DISPLAY SCREEN: contrast injector | 1
MRICR | MRI Control Room | FFE | FIHR-070 | BRACKET: for display screen, dual, desk mounted | 2
MRICR | MRI Control Room | FFE | FIHR-075 | BRACKET: for computer CPU, underdesk mounted | 2
MRICR | MRI Control Room | FFE | ITNE-068 | COMPUTER: hi performance, for clinical / PACS use, CPU, underbench mount | 1
MRICR | MRI Control Room | FFE | ITNE-070 | DISPLAY SCREEN: PACS | 2
MRICR | MRI Control Room | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 3 | 1 outlet for patient slave monitor, one outlet for telephone
MRICR | MRI Control Room | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 4
MRICR | MRI Control Room | SE | ELBO-001 | BUTTON: emergency stop | 1
MRICR | MRI Control Room | SE | ELGP-135 | GPO: UPS, single, wall mounted | 4
MRICR | MRI Control Room | SE | MGFP-001 | ALARM PANEL: medical gases | 1
MRICR | MRI Control Room | SE | ITCL-004 | BUTTON: nurse call, emergency | 1
MRICR | MRI Control Room | SE | ELGP-208 | GPO: double, wall mounted | 2 | 1 for printer
MRICR | MRI Control Room | SE | ELGP-223 | GPO: emergency power, double, wall mounted | 5
MRICR | MRI Control Room | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1
MRICR | MRI Control Room | SE | ELGP-123 | GPO: emergency power, single, wall mounted | 1
MRICR | MRI Control Room | SE | ELBO-012 | SWITCH: light, dimmer | 1
MRICR | MRI Control Room | SE | MEGE-014 | ALARM: oxygen depletion | 1
MRICR | MRI Control Room | SE | HYGE-025 | CONTROL PANEL: process cooling water pump | 2
MRICR | MRI Control Room | SE | MEGE-017 | CONTROL PANEL: HVAC | 1