## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
NBGC | Neonatal Bay - General Care | 5 |  | 1 baby; 1-2 staff | 24 Hours | Sound attenuation level high, Acoustic privacy is required to perimeter walls. | A single bay for the care of well babies away from their mother's bed area which may include treatments such as phototherapy. A staff handwash basin should be provided for each four Neonatal Bays - General Care. An external outlook is required. Acoustics: Sound attenuation level - high; Acoustic privacy is required to perimeter walls Body Protected electrical area

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Items | [6 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
NBGC | Neonatal Bay - General Care | FF | FF-1465 | Bracket - suction bottle | 1 | shared between 4 bays |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | FF | FF-150 | Air flowmeter | 1 | shared between 4 bays |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | FF | FF-16250 | Oxygen flowmeter | 1 | optional, shared between 4 bays |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | FF | FF-22000 | Suction bottle | 1 | shared between 4 bays |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | FF | FF-480 | Bassinet | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-9000 | GPO: Single | 2 | shared between 2 bays |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-9015 | GPO: Cleaner | 1 | to serve a group of bays |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-9040 | Body protected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-6001 | General: colour corrected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-6005 | Dimmable | 1 | variable lighting level |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-8010 | Staff/ Nurse assist call | 1 | shared between 4 bays |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-8080 | Emergency call | 1 | shared between 4 bays |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-7000 | Oxygen (O2) | 1 | shared between 4 bays |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-7020 | Medical Air (MA) | 1 | shared between 4 bays |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-7040 | Suction | 1 | shared between 4 bays |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | SE | S-11000 | Wall panel | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | Fabrics | 1000 | Floor finish | 1 |  | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | Fabrics | 4020 | Wall protection | 1 | Equal to 'Acrovyn' | Composite | Prefinished PVC | Crash rail at 900 AFFL | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | Fabrics | 5010 | Ceiling - Plasterboard | 1 |  | Plasterboard | Paint, washable | Flush set, suspended | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | Fabrics | 7001 | Windows | 1 | Essential |  |  |  | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | Fabrics | 6010 | Cornice | 1 |  | Plasterboard | Paint | 90mm to match ceiling finish | No | No | No | No | No | No | No | No | No
NBGC | Neonatal Bay - General Care | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No