## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
NBSC | Neonatal Bay - Special Care | 10 |  | 1 baby; 1-2 staff; 1-2 parents | 24 Hours | Sound attenuation level high, Acoustic privacy is required to perimeter walls. | A single bay for neonates requiring Special Care nursing and medical treatment. The Bay will include provisions for charting and storage. A staff handwash basin (Type A) should be provided within close access of each Bay. An external outlook is required. Acoustics: Sound attenuation level - high; Acoustic privacy is required to perimeter walls Cardiac Protected electrical area

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Items | [6 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
NBSC | Neonatal Bay - Special Care | FE | FE-26000 | Humidicrib | 1 | or bassinette |  |  |  | Yes | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FE | FE-5857 | Light - procedures small, ceiling | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-1050 | Bench - laminate | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-1465 | Bracket - suction bottle | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-150 | Air flowmeter | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-16250 | Oxygen flowmeter | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-20000 | Shelving unit - adjustable | 3 | over bench |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-21950 | Suction adapter | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-22000 | Suction bottle | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-2655 | Chair - visitor | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-4410 | Cupboard - under bench | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-4430 | Cupboard - drawer unit | 2 | under bench |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-4600 | Curtain track - bed screen | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | FF | FF-5000 | Curtain - bed screen | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-9010 | GPO: Emergency power, single (V) | 8 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-9015 | GPO: Cleaner | 1 | to a group of bays |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-9030 | Cardiac protected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-9060 | GPO: Special: for equipment | 1 | exam light |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-1006 | Voice / Data outlet: double | 1 | 1 outlet for telephone |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-6001 | General: colour corrected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-6005 | Dimmable | 1 | variable lighting level |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-6055 | Special: task light, built in | 3 | under O/H shelving |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-8010 | Staff/ Nurse assist call | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-8080 | Emergency call | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-1951 | Staff assist call | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-7000 | Oxygen (O2) | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-7020 | Medical Air (MA) | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-7040 | Suction | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | SE | S-11000 | Wall panel | 1 | flush mounted |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | Fabrics | 1000 | Floor finish | 1 |  | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | Fabrics | 5010 | Ceiling - Plasterboard | 1 |  | Plasterboard | Paint, washable | Flush set, suspended | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | Fabrics | 7001 | Windows | 1 | External outlook to the area is required |  |  |  | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | Fabrics | 6010 | Cornice | 1 |  | Plasterboard | Paint | 90mm to match ceiling finish | No | No | No | No | No | No | No | No | No
NBSC | Neonatal Bay - Special Care | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No