## Room Template Data
Room Data Sheet - File for Import
2026-04-07
No. of Standard Components = 1
Code | Template Name | Standard Component Set | ICS Translation Status | Standard Area | Modeled Ceiling Height | Previous Code | RDS Rev: Name | RDS Rev Date: Name | Panorama - URL for Project Use | Briefing - Hours of Operation | Briefing - Occupancy | Briefing - Description | Briefing - Additional Considerations | Performance Requirements - Electrical - PROTECTION: body protected | Performance Requirements - Electrical - PROTECTION: cardiac protected | Performance Requirements - Lighting - LIGHTING: general | Performance Requirements - Lighting - LIGHTING: colour corrected | Performance Requirements - Lighting - LIGHTING: dimmable | Performance Requirements - Lighting - LIGHTING: indirect | Performance Requirements - Nurse Call and Duress - NURSE CALL SYSTEM: buttons / handset | Performance Requirements - Nurse Call and Duress - NURSE CALL SYSTEM: annunciator | Performance Requirements - Nurse Call and Duress - DURESS: fixed | Performance Requirements - Nurse Call and Duress - DURESS: wireless coverage | Performance Requirements - Security - ACCESS CONTROL: to door | Performance Requirements - Security - ACCESS CONTROL: to item / joinery | Performance Requirements - Security - INTERCOM: service communications | Performance Requirements - Security - INTERCOM: security and access control | Performance Requirements - Security - CCTV: camera coverage within room | Performance Requirements - Security - INTRUSION DETECTION: door monitoring | Performance Requirements - Security - INTRUSION DETECTION: spatial monitoring | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: patient entertainment system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: visitor experience system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: virtual collaboration system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: clinical support system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: digital operating room system | Performance Requirements - Accessibility - AUDIO: hearing augmentation | Performance Requirements - Accessibility - VISUAL: luminance contrast | Performance Requirements - Accessibility - SIGNAGE: accessible, statutory | Performance Requirements - HVAC - AIRCONDITIONING: general | Performance Requirements - HVAC - AIRCONDITIONING: HEPA filtered | Performance Requirements - HVAC - AIRCONDITIONING: positive pressure | Performance Requirements - HVAC - AIRCONDITIONING: negative pressure | Performance Requirements - HVAC - VENTILATION: exhaust | Performance Requirements - HVAC - VENTILATION: supply | Performance Requirements - HVAC - VENTILATION: natural | Performance Requirements - Medical Gas - MEDICAL GAS: general anaesthesia | Performance Requirements - Medical Gas - MEDICAL GAS: special care | Performance Requirements - Medical Gas - MEDICAL GAS: special care, neonatal ventilation | Performance Requirements - Medical Gas - MEDICAL GAS: birthing | Performance Requirements - Hydraulic - WATER: drinking | Performance Requirements - Hydraulic - WATER: specialty | Performance Requirements - Hydraulic - DRAINAGE: sanitary | Performance Requirements - Hydraulic - DRAINAGE: specialty | Performance Requirements - Fire - DETECTION: smoke | Performance Requirements - Fire - DETECTION: heat | Performance Requirements - Shielding - SHIELDING: ionising radiation | Performance Requirements - Shielding - SHIELDING: magnetic and radio frequency | Performance Requirements - Acoustics - SPEECH PRIVACY: not private | Performance Requirements - Acoustics - SPEECH PRIVACY: moderate | Performance Requirements - Acoustics - SPEECH PRIVACY: private | Performance Requirements - Acoustics - SPEECH PRIVACY: confidential | Performance Requirements - Acoustics - NOISE SENSITIVITY: not sensitive | Performance Requirements - Acoustics - NOISE SENSITIVITY: low | Performance Requirements - Acoustics - NOISE SENSITIVITY: medium | Performance Requirements - Acoustics - NOISE SENSITIVITY: high | Performance Requirements - Acoustics - NOISE GENERATION: low | Performance Requirements - Acoustics - NOISE GENERATION: moderate | Performance Requirements - Acoustics - NOISE GENERATION: high | Performance Requirements - Acoustics - NOISE GENERATION: very high
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | Translation and QA Only | 9 | 2700 | OFF-S9 | 6 | 07.04.2026 |  | 8am to 6pm, daily (dependent on unit operating hours) | 1 staff (with up to 2 additional staff / visitors intermittently) | The Office - 1 Person, 9m² provides the space and amenities to accommodate 1 staff member carrying out computer based and administrative tasks in privacy. Small meetings, ad hoc discussions or interviews with 1-2 additional persons may be conducted intermittently in this space. | ~ Consider the placement of power and data within the room to support flexible arrangement of the furniture to suit user requirements. ~ Inclusion of a fixed duress button is dependent on the location of the room and may not be required where the room is planned in an area that is only accessible by staff. Mobile duress coverage is to be assessed and planned at a department level to suit local security and WHS policies and operational service requirements. ~ Requirements for the size and ergonomic features of the workstation are to be confirmed at project level to suit local Work Health and Safety (WHS) and office accommodation policies. ~ Provision and extent of emergency/standby power is to be confirmed at project level to suit site and service requirements. ~ Access to natural light is desirable and, where overall department planning allows, an external window should be provided. | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE

## Items In Room Template
Room Data Sheet - File for Import
2026-04-07
Code | Template Name | Standard Component Set | Item List: Name | Item Number | Name | Quantity | Priority | Category: Name | Comment
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | D+W | AFDPR-001.01 | DOOR PROTECTION: kickplate, to 300H | 1 | 1 | Internal - Door 1 | [DWPR-001] to room side
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | D+W | AFDPR-006.01 | DOOR PROTECTION: plate, to 900H | 1 | 1 | Internal - Door 1 | [DWPR-005] to corridor side, extent dependent on movement of beds and mobile equipment in adjacent area; to be coordinated with corridor wall protection
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | D+W | AFWFI-021 | WINDOW FINISH: privacy film | 1 | 1 | Internal - Window 1
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | D+W | AHWCV-001 | WINDOW COVERING: blind, roller, single | 1 | 1 | External - Window 1 | [DWWD-004]
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FIN | CLCN-041 | CORNICE: wall trim fixing, prefinished | 1 | 1 | Ceiling Cornice | [CLCN-009]
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FIN | CLTI-022.02 | CEILING: drop-in tiles, acoustic, prefinished, 600 x 1200 | 1 | 1 | Ceiling Finish 1 | [CLTI-002]
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | D+W | DOHI-003.01 | DOOR: hinged, 1 leaf, 900 clear opening, solid | 1 | 1 | Internal - Door 1 | [DWSC-003] lockable
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | SER | ELGP-201 | GPO: double, wall mounted | 2 | 1 |  | [ELGP-208] to workstation
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | SER | ELGP-201 | GPO: double, wall mounted | 1 | 1 |  | [ELGP-208] over workstation, for charging portable devices
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | SER | ELSW-001 | SWITCH: light | 1 | 1 |  | [ELBO-015]
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1 | 3 |  | [FIBM-019] optional
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FFE | FIHR-026 | HOOK: coat, wall mounted | 2 | 3 |  | [FIHR-026] optional; where only one hook is provided ensure lower height is nominated for accessibility
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FIN | FLCP-006 | FLOOR FINISH: carpet tiles | 1 | 1 | Floor Finish 1 | [FLCP-006]
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FIN | FLSK-026 | SKIRTING: vinyl, feather edge | 5 | 1 | Floor Skirting | [FLSK-009] aluminum skirting is also acceptable
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FFE | FQBS-106 | CHAIR: visitor, office areas | 2 | 1 |  | [FQBS-029]
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FFE | FQBS-171 | CHAIR: office, ergonomic | 1 | 1 |  | [FQBS-018]
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FFE | FQDW-134.04 | WORKSTATION: straight, adjustable height, 720H nom, 750D x 1600W | 1 | 1 |  | [FQDW-054]
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FFE | FQSM-063 | PEDESTAL: mobile, 660H nominal, 3 equal drawers | 1 | 1 |  | [FQSM-007] lockable
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FFE | FQSN-285 | CABINET: floor standing, 1200H nominal, tambour unit | 1 | 1 |  | [FQSN-135] lockable, size to suit service requirements
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FFE | FQWS-051 | BIN: general waste, 20L | 1 | 1 |  | [FQCW-016]
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | SER | ITIN-036 | OUTLET: data, triple RJ45, wall mounted | 1 | 1 |  | [ITIN-036] to workstation
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FFE | ITNE-071 | TELEPHONE: handset, desktop | 1 | 1 |  | [ITNE-050]
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FFE | ITNE-101 | COMPUTER: single display screen, central processing unit (CPU), keyboard and mouse, desktop | 1 | 1 |  | [ITNE-007] two display screens may be provided depending on service requirements
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | SER | ITSE-061 | BUTTON: security, duress, fixed, wall mounted | 1 | 1 |  | [ITSE-006] inclusion dependent on location of room, may not be required if located in staff only area, provision to suit local WHS policies
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | D+W | WIFX-002.01 | WINDOW: fixed, internal, single glazed, sill at skirting level | 1 | 1 | Internal - Window 1 | [DWOB-002] sidelight to door, extent of glazing to suit requirements for privacy and borrowed light
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | D+W | WIFX-156.01 | WINDOW: fixed, external, double glazed, sill at 750H | 1 | 1 | External - Window 1 | [DWWH-005] access to natural light is desirable
OFF-1P-9 | Office - 1 Person, 9m2 | Administration | FIN | WLFI-001 | WALL FINISH: paint | 5 | 1 | Wall Finish 1 | [WLWA-004]