## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Single line edit) | (Single line edit) | (Single line edit) | (Single line edit)
OFF-4P | Office - 4 Person Shared | 20 |  | Up to 4 staff | 8am to 6pm, daily | Sound attenuation level medium, Acoustic privacy is required. | An Office space to be shared by four persons for carrying out administrative functions in a degree of privacy. The area will allow for group discussions at a small table, if required. Acoustics: Sound attenuation level - medium; Acoustic privacy required.

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No) | (Yes/No)
OFF-4P | Office - 4 Person Shared | Fabrics | 1149 | Floor finish | 1 |  | Carpet | 90/10 Wool/ Nylon | Broadloom, 48 oz. | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | Fabrics | 2010 | Skirting | 1 |  | Vinyl | Prefinished | Feather edged, 150 mmH | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | Fabrics | 7001 | Windows | 1 | Desirable |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | Fabrics | 8000 | Door protection | 1 | Equal to 'Acrovyn', | Vinyl | Prefinished | Kickplate, 300mm high | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | Fabrics | 9002 | Door - 910mm | 1 | 910mm clear opening, lock set, glazing optional | Solid Core/ Glass | Paint | Single leaf, half glazed | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FE | FE-11400 | Computer - PC & monitor | 4 |  |  |  |  | Yes | Yes | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FE | FE-41100 | Printer - networked | 1 | Shared use, optional |  |  |  | Yes | Yes | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FE | FE-54510 | Telephone - handset, standard | 4 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FF | FF-1250 | Blind - Venetian | 2 | to external windows as required |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FF | FF-17250 | Pedestal drawer unit - mobile, 660mmH | 4 | lockable, under workstations |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FF | FF-17255 | Pedestal filing unit - mobile, 660mmH | 4 | lockable, under workstations |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FF | FF-17255 | Pedestal filing unit - mobile, 660mmH | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FF | FF-17360 | Pinboard - fabric covered | 4 | over workstations |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FF | FF-20000 | Shelving unit - adjustable | 8 | for books, over workstations / desks |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FF | FF-2100 | Chair - ergonomic, office | 4 |  |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FF | FF-22660 | Table - round | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FF | FF-24400 | Whiteboard | 1 | 900x900 |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FF | FF-24440 | Workstation - computer | 4 | or desks |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | FF | FF-5824 | Waste bin - general | 4 |  |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | SE | S-1006 | Voice / Data outlet: double | 5 | 4 outlets for telephone - 1 per workstation |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | SE | S-6055 | Special: task light, built in | 8 | O/H shelving |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | SE | S-6200 | Light switches | 5 |  |  |  |  | No | No | No | No | No | No | No | No | No
OFF-4P | Office - 4 Person Shared | SE | S-9001 | GPO: Double | 9 | 2 per workstations; 1 spare for optional printer |  |  |  | No | No | No | No | No | No | No | No | No