## Room Data
Standard Components - Room Data Sheet
Date of issue: 24.06.2022
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
PBSC | Patient Bay - Specimen Collection | 9 | 8am to 6pm, daily | 1 patient, 1 staff |  |  | A Patient Bay used for the collection of specimens to be transferred to a laboratory for testing. Additional Considerations: Ready access to a handwashing basin is required. Ready access may be required to a pneumatic tube bay that is in a staff supervised area. Recliner must be able to lay flat to support the patient in the event of an adverse reaction (e.g. fainting). A desk may be provided in lieu of Workstation on Wheels depending on operational model. An operational model for responding to calls from staff/patients will be needed to support the inclusion of a nurse call system and is to be determined based on service requirements. A risk assessment should be undertaken to inform staff safety requirements with adjoining cubicles which may require adjustments to the design and/or operational strategies, such as the use of mobile duress systems. Refer to the Pathology HPU for paediatric requirements.

## Items
Standard Components - Items in room
Date of issue: 24.06.2022
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
PBSC | Patient Bay - Specimen Collection | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1
PBSC | Patient Bay - Specimen Collection | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 5
PBSC | Patient Bay - Specimen Collection | FA | WLPR-006 | WALL PROTECTION: corner guards | 2
PBSC | Patient Bay - Specimen Collection | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 3
PBSC | Patient Bay - Specimen Collection | FA | WLWA-020 | WALL FINISH: vinyl, to 1500 AFFL | 3
PBSC | Patient Bay - Specimen Collection | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
PBSC | Patient Bay - Specimen Collection | FA | CLCN-009 | CORNICE: wall trim fixing | 1
PBSC | Patient Bay - Specimen Collection | FFE | FIHR-016 | BRACKET: for sharps bin | 1 | on trolley
PBSC | Patient Bay - Specimen Collection | FFE | FQBS-028 | CHAIR: visitor, clinical areas | 1 | optional
PBSC | Patient Bay - Specimen Collection | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
PBSC | Patient Bay - Specimen Collection | FFE | FIHR-026 | HOOK: coat | 2 | optional, prioritize lower hook for wheelchair users if only one hook provided
PBSC | Patient Bay - Specimen Collection | FFE | FIRT-031 | TRACK: curtain, privacy | 1
PBSC | Patient Bay - Specimen Collection | FFE | FQGE-010 | CURTAIN: privacy screen | 1
PBSC | Patient Bay - Specimen Collection | FFE | FQSN-007 | BIN: storage bins, wire mesh, stainless steel | 1 | extent and type of storage to be based on service requirements and local infection control policies
PBSC | Patient Bay - Specimen Collection | FFE | FQCW-016 | BIN: waste, general, 20L | 1
PBSC | Patient Bay - Specimen Collection | FFE | FIDI-014 | DISPENSER: disposable glove | 1
PBSC | Patient Bay - Specimen Collection | FFE | FIHR-033 | PANEL: for storage bins, wall mount | 1
PBSC | Patient Bay - Specimen Collection | FFE | FQCW-044 | BIN: waste, sharps, wall mounted | 1 | on trolley; may be wall mounted or mobile
PBSC | Patient Bay - Specimen Collection | FFE | FQBS-051 | STOOL: mobile, adj height | 1
PBSC | Patient Bay - Specimen Collection | FFE | ITNE-008 | COMPUTER: for workstation on wheels | 1
PBSC | Patient Bay - Specimen Collection | FFE | LIFX-027 | LIGHT: examination, ceiling mounted | 1 | optional
PBSC | Patient Bay - Specimen Collection | FFE | FQGE-056 | PRINTER: desktop, labels | 1 | optional, on WOW
PBSC | Patient Bay - Specimen Collection | FFE | MMGE-164 | WORKSTATION ON WHEELS: clinical, mobile | 1 | a desk may be provided depending on operational model
PBSC | Patient Bay - Specimen Collection | FFE | MMGE-189 | TROLLEY: phlebotomy 600W x 490D x 900H nominal | 1 | with drop down shelf
PBSC | Patient Bay - Specimen Collection | FFE | MMBE-094 | CHAIR: recliner, clinical, phlebotomy | 1 | electric, height adjustable and able to lie flat, electric examination couch may also be provided
PBSC | Patient Bay - Specimen Collection | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1
PBSC | Patient Bay - Specimen Collection | SE | ELPR-006 | RCD: residual current device | 1
PBSC | Patient Bay - Specimen Collection | SE | ELGP-101 | GPO: single, ceiling mounted | 1 | optional, to exam light
PBSC | Patient Bay - Specimen Collection | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1
PBSC | Patient Bay - Specimen Collection | SE | ELBO-015 | SWITCH: light, single | 1 | optional, to exam light
PBSC | Patient Bay - Specimen Collection | SE | ITCL-004 | BUTTON: nurse call, emergency | 1
PBSC | Patient Bay - Specimen Collection | SE | ELGP-109 | GPO: single, wall mounted | 1 | to chair
PBSC | Patient Bay - Specimen Collection | SE | ELGP-208 | GPO: double, wall mounted | 1
PBSC | Patient Bay - Specimen Collection | SE | ELPR-001 | BODY PROTECTED ELECTRICAL AREA | 1
PBSC | Patient Bay - Specimen Collection | SE | ITSE-006 | BUTTON: duress, fixed | 1