## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
PBTR-H-6 | Patient Bay - Holding, 6m2 | 6 |  | 1 patient; 1 - 2 staff intermittently | 24 Hours |  | A Patient Bed Bay used for holding of patients prior to procedures, observation of patients following procedures or for assessment and treatment of patients with non acute conditions. The Patient Bay will have close access to a staff handwashing basin. Requirement for services including medical gases and power will be dependant on the use of the bay. Body Protected electrical area

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
PBTR-H-6 | Patient Bay - Holding, 6m2 | FE | FE-3725 | Bed - emergency, electric | 1 | spatial provision required |  |  |  | Yes | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | FE | FE-5857 | Light - procedures small, ceiling | 1 | optional |  |  |  | Yes | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | FF | FF-12900 | Wire panel - for storage-bins | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | FF | FF-1465 | Bracket - suction bottle | 1 | required if suction outlet provided |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | FF | FF-150 | Air flowmeter | 1 | required if air outlet provided |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | FF | FF-16250 | Oxygen flowmeter | 1 | required if oxygen outlet provided |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | FF | FF-21755 | Storage bins | 3 | for louvred panel |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | FF | FF-21950 | Suction adapter | 1 | required if suction outlet provided |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | FF | FF-22000 | Suction bottle | 1 | required if suction outlet provided |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | FF | FF-4600 | Curtain track - bed screen | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | FF | FF-5000 | Curtain - bed screen | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-9000 | GPO: Single | 1 | to bedhead, low level for bed |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-9000 | GPO: Single | 2 | to bedhead |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-9010 | GPO: Emergency power, single (V) | 2 | to bedhead |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-9040 | Body protected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-1006 | Voice / Data outlet: double | 1 | 1 outlet for telephone |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-6001 | General: colour corrected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-6030 | Special: downlights | 1 | over bed/ trolley |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-8000 | Patient/ Staff call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-8005 | Patient call handset | 1 | call button on the handset |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-8010 | Staff/ Nurse assist call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-8080 | Emergency call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-1951 | Staff assist call | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-7000 | Oxygen (O2) | 1 | optional, dependant on use of the bay |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-7020 | Medical Air (MA) | 1 | optional, dependant on use of the bay |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-7040 | Suction | 1 | optional, dependant on use of the bay |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | SE | S-11000 | Wall panel | 1 | flush mounted |  |  |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | Fabrics | 1000 | Floor finish | 1 |  | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | Fabrics | 3092 | Wall protection | 1 |  | MDF | Laminate | Bed protection wall panel | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | Fabrics | 5010 | Ceiling - Plasterboard | 1 | Default = set plasterboard; plasterboard drop in tile ceiling also acceptable | Plasterboard | Paint, washable | Flush set, suspended | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
PBTR-H-6 | Patient Bay - Holding, 6m2 | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No