## Room Data
Standard Components - Room Data Sheet
Date of issue: 18.01.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
PBTR-MD | Patient Bay - Medical Day Treatment | 9 | 0800 Hours to 1800 Hours, daily | 1 patient: 1-2 staff, 1 visitor |  |  | The Patient Bay - Medical Day Treatment may be used for assessment and treatment of non-admitted patients receiving scheduled treatment in either a bed or recliner (e.g. for infusions such as antibiotics and chemotherapy). A staff handwashing basin will be provided for each 4 bays and the Patient Bay will have, wherever possible, clear line of sight to a staff station and close access to a patient toilet. Access to natural light and views is required. Medical Gases may be provided individually to each bay or shared between two bays depending on service requirements.

## Items
Standard Components - Items in room
Date of issue: 18.01.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
PBTR-MD | Patient Bay - Medical Day Treatment | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 2
PBTR-MD | Patient Bay - Medical Day Treatment | FA | WLPR-002 | WALL PROTECTION: bed protection wall panel, composite, laminate finish | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FA | DWWH-005 | WINDOW | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FA | CLCN-009 | CORNICE: wall trim fixing | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | MGFP-002 | FLOWMETER: medical air | 1 | may be shared between two bays depending on service requirements
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | FIHR-019 | BRACKET: for suction bottle | 1 | may be shared between two bays depending on service requirements
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | FIHR-016 | BRACKET: for sharps bin | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | FQBS-030 | CHAIR: visitor, patient | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | DWWD-004 | BLIND: roller | 1 | dependent on local infection control policies and service requirements
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | FIRT-032 | TRACK: curtain, privacy, L shaped | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | FQGE-010 | CURTAIN: privacy screen | 2
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | FIHR-004 | BRACKET: for display screen, ceiling mounted | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | FQCW-043 | BIN: waste, sharps, on trolley | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | MMGE-119 | TROLLEY: equipment | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | FQSN-051 | LOCKER: 2 drawers, open under, lockable, mobile | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | FQTA-013 | TABLE: overbed | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | MGFP-004 | FLOWMETER: oxygen | 1 | may be shared between two bays depending on service requirements
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | FQBS-051 | STOOL: mobile, adj height | 1 | quantity to be rationalised across the unit to suit number of staff
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | MMGE-002 | ADAPTER: suction | 1 | may be shared between two bays depending on service requirements
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | MMGE-100 | SUCTION BOTTLE | 1 | may be shared between two bays depending on service requirements
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | ITBU-012 | DISPLAY SCREEN: patient entertainment system | 1
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | MMGE-023 | CHAIR: recliner, clinical, electric | 1 | or bed
PBTR-MD | Patient Bay - Medical Day Treatment | FFE | LIFX-027 | LIGHT: examination, ceiling mounted | 1 | optional, dependent on service requirements
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ELPR-006 | RCD: residual current device | 2
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ITIN-070 | OUTLET: MATV | 1 | to patient entertainment screen, may be replaced with data outlet in accordance with ICT policy
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ELGP-101 | GPO: single, ceiling mounted | 2 | to patient entertainment screen
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | + indicator button & light
PBTR-MD | Patient Bay - Medical Day Treatment | SE | LIFX-011 | LIGHT: reading light | 1 | hardwired
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ELBO-015 | SWITCH: light, single | 1 | to exam light
PBTR-MD | Patient Bay - Medical Day Treatment | SE | MGAS-042 | OUTLET: oxygen (O2), on services panel | 1 | may be shared between two bays depending on service requirements
PBTR-MD | Patient Bay - Medical Day Treatment | SE | MGAS-022 | OUTLET: medical air (MA), on services panel | 1 | may be shared between two bays depending on service requirements
PBTR-MD | Patient Bay - Medical Day Treatment | SE | MGAS-062 | OUTLET: suction, on services panel | 1 | may be shared between two bays depending on service requirements
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 1 | + indicator button & light
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 1 | call button on the handset, reading light control
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ITCL-004 | BUTTON: nurse call, emergency | 1
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ELGP-109 | GPO: single, wall mounted | 2 | low level, for bed/recliner
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ELGP-206 | GPO: double, on services panel, RCD protected | 1
PBTR-MD | Patient Bay - Medical Day Treatment | SE | MMSP-026 | SERVICES PANEL: wall mounted | 2 | 1 panel for medical gases may be shared between two bays depending on service requirements
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ITIN-025 | OUTLET: data, double RJ45, on services panel | 1
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ELGP-105 | GPO: single, on services panel | 2
PBTR-MD | Patient Bay - Medical Day Treatment | SE | ELGP-122 | GPO: emergency power, single, on services panel | 2