## Room Data
Standard Components - Room Data Sheet
Date of issue: 24.06.2022
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
PLAY | Play Area - Paediatric | 10 | Available 24 Hours | Up to 4 |  | Acoustics: sound attenuation level - high. | An area, typically associated with a waiting area, where children may play while waiting with parents. The Play Area should allow access for prams and be located in close proximity to public amenities, including baby change facilities. The Play Area should be designed to minimise noise transfer to other areas. Additional Considerations: Provision of age appropriate furnishing, artwork and play equipment (if provided) to be based on service and population. Furniture that is easily wiped clean is recommended. Furniture suitable for adults is typically provided within the space to support supervision of children but may be provided in the adjacent waiting area if layout allows for adequate visibility. Provision of interactive board/projector technologies and associated services may be considered depending on operational policies and ICT support.

## Items
Standard Components - Items in room
Date of issue: 24.06.2022
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
PLAY | Play Area - Paediatric | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1
PLAY | Play Area - Paediatric | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 3
PLAY | Play Area - Paediatric | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 3
PLAY | Play Area - Paediatric | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
PLAY | Play Area - Paediatric | FA | DWWH-005 | WINDOW | 1 | desirable
PLAY | Play Area - Paediatric | FA | CLCN-009 | CORNICE: wall trim fixing | 1
PLAY | Play Area - Paediatric | FFE | FQGE-002 | ARTWORK | 1
PLAY | Play Area - Paediatric | FFE | FQBS-012 | CHAIR: child | 2
PLAY | Play Area - Paediatric | FFE | FQBS-032 | CHAIR: waiting | 2
PLAY | Play Area - Paediatric | FFE | DWWD-004 | BLIND: roller | 1
PLAY | Play Area - Paediatric | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
PLAY | Play Area - Paediatric | FFE | FQTA-003 | TABLE: children's play | 1
PLAY | Play Area - Paediatric | FFE | FQTA-075 | TABLE: square, 600W, low height | 1
PLAY | Play Area - Paediatric | SE | ELGP-208 | GPO: double, wall mounted | 1