## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
PLST | Plaster Room | 14 |  | 1 patient; 2 -3 staff | 24 Hours |  | The Plaster Room allows for the application of Plaster of Paris, or other splints, and for the closed reduction of displaced fractures or dislocations under sedative or regional anaesthesia. Sound attenuation level - high; acoustic privacy required Body Protected electrical area

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
PLST | Plaster Room | Fabrics | 1000 | Floor finish | 1 |  | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | Fabrics | 2529 | Door protection | 1 | To be decided at project level. | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | Fabrics | 2537 | Wall protection | 1 |  |  |  | Crash rail at 900 AFFL | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | Fabrics | 2692 | Wall protection | 1 | or similar |  |  | Bed protection wall panel | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | Fabrics | 2712 | Door protection | 1 |  |  |  | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | Fabrics | 2726 | Floor finish | 1 | Under basin. Significant change in colour to be avoided. | Vinyl, non slip |  | Seamless coved | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | Fabrics | 2727 | Wall finish | 1 | Selection of material to comply with Part D Infection Prevention and Control AusHFG. |  |  | Splashback | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | Fabrics | 5007 | Ceiling - Plasterboard | 1 | Between above bench joinery and ceiling. | Plasterboard | Paint | Bulkhead | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | Fabrics | 9128 | Door - 1200mm | 1 | 1400mm clear opening, sliding cover to glazing | Solid Core/ Glass | Paint | 1 1/2 leaf, observation panel | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FE | FE-11400 | Computer - PC & monitor | 1 | On bench, flatscreen, or wall mounted. If wall mounted add bracket. PACS images may be viewed, refer specific project requirements. |  |  |  | Yes | Yes | No | No | No | No | No | No | No
PLST | Plaster Room | FE | FE-2800 | Basin - handwash, Type B | 1 | elbow action levers or handsfree optional. |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
PLST | Plaster Room | FE | FE-31700 | Light - examination, ceiling | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
PLST | Plaster Room | FE | FE-40300 | Plaster trap | 1 | under sink, mobile |  |  |  | No | No | No | No | No | No | Yes | No | No
PLST | Plaster Room | FE | FE-40330 | Saw - plaster | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FE | FE-4045 | Tapware - elbow mixer | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FE | FE-49110 | Sink - 450x350x300D | 1 | hot water; tapware, long lever, wall mounted |  |  |  | No | No | Yes | Yes | Yes | Yes | Yes | No | No
PLST | Plaster Room | FE | FE-54520 | Telephone - handset, handsfree (WM) | 1 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
PLST | Plaster Room | FE | FE-5622 | Bed - inpatient, electric + standard patient mattress | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-1010 | Bench - stainless steel | 1 | With SS sink and wet edge. Length to suit layout, refer RLS or project specific requirements. |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-1465 | Bracket - suction bottle | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-1470 | Bracket - sharps | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-150 | Air flowmeter | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-16250 | Oxygen flowmeter | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-17501 | Trolley - plaster | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-19700 | Sharps bin | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-22000 | Suction bottle | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-4360 | Cupboard - door ht adj. shelves | 1 | Number to suit layout, refer RLS or project specific requirements. |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-4420 | Cupboard - under bench, lockable | 1 | Number to suit layout, refer RLS or project specific requirements. |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-4420 | Cupboard - under bench, lockable (s) | 1 | Number to suit layout, refer RLS or project specific requirements. |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-4470 | Cupboard - wall mounted, lockable | 1 | Number to suit layout, refer RLS or project specific requirements. |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-4472 | Cupboard - wall mounted, lockable | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-5824 | Waste bin - general | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-5830 | Dispenser - antiseptic hand rub | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-6152 | Dispenser - disposable glove | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-6153 | Dispenser - moisturiser | 1 | to hand basin. Depends on operational policy. |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-6156 | Dispenser - soap | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | FF | FF-6158 | Dispenser - soap antiseptic | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-10005 | Duress alarm | 1 | optional in ambulatory care area |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-1005 | Voice / Data outlet: single | 1 | wall mounted telephone |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-1006 | Voice / Data outlet: double | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-11000 | Wall panel | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-1951 | Staff assist call | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-2072 | Scavenge Outlet | 1 | If nitrous required. |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-2088 | Light switch: single | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-6001 | General: colour corrected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-6055 | Special: task light, built in | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-6200 | Light switches | 2 | Task light and room. |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-7000 | Oxygen (O2) | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-7010 | Nitrous Oxide (N2O) | 1 | Optional. |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-7020 | Medical Air (MA) | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-7040 | Suction | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-8000 | Patient/ Staff call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-8005 | Patient call handset | 1 | call button on the handset |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-8080 | Emergency call | 1 | + indicator button & light |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-9000 | GPO: Single | 4 | to services panel |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-9001 | GPO: Double | 3 | to walls, bench |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-9010 | GPO: Emergency power, single (V) | 2 | to services panel |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-9015 | GPO: Cleaner | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
PLST | Plaster Room | SE | S-9040 | Body protected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No