## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
RECL-10 | Reception/ Clerical, 10m2 | 10 |  | Up to 2 staff members | 0800 Hours - 1800 or 2000 hours, dependent on function of unit |  | An area where visitors to the unit of facility can be received and immediately directed to their destination or a Waiting Area. May also act as the access control to the Unit. Additional Design Requirements: - Dependent on location, security shutters or glazing may be required - Reception desk should have set down counter for disabled persons access - Access for disabled staff working within the Reception area needs to be considered

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
RECL-10 | Reception/ Clerical, 10m2 | Fabrics | 1130 | Floor finish | 1 | Standard, slip resistant vinyl also acceptable. | Carpet | 90/10 Wool/ Nylon | Carpet tiles | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | Fabrics | 2010 | Skirting | 1 | Default = featheredged vinyl; floor vinyl coved skirting for vinyl floor. | Vinyl | Prefinished | Feather edged, 150 mmH | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | Fabrics | 5007 | Ceiling - Plasterboard | 1 | optional | Plasterboard | Paint | Bulkhead | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | Fabrics | 8010 | Door protection | 1 |  | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | Fabrics | 8040 | Door protection | 1 | Optional. To be decided at project level. | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | Fabrics | 9007 | Door - 910mm | 1 | full height door optional, if Reception enclosed, lockable | Solid Core/ Safety glass | Paint | Single leaf, half glazed | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | FE | FE-11400 | Computer - PC & monitor | 2 | Consider location of harddrive, if below desk add bracket. |  |  |  | Yes | Yes | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | FE | FE-41100 | Printer - networked | 1 | Optional. EMR compatible. |  |  |  | Yes | Yes | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | FE | FE-54510 | Telephone - handset, standard | 2 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | FF | FF-17255 | Pedestal filing unit - mobile, 660mmH | 1 | Under bench, lockable. Number to suit design and functionality. |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | FF | FF-17360 | Pinboard - fabric covered | 1 | Optional. If upstand included in reception counter design. |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | FF | FF-19505 | Security screen - safety glass | 3 | optional |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | FF | FF-2100 | Chair - ergonomic, office | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | FF | FF-21270 | Stationery slots | 1 | Optional. |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | FF | FF-7517 | Counter - accessible | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | FF | FF-7518 | Reception desk - high performance surfaces | 1 | Length to suit layout, refer RLS or project specific requirements. |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | SE | S-10005 | Duress alarm | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | SE | S-1006 | Voice / Data outlet: double | 3 | Number of outlets per faceplate as per ICT policy. 1 per workspace + spare. |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | SE | S-2088 | Light switch: single | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | SE | S-6030 | Special: downlights | 1 | Incorporated into reception counter design, optional. |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | SE | S-6055 | Special: task light, built in | 2 | Incorporated into reception counter design, optional. |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | SE | S-9001 | GPO: Double | 5 | 2 per workspace + spare. |  |  |  | No | No | No | No | No | No | No | No | No
RECL-10 | Reception/ Clerical, 10m2 | SE | S-9010 | GPO: Emergency power, single (V) | 1 | Optional, for CCTV monitor if required. |  |  |  | No | No | No | No | No | No | No | No | No