## Room Data
Standard Components - Room Data Sheet
Date of issue: 28.05.2019
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
REPR | Reporting Room | 12 | Available 24 Hours | Up to 4 (6 to 8 for limited periods for image reviews by team) |  | Sound attenuation level high, acoustic privacy is required. | Room within a Clinical or Diagnostic Unit for reviewing and reporting of computerised patient imaging/PACS images. Film images may also be viewed from time to time.

## Items
Standard Components - Items in room
Date of issue: 28.05.2019
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
REPR | Reporting Room | FA | FLCP-006 | FLOOR FINISH: carpet, carpet tiles, 90/10 wool/nylon | 1
REPR | Reporting Room | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 5 | or floor vinyl coved skirting
REPR | Reporting Room | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 2 | optional
REPR | Reporting Room | FA | WLWA-001 | WALL FINISH: acoustic panels, prefinished | 3
REPR | Reporting Room | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 1 | both sides
REPR | Reporting Room | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 4
REPR | Reporting Room | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
REPR | Reporting Room | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1
REPR | Reporting Room | FA | DWSC-003 | DOOR: 910mm c/o, single leaf, solid core, paint | 1
REPR | Reporting Room | FFE | FQBS-018 | CHAIR: office, ergonomic | 3 | 1 per workstation
REPR | Reporting Room | FFE | FIHR-026 | HOOK: coat | 2 | optional
REPR | Reporting Room | FFE | FQCW-016 | BIN: waste, general, 20L | 2
REPR | Reporting Room | FFE | FIJO-152 | CUPBOARD: wall mount, shelf unit, adj shelves | 1
REPR | Reporting Room | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1 | optional
REPR | Reporting Room | FFE | ITNE-063 | DISPLAY SCREEN: for computer | 4 | RIS/PMS monitor per workstation
REPR | Reporting Room | FFE | ITNE-049 | TELEPHONE: handset, desktop | 2
REPR | Reporting Room | FFE | MMGE-152 | VIEWER: X-ray, 2 screen | 2 | 1 per workstation
REPR | Reporting Room | FFE | FIJO-099 | CAC: cable access cap | 2
REPR | Reporting Room | FFE | FIJO-212 | BULKHEAD: joinery | 1
REPR | Reporting Room | FFE | FIHR-066 | BRACKET: for display screen, wall mounted, articulated, adj height | 2 | optional, for wall mounted display screen, 1 per workstation
REPR | Reporting Room | FFE | ITNE-067 | KEYBOARD: keyboard and mouse only | 2
REPR | Reporting Room | FFE | FIHR-070 | BRACKET: for display screen, dual, desk mounted | 4
REPR | Reporting Room | FFE | FQDW-043 | PARTITION: workstation system, acoustic | 1
REPR | Reporting Room | FFE | FIHR-075 | BRACKET: for computer CPU, underdesk mounted | 2
REPR | Reporting Room | FFE | FQDW-044 | WORKSTATION: straight, adj height, 1800W x 800D x 750H nom. | 2 | adjustable sit to standing height workstation optional
REPR | Reporting Room | FFE | ITNE-068 | COMPUTER: hi performance, for clinical / PACS use, CPU, underbench mount | 2
REPR | Reporting Room | FFE | ITNE-069 | DISPLAY SCREEN: PACS, portrait | 4
REPR | Reporting Room | FFE | ITNE-070 | DISPLAY SCREEN: PACS | 2 | optional, wall mounted for viewing by teams, 1 per workstation
REPR | Reporting Room | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 4 | 2 to each workstation for deskbox soft wired deskbox connection
REPR | Reporting Room | SE | LIFX-011 | LIGHT: reading light | 2 | 1 per w/s - task light
REPR | Reporting Room | SE | ELGP-109 | GPO: single, wall mounted | 2 | 1 to each workstation for deskbox soft wired deskbox connection
REPR | Reporting Room | SE | ELGP-109 | GPO: single, wall mounted | 2 | optional, for use with wall mounted display screen, 1 per workstation
REPR | Reporting Room | SE | ELGP-208 | GPO: double, wall mounted | 2 | to bench, x-ray viewer
REPR | Reporting Room | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1
REPR | Reporting Room | SE | ELBO-012 | SWITCH: light, dimmer | 3 | to room
REPR | Reporting Room | SE | ITIN-066 | OUTLET: HDMI, wall mounted | 2 | 1 to each workstation for deskbox soft wired deskbox connection
REPR | Reporting Room | SE | ITIN-066 | OUTLET: HDMI, wall mounted | 2 | optional, for use with wall mounted display screen, 1 per workstation
REPR | Reporting Room | SE | ITIN-029 | OUTLET: data, double RJ45, desk box | 4
REPR | Reporting Room | SE | ITIN-067 | OUTLET: HDMI, desk box | 2 | optional, 1 per workstation
REPR | Reporting Room | SE | ELGP-212 | GPO: double, desk box | 8
REPR | Reporting Room | SE | ITIN-145 | DESK BOX: for power, data, AV, flush mounted, softwired | 2