## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Briefing
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics | Description / Special Requirements
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
SHPT | Shower - Patient | 4 |  | 1 patient; 1-2 staff assisting as required | 24 Hours | Sound attenuation level high, Acoustic privacy is required. | The Patient Shower is a room containing a shower and a handbasin for patients to shower or wash, either independently or with nurse assistance. This room may be provided in an Emergency Department or other units where an additional shower is required. Ensuites are generally preferred in inpatient environments. Acoustics: Sound attenuation level - high; Acoustic privacy required. Body Protected electrical area Additional Design Considerations: - Access is required for commode chairs - The floor must not have a raised hob - The door will require escape hardware to allow staff access in an emergency

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
SHPT | Shower - Patient | FE | FE-47400 | Shower - hand-held | 1 | Tapware: mixer, wall mounted, shower. |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
SHPT | Shower - Patient | FE | FE-5603 | Basin - ensuite | 1 |  |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
SHPT | Shower - Patient | FE | FE-40406 | Tapware - shower mixer | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | FF | FF-13700 | Mirror | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | FF | FF-20650 | Soap / shampoo holder | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | FF | FF-2300 | Chair - shower | 1 | Or commode chair or combined shower/commode chair, optional. |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | FF | FF-23700 | Towel rail | 1 | with grab rail strength/ fixings |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | FF | FF-3400 | Coathook | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | FF | FF-4800 | Curtain track - shower (90deg) | 1 | Optional, depends on Infection Control Policy |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | FF | FF-5300 | Curtain - shower | 1 | Optional, depends on Infection Control Policy |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | FF | FF-6154 | Dispenser - paper/ hand towel | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | FF | FF-6156 | Dispenser - soap | 2 | 1 x basin. 1 x shower (optional). |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | FF | FF-8450 | Grab rail - Shower | 1 | Combined with hand held shower. |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | SE | S-9001 | GPO: Double | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | SE | S-9040 | Body protected | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | SE | S-4033 | Floor waste | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | SE | S-5015 | Ventilation | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | SE | S-5019 | Exhaust | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | SE | S-6000 | General fluorescent | 1 | Sensor light optional. |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | SE | S-1983 | General fluoresecent downlights | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | SE | S-8000 | Patient/ Staff call | 1 | + indicator button & light, waterproof |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | SE | S-8080 | Emergency call | 1 | + indicator button & light, waterproof |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | SE | S-1951 | Staff assist call | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | Fabrics | 2526 | Floor finish | 1 | Suitable for barefeet. Tiles also acceptable. | Vinyl | Non-slip | Seamless coved | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | Fabrics | 3070 | Wall finish | 1 | to wet areas; tiles also acceptable | Vinyl | Prefinished | Wall vinyl full height | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | Fabrics | 5023 | Ceiling - Plasterboard | 1 |  | Plasterboard | Prefinished | Water resistant, drop in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | Fabrics | 9001 | Door - 1100mm | 1 | 910mm clear; outward opening; privacy latch; emergency release | Solid Core | Paint | Single leaf | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | Fabrics | 2530 | Door protection | 1 |  | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | Fabrics | 2529 | Door protection | 1 |  | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient | Fabrics | 2000 | Skirting | 1 | Or tiles for a tiled floor. | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No