## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
SPREC | Specimen Reception/ Sort/ Preparation | 20 |  | Up to 4 staff members, 3 seated workstations | 0800 Hours - 1800 or 2000 hours |  | A Reception area where specimens for analysis are received, sorted and held temporarily before despatch into laboratory areas. Additional Design Requirements: - Security shutters or glazing may be required

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Items | [6 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
SPREC | Specimen Reception/ Sort/ Preparation | FE | FE-11400 | Computer - PC & monitor | 3 | flat screen |  |  |  | Yes | Yes | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FE | FE-27900 | Incubator - laboratory | 1 | optional |  |  |  | Yes | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FE | FE-2800 | Basin - handwash, Type B | 1 |  |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FE | FE-41100 | Printer - networked | 1 |  |  |  |  | Yes | Yes | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FE | FE-43500 | Refrigerator | 1 | specimen holding |  |  |  | Yes | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FE | FE-54510 | Telephone - handset, standard | 1 |  |  |  |  | No | Yes | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FE | FE-8900 | Centrifuge | 1 |  |  |  |  | Yes | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-1050 | Bench - laminate | 1 | sorting bench |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-1110 | Bench - laminate, writing | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-11465 | Keyboard shelf - drop down | 3 | optional |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-17250 | Pedestal drawer unit - mobile, 660mmH | 2 | under bench |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-17360 | Pinboard - fabric covered | 2 | to upstand of reception desk and over workstation bench |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-18550 | Reception desk - laminate/ timber | 1 | with resinate/ laminate countertop |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-18930 | Roller shutter, manual | 1 | optional, may also use safety glass or 'Perspex/ Lexan' materials |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-1950 | Chair - ergonomic, high | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-20000 | Shelving unit - adjustable | 6 | over sorting/ prepartion area benches |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-2100 | Chair - ergonomic, office | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-4410 | Cupboard - under bench | 1 | under part bench |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-4460 | Cupboard - wall mounted | 3 | over part workstation bench |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-6154 | Dispenser - paper/ hand towel | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-6156 | Dispenser - soap | 1 | to basin |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | S-9000 | GPO: Single | 1 | refrigerator |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | S-9001 | GPO: Double | 10 |  |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | S-1006 | Voice / Data outlet: double | 5 |  |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | S-6200 | Light switches | 3 |  |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | S-6030 | Special: downlights | 1 | to bulkhead, if provided |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | S-6055 | Special: task light, built in | 2 | to counter top & under O/H joinery |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | S-10005 | Duress alarm | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | Fabrics | 1000 | Floor finish | 1 | to sort/ preparation area | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | Fabrics | 1149 | Floor finish | 1 | to front reception area | Carpet | 90/10 Wool/ Nylon | Broadloom, 48 oz. | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | Fabrics | 3060 | Wall finish | 1 | to basin & sorting bench, tiles also acceptable | Vinyl | Prefinished | Splashback | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | Fabrics | 4030 | Wall protection | 1 | as required | Composite | Prefinished PVC | Corner guards to 900 AFFL | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | Fabrics | 5007 | Ceiling - Plasterboard | 1 | optional | Plasterboard | Paint | Bulkhead | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | Fabrics | 5060 | Ceiling - Acoustic | 1 |  | Acoustic | Prefinished | Drop-in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | Fabrics | 9004 | Door - 1100mm | 1 | 910mm clear opening, lockable | Solid Core/ Glass | Paint | Single leaf, observation panel | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | Fabrics | 2000 | Skirting | 1 | to sort/ preparation area | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | Fabrics | 2010 | Skirting | 1 | to front reception area | Vinyl | Prefinished | Feather edged, 150 mmH | No | No | No | No | No | No | No | No | No