## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
STDE | Store - Disaster Equipment | 8 |  | 1 - 2 intermittently | Available 24 Hours |  | The Disaster Equipment Store provides for the storage of equipment used in retreival of patients, and for equipment used in Chemical, Biological and Radiological (CBR) incidents. The size of the room will be dependant on the role delineation and service level of the facility.

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
STDE | Store - Disaster Equipment | FF | FF-13650 | Metal shelving - 1200x600x2100 | 2 | heavy duty |  |  |  | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | FF | FF-13665 | Metal shelving - 900x600x2100 | 2 | heavy duty |  |  |  | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | SE | S-9001 | GPO: Double | 2 | for recharging equipment |  |  |  | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | SE | S-5000 | Airconditioning | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | SE | S-6000 | General fluorescent | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | Fabrics | 1000 | Floor finish | 1 |  | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | Fabrics | 3052 | Wall finish | 1 | wall protection | Vinyl | Prefinished | Wall vinyl to 1500 AFFL | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | Fabrics | 5030 | Ceiling - Plasterboard | 1 |  | Plasterboard | Prefinished | Drop-in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | Fabrics | 8010 | Door protection | 1 | Equal to Acrovyn | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | Fabrics | 8040 | Door protection | 1 | Equal to Acrovyn | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | Fabrics | 9001 | Door - 1100mm | 1 | 1100mm clear opening, lockable | Solid Core | Paint | Single leaf | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
STDE | Store - Disaster Equipment | Fabrics | 2000 | Skirting | 1 |  | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No