## Room Template Data
Room Data Sheet - File for Import
2026-04-07
No. of Standard Components = 1
Code | Template Name | Standard Component Set | ICS Translation Status | Standard Area | Modeled Ceiling Height | Previous Code | RDS Rev: Name | RDS Rev Date: Name | Panorama - URL for Project Use | Briefing - Hours of Operation | Briefing - Occupancy | Briefing - Description | Briefing - Additional Considerations | Performance Requirements - Electrical - PROTECTION: body protected | Performance Requirements - Electrical - PROTECTION: cardiac protected | Performance Requirements - Lighting - LIGHTING: general | Performance Requirements - Lighting - LIGHTING: colour corrected | Performance Requirements - Lighting - LIGHTING: dimmable | Performance Requirements - Lighting - LIGHTING: indirect | Performance Requirements - Nurse Call and Duress - NURSE CALL SYSTEM: buttons / handset | Performance Requirements - Nurse Call and Duress - NURSE CALL SYSTEM: annunciator | Performance Requirements - Nurse Call and Duress - DURESS: fixed | Performance Requirements - Nurse Call and Duress - DURESS: wireless coverage | Performance Requirements - Security - ACCESS CONTROL: to door | Performance Requirements - Security - ACCESS CONTROL: to item / joinery | Performance Requirements - Security - INTERCOM: service communications | Performance Requirements - Security - INTERCOM: security and access control | Performance Requirements - Security - CCTV: camera coverage within room | Performance Requirements - Security - INTRUSION DETECTION: door monitoring | Performance Requirements - Security - INTRUSION DETECTION: spatial monitoring | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: patient entertainment system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: visitor experience system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: virtual collaboration system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: clinical support system | Performance Requirements - ICT and Audio Visual - AUDIO VISUAL: digital operating room system | Performance Requirements - Accessibility - AUDIO: hearing augmentation | Performance Requirements - Accessibility - VISUAL: luminance contrast | Performance Requirements - Accessibility - SIGNAGE: accessible, statutory | Performance Requirements - HVAC - AIRCONDITIONING: general | Performance Requirements - HVAC - AIRCONDITIONING: HEPA filtered | Performance Requirements - HVAC - AIRCONDITIONING: positive pressure | Performance Requirements - HVAC - AIRCONDITIONING: negative pressure | Performance Requirements - HVAC - VENTILATION: exhaust | Performance Requirements - HVAC - VENTILATION: supply | Performance Requirements - HVAC - VENTILATION: natural | Performance Requirements - Medical Gas - MEDICAL GAS: general anaesthesia | Performance Requirements - Medical Gas - MEDICAL GAS: special care | Performance Requirements - Medical Gas - MEDICAL GAS: special care, neonatal ventilation | Performance Requirements - Medical Gas - MEDICAL GAS: birthing | Performance Requirements - Hydraulic - WATER: drinking | Performance Requirements - Hydraulic - WATER: specialty | Performance Requirements - Hydraulic - DRAINAGE: sanitary | Performance Requirements - Hydraulic - DRAINAGE: specialty | Performance Requirements - Fire - DETECTION: smoke | Performance Requirements - Fire - DETECTION: heat | Performance Requirements - Shielding - SHIELDING: ionising radiation | Performance Requirements - Shielding - SHIELDING: magnetic and radio frequency | Performance Requirements - Acoustics - SPEECH PRIVACY: not private | Performance Requirements - Acoustics - SPEECH PRIVACY: moderate | Performance Requirements - Acoustics - SPEECH PRIVACY: private | Performance Requirements - Acoustics - SPEECH PRIVACY: confidential | Performance Requirements - Acoustics - NOISE SENSITIVITY: not sensitive | Performance Requirements - Acoustics - NOISE SENSITIVITY: low | Performance Requirements - Acoustics - NOISE SENSITIVITY: medium | Performance Requirements - Acoustics - NOISE SENSITIVITY: high | Performance Requirements - Acoustics - NOISE GENERATION: low | Performance Requirements - Acoustics - NOISE GENERATION: moderate | Performance Requirements - Acoustics - NOISE GENERATION: high | Performance Requirements - Acoustics - NOISE GENERATION: very high
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | Translation and QA Only | 28 | 2700 |  | 1 | 07.04.2026 |  | 7am to 6pm, daily (dependent on unit operating hours) | 2 patients;; 2-3 staff | The Treatment Room - Hand Therapy/Splinting provides a controlled environment, privacy and facilities for carrying out treatment and rehabilitation performed by an occupational therapist or physiotherapist with patients that suffer from conditions affecting the hands and upper limbs, such as wounds, scars, burns, fractures or amputations. | ~ A second door may be required for staff safety and security; the location of the second door will be dependent on the availability an appropriate area to egress. ~ Depending on operational model, the hand therapy treatment room may be an open area adjoining a space with other allied health treatment bays. If open, floor boxes may be required for power to height adjustable tables. ~ Printing facilities to be shared within the overall department. ~ Refrigeration requirements for some materials in warmer climates may need to be considered. | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE

## Items In Room Template
Room Data Sheet - File for Import
2026-04-07
Code | Template Name | Standard Component Set | Item List: Name | Item Number | Name | Quantity | Priority | Category: Name | Comment
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | D+W | AFDPR-006.01 | DOOR PROTECTION: plate, to 900H | 3 | 1 | Internal - Door 1 | [DWPR-005] to room side
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | D+W | AFDPR-006.01 | DOOR PROTECTION: plate, to 900H | 1 | 3 | Internal - Door 2 | [DWPR-005] to room side
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | D+W | AFDPR-006.01 | DOOR PROTECTION: plate, to 900H | 1 | 1 | Internal - Door 1 | [DWPR-005] to corridor side, extent dependent on movement of beds and mobile equipment in adjacent area; to be coordinated with corridor wall protection
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | D+W | AFDPR-006.01 | DOOR PROTECTION: plate, to 900H | 1 | 3 | Internal - Door 2 | [DWPR-005] to corridor side, extent dependent on movement of beds and mobile equipment in adjacent area; to be coordinated with corridor wall protection
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | D+W | DOHI-013.01 | DOOR: hinged, 1 leaf, 900 clear opening, solid, standard vision panel | 1 | 3 | Internal - Door 2 | [DWGL-005] optional, second door for egress
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | D+W | DOHI-114.01 | DOOR: hinged, 1 1/2 leaves, 1400 clear opening, solid, standard vision panel | 1 | 1 | Internal - Door 1 | [DWGL-033]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1 | 1 |  | [FIBM-019]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FIDI-077 | DISPENSER: velcro roll, wall mounted | 1 | 1 |  | [FIDI-053]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FIDI-106 | DISPENSER: PPE, disposable gloves, wall mounted | 1 | 1 |  | [FIDI-014]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FIDI-231 | DISPENSER: paper towel, wall mounted | 1 | 1 |  | [FIDI-025] to basin
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FIDI-241 | DISPENSER: alcohol-based hand rub, wall mounted | 1 | 1 |  | [FIDI-001]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FIDI-256 | DISPENSER: soap, wall mounted | 1 | 1 |  | [FIDI-030] to basin
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FIDI-261 | DISPENSER: soap, antimicrobial, wall mounted | 1 | 1 |  | [FIDI-031] to basin
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FIHR-411 | BRACKET: patient monitor, articulated, wall mounted | 2 | 1 |  | [FIHR-067] to therapy tables, dependent on ICT strategy
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FIRT-051 | TRACK: curtain, privacy | 2 | 1 |  | [FIRT-047]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FQBS-101 | CHAIR: visitor, clinical areas | 6 | 1 |  | [FQBS-030]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FQDW-131.02 | WORKSTATION: straight, adjustable height, 720H nom, 600D x 1200W | 2 | 1 |  | [FQDW-049]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FQGE-101 | CURTAIN: privacy screen | 3 | 1 |  | [FQGE-010]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FQGE-251 | DEVICE: sewing machine, domestic | 1 | 1 |  | [FQGE-043]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FQWS-051 | BIN: general waste, 20L | 1 | 1 |  | [FQCW-016] to basin
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | FQWS-235 | BIN: clinical waste, 80L | 1 | 1 |  | [FQCW-010] type, size and quantity of bins to be determined based on service requirements and waste management policies
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | HYBA-121 | BASIN: type B, handwashing | 1 | 1 |  | [HYBA-010]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | HYBA-303 | SINK: single bowl, with drainer | 1 | 1 |  | [HYBA-069]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | HYTP-067 | TAPWARE: basin, tap set, wall mounted, lever handles | 1 | 1 |  | [HYTP-037] to basin
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | HYTP-152 | TAPWARE: sink, mixer, fixture mounted, accessible | 1 | 1 |  | [HYTP-040]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | ITNE-076 | TELEPHONE: handset, wall mounted | 1 | 1 |  | [ITNE-053]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | ITNE-121 | COMPUTER: single display screen, all-in-one | 2 | 1 |  | [ITNE-066] to therapy tables, dependent on ICT strategy
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | JOBE-031 | BENCH: 600D, laminate | 3 | 1 |  | [FIJO-059]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | JOCU-021 | CUPBOARD: tall, double door | 1 | 1 |  | [FIJO-116]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | JOCU-201 | CUPBOARD: under bench, single door | 2 | 1 |  | [FIJO-140]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | JOCU-221 | CUPBOARD: under bench, double door | 2 | 1 |  | [FIJO-135]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | JODW-031 | DRAWER UNIT: under bench, 3 drawers, equal | 1 | 1 |  | [FIJO-104] for thermaplastic storage, width to be confirmed to suit size of material
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | JOGE-001 | BULKHEAD: joinery | 2 | 1 |  | [FIJO-212] plasterboard bulkhead also acceptable
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | JOSH-101 | SHELF UNIT: wall mounted, adjustable shelves | 4 | 1 |  | [FIJO-152]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | LIFX-114 | LIGHT: examination, single articulated arm, 1 light head, wall mounted | 2 | 1 |  | [LIFX-026] to therapy tables, ceiling mounted is also acceptable
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | MMAH-012 | DEVICE: continuous passive motion (CPM), upper limb | 1 | 3 |  | [MMAH-012] optional
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | MMAH-261 | TABLE: hand therapy, adjustable height | 2 | 1 |  | [FQTA-084]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | MMAH-271 | DEVICE: hand therapy, pan, splint moulding, water bath | 1 | 1 |  | [MMAH-021]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | MMGE-151 | LIGHT BOX: x-ray viewer, wall mounted | 1 | 3 |  | [MMGE-150] optional
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FFE | MMLA-014 | DEVICE: wax bath | 1 | 3 |  | [MMLA-014] optional
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FIN | CLCN-041 | CORNICE: wall trim fixing, prefinished | 1 | 1 | Ceiling Cornice | [CLCN-009]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FIN | CLTI-022.02 | CEILING: drop-in tiles, acoustic, prefinished, 600 x 1200 | 1 | 1 | Ceiling Finish 1 | [CLTI-002]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FIN | FLSK-021 | SKIRTING: vinyl, integral with floor vinyl, coved | 8 | 1 | Floor Skirting | [FLSK-010]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FIN | FLVY-101 | FLOOR FINISH: vinyl, seamless, standard slip resistance | 1 | 1 | Floor Finish 1 | [FLVY-007] floor finish must be minimum slip rating R10 / Pendulum P3 or agreed equivalent to extend under basin or inset section of non-slip vinyl required
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FIN | WLFI-001 | WALL FINISH: paint | 4 | 1 | Wall Finish 1 | [WLWA-004]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FIN | WLFI-101 | SPLASHBACK: vinyl | 1 | 1 | Wall Finish 2 | [WLWA-010] to bench
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | FIN | WLFI-101 | SPLASHBACK: vinyl | 2 | 1 | Wall Finish 3 | [WLWA-007] to basin
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | SER | ELGP-101 | GPO: single, wall mounted | 2 | 1 |  | [ELGP-109]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | SER | ELGP-101 | GPO: single, wall mounted | 1 | 3 |  | [ELGP-109] optional, to x-ray viewing box
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | SER | ELGP-105 | GPO: single, wall mounted, cleaner | 1 | 1 |  | [ELGP-110] as required for distribution across the unit in accordance with AS/NZS 3003
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | SER | ELGP-201 | GPO: double, wall mounted | 9 | 1 |  | [ELGP-208] extent of emergency power to be determined based on service requirements
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | SER | ELPR-071 | RCD: residual current device, wall mounted | 2 | 1 |  | [ELPR-006]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | SER | ELSW-001 | SWITCH: light | 3 | 1 |  | [ELBO-015] 1 x general room lighting, 2 x examination lights
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | SER | HYDR-151 | TRAP: plaster | 1 | 3 |  | [HYDR-008] optional
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | SER | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1 | 1 |  | [ITIN-016] to telephone
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | SER | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 3 | 1 |  | [ITIN-026]
TRMT-HTS | Treatment Room - Hand Therapy / Splinting | Allied Health | SER | ITSE-061 | BUTTON: security, duress, fixed, wall mounted | 2 | 1 |  | [ITSE-006]