## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
ULTR | Ultrasound | 14 | Available 24 Hours | 1 patient with up to 1 support person; 1-2 staff |  | Acoustic privacy is required | Room for diagnostic ultrasound procedures, located close to patient toilet and change rooms. The room will require access for patients on hospital beds.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
ULTR | Ultrasound | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 | flush set plasterboard ceiling also acceptable | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FA | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 1 | equal to Acrovyn | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 1 | equal to Acrovyn | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FA | DWSC-021 | DOOR: 1400mm c/o, 1 1/2 leaf, solid core, paint | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | SE | ELBO-015 | SWITCH: light, single | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | SE | ELGP-106 | GPO: single, special, for equipment | 1 | Ultrasound machine | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | SE | ELGP-109 | GPO: single, wall mounted | 2 | exam couch | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1 | as required | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | SE | ELGP-208 | GPO: double, wall mounted | 3 | 2 - staff workstation; 1- bench | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | SE | ELGP-209 | GPO: double, wall mounted, RCD protected | 1 | at bedhead | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIDI-014 | DISPENSER: disposable glove | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to basin | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIHR-004 | BRACKET: for display screen, ceiling mounted | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIHR-026 | HOOK: coat | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIHR-055 | RACK: scanhead | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIJO-059 | BENCH TOP: 600D, joinery under, laminate finish | 1 | at 1000H, open under part | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIJO-120 | CUPBOARD: tall, double door, sliding, adj shelves | 1 | lockable, optional | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIJO-140 | CUPBOARD: underbench, single door, adj shelves | 1 | under part bench | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIJO-145 | CUPBOARD: wall mount, double door, adj shelves, lockable | 1 | over bench | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIJO-157 | CUPBOARD: wall mount, single door, adj shelves, lockable | 1 | over bench | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FIRT-032 | TRACK: curtain, privacy, L shaped | 1 | to entry door | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FQBS-018 | CHAIR: office, ergonomic | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FQBS-028 | CHAIR: visitor, clinical areas | 2 | optional | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FQBS-037 | FOOTSTOOL | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FQCW-016 | BIN: waste, general, 20L | 1 | to basin | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FQGE-005 | CLOCK: analogue, battery operated | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FQGE-010 | CURTAIN: privacy screen | 1 | to entry door | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | FQSM-016 | TROLLEY | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | HYBA-010 | BASIN: handwash, Type B | 1 | refer to BHWS-B (similar) | No | No | Yes | No | Yes | Yes | Yes | No | No
ULTR | Ultrasound | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to basin | No | No | Yes | No | Yes | No | No | No | No
ULTR | Ultrasound | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 1 | call button on the handset | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1 |  | No | Yes | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | MMBE-010 | BED: patient, electric with mattress | 1 |  | Yes | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | MMBE-024 | COUCH: examination, manual, mobile | 1 | mobile | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | MMMI-329 | DEVICE: imaging, ultrasound scanning unit | 1 |  | Yes | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FFE | MMMI-340 | DISPLAY SCREEN: slave, for ultrasound | 1 |  | Yes | Yes | No | No | No | No | No | No | No
ULTR | Ultrasound | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No
ULTR | Ultrasound | FA | WLWA-010 | WALL FINISH: splashback, vinyl | 1 | to basin | No | No | No | No | No | No | No | No | No