## RDS
Standard Components - Room Data Sheet
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
Description
|  |  | Briefing |  |  |  | Description or Special Requirements
|  |  | Remarks | Occupancy | Hours of Operation | Acoustics
AusHFG Room Code | Room Name | Prog. Area | (Multi line edit) | (Single line edit) | (Single line edit) | (Single line edit) | (Formatted text)
WCAC | Toilet - Accessible | 6 |  | 1 | 24 Hours | Sound attenuation level high, Acoustic privacy is required. | A toilet and handbasin for use by disabled persons with or without assistance. The room shall comply with AS 1428; Baby change facilities may also be located in this room. The room may be used by patients or visitors. If the Accessible Toilet is located in a patient care area the patient/ nurse call and emergency call points should be included. Acoustics: Sound attenuation level - High - Acoustic privacy.

## Items in Room
Standard Components - Items in Room
1st March 2016
Generated by dRofus (C) dRofus Pty Ltd
[7 empty] | Fabrics |  |  | Service allocations
Connections
[7 empty] | Material | Finish | Specification | Ele | Data | CdW | HtW | Tap | WmW | Dns | Gas | Stm
AusHFG Room Code | Room Name | Item list | BIM ID | Name | Gross quantity | Comment | (Single line edit) | (Single line edit) | (Single line edit) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field) | (Logic field)
WCAC | Toilet - Accessible | Fabrics | 1000 | Floor finish | 1 | Default = Vinyl; tiles also acceptable | Vinyl | Standard slip resistant | Seamless, coved | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | Fabrics | 2000 | Skirting | 1 | Default = Vinyl coved; or tiles for tiled floor | Vinyl | Prefinished | Floor vinyl coved, 150 mmH | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | Fabrics | 2708 | Wall finish | 1 | Selection of material to comply with Part D Infection Prevention and Control AusHFG. |  |  | Splashback to basin | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | Fabrics | 3000 | Wall finish | 1 |  | Paint | Acrylic, washable |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | Fabrics | 5023 | Ceiling - Plasterboard | 1 |  | Plasterboard | Prefinished | Water resistant, drop in tiles, 600x1200 | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | Fabrics | 6030 | Cornice | 1 |  | Aluminium | Powdercoat | 24mm shadow angle | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | Fabrics | 8010 | Door protection | 1 | Equal to 'Acrovyn'; both sides | Composite | Prefinished PVC | Protection plate to 900 AFFL | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | Fabrics | 8040 | Door protection | 1 | Optional. To be decided at project level. | Composite | Prefinished PVC | To door frame | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | Fabrics | 9001 | Door - 1100mm | 1 | 910mm clear opening, privacy latch, emergency release | Solid Core | Paint | Single leaf | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | FE | FE-3050 | Basin - handwash, accessible | 1 | Tapware: mixer, fixture mounted. |  |  |  | No | No | Yes | No | Yes | Yes | Yes | No | No
WCAC | Toilet - Accessible | FE | FE-5604 | Toilet suite - accessible | 1 | With backrest. Concealed cistern, optional. |  |  |  | No | No | Yes | No | Yes | No | Yes | No | No
WCAC | Toilet - Accessible | FF | FF-13700 | Mirror | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | FF | FF-19100 | Waste bin - sanitary | 1 | Optional, depends on Waste Management Policy. |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | FF | FF-3400 | Coathook | 2 |  |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | FF | FF-390 | Baby change table | 1 | optional |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | FF | FF-5824 | Waste bin - general | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | FF | FF-6154 | Dispenser - paper/ hand towel | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | FF | FF-6156 | Dispenser - soap | 1 | to handbasin |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | FF | FF-6160 | Dispenser - toilet paper | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | FF | FF-7524 | Grab rail - WC, accessible use | 1 | behind toilet |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | FF | FF-8400 | Grab rail - WC | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | SE | S-4033 | Floor waste | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | SE | S-5019 | Exhaust | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | SE | S-6000 | General fluorescent | 1 | Sensor light optional. |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | SE | S-6200 | Light switches | 1 |  |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | SE | S-8000 | Patient/ Staff call | 1 | + indicator button & light, optional |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | SE | S-8010 | Staff/ Nurse assist call | 1 | + indicator button & light, optional |  |  |  | No | No | No | No | No | No | No | No | No
WCAC | Toilet - Accessible | SE | S-8080 | Emergency call | 1 | + indicator button & light, optional |  |  |  | No | No | No | No | No | No | No | No | No