## Room Data
Standard Components - Room Data Sheet
Date of issue: 18.01.2021
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
WCAC | Toilet - Accessible | 6 | 24 Hours | 1 |  | Sound attenuation level high, Acoustic privacy is required. | The Toilet - Accessible provides a toilet and basin for use by patients, visitors or staff with disabilities (with or without assistance). A baby change table may also be located in this room. If the Toilet - Accessible is located in a patient care area the nurse call system should be included and emergency release door hardware should be installed to allow staff access in an emergency. An operational model for responding to calls from staff/patients will be needed to support the inclusion of a nurse call system. The entrance to the room should be flush with the adjoining floor. The room shall comply with Australian Standard 1428.1. Signage with braille tactile nominating 'Unisex Accessible WC' required (including RH or LH dependent on layout).

## Items
Standard Components - Items in room
Date of issue: 18.01.2021
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
WCAC | Toilet - Accessible | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 5 | to be tiles if tiled floor
WCAC | Toilet - Accessible | FA | FLVY-009 | FLOOR FINISH: vinyl, seamless, coved, wet area, non-slip | 1 | tiles are also acceptable
WCAC | Toilet - Accessible | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 1
WCAC | Toilet - Accessible | FA | WLWA-007 | WALL FINISH: splashback | 1
WCAC | Toilet - Accessible | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 4
WCAC | Toilet - Accessible | FA | CLTI-014 | CEILING: plasterboard, water resistant, drop-in tiles, prefinished, 600 x 1200 | 1
WCAC | Toilet - Accessible | FA | DWSC-003 | DOOR: 910mm c/o, single leaf, solid core, paint | 1 | with privacy latch, emergency release required if inward opening door
WCAC | Toilet - Accessible | FA | CLCN-009 | CORNICE: wall trim fixing | 1
WCAC | Toilet - Accessible | FFE | FQBS-035 | CHANGE TABLE: baby | 1 | optional
WCAC | Toilet - Accessible | FFE | FIHR-026 | HOOK: coat | 2
WCAC | Toilet - Accessible | FFE | FQCW-016 | BIN: waste, general, 20L | 1
WCAC | Toilet - Accessible | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1
WCAC | Toilet - Accessible | FFE | FIDI-030 | DISPENSER: soap | 1
WCAC | Toilet - Accessible | FFE | FIDI-036 | DISPENSER: toilet paper | 1
WCAC | Toilet - Accessible | FFE | FIRT-007 | GRAB RAIL: WC, accessible use | 1
WCAC | Toilet - Accessible | FFE | FIRT-006 | GRAB RAIL: WC | 1
WCAC | Toilet - Accessible | FFE | FIBM-006 | MIRROR: fixed, glass | 1
WCAC | Toilet - Accessible | FFE | FQCW-037 | BIN: waste, sanitary | 1
WCAC | Toilet - Accessible | FFE | HYBA-005 | BASIN: handwash, accessible | 1
WCAC | Toilet - Accessible | FFE | HYWC-001 | TOILET SUITE: accessible | 1 | Large format flush buttons to cistern
WCAC | Toilet - Accessible | FFE | HYTP-035 | TAPWARE: mixer, basin, accessible | 1
WCAC | Toilet - Accessible | FFE | FIGE-011 | BACKREST: accessible toilet | 1
WCAC | Toilet - Accessible | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | optional
WCAC | Toilet - Accessible | SE | HYDR-004 | DRAIN: floor waste | 1
WCAC | Toilet - Accessible | SE | ELBO-015 | SWITCH: light, single | 1
WCAC | Toilet - Accessible | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 1
WCAC | Toilet - Accessible | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | optional