## SOA_B.0137_4
HPU 137 Mental Health Intensive Care Unit - Schedule of Accommodation, Version 4
ENTRY, WAITING AND RECEPTION
Room Code | Room Name | SC/ SC-D | 12 Beds |  | Comments
|  |  | Qty | m2
AIRLE-12 | Airlock - Entry | SC-D | 1 | 10
RECP-10 | Reception | SC | 1 | 10 | A dedicated MHICU reception, depending on relationship to main reception for mental health services on site. Can be smaller depending on clerical functions occurring in this area.
WAIT-S | Waiting, Sub | SC | 1 | 5 | May be shared with other units
WCAC | Toilet - Accessible | SC | 1 | 6 | Depending on proximity of other visitor amenities.
BPROP | Bay - Property, Visitors | SC-D | 1 | 2 | Assess storage provision for visitor use.
BBEV | Bay - Beverage | SC-D | 1 | 3 | Optional. May be part of the Waiting Area.
TRBNL | Tribunal Hearing Room | SC | 1 | 30 | Consider jurisdictional requirements for design and support rooms. May be used as a multipurpose meeting room. Provision of associated adjacent rooms such as Bev Bay & WC required in some jurisdictions.
| Discounted Circulation |  | 25%
SECURE ENTRY ZONE
Room Code | Room Name | SC/ SC-D | 12 Beds |  | Comments
|  |  | Qty | m2
| Police / Ambulance Enclosed Transfer Area |  | 1 | 45
AIRLE-12 | Airlock - Entry | SC-D | 1 | 10 | Support an ambulance trolley and multiple staff assisting
| Gun Safe Alcove |  | 1 | 2 | Optional. Includes bench for paperwork.
INTV-MH | Interview / Discussion Room - Mental Health | SC | 1 | 14 | Size of room and furniture configuration to support movement of consumers and visitors in wheelchairs.
ENS-MH-IN ENS-MH-NE | Ensuite - Mental Health | SC | 1 | 5
| Discounted Circulation |  | 32%
CONSUMER AREAS
Room Code | Room Name | SC/ SC-D | 12 Beds |  | Comments
|  |  | Qty | m2
1BR-MH-IN 1BR-MH-NE | 1 Bed Room - Mental Health | SC | 11 | 15
ENS-MH-IN ENS-MH-NE | Ensuite - Mental Health | SC | 11 | 5
1BR-MH-IN 1BR-MH-NE | 1 Bed Room - Mental Health, Special | SC-D | 1 | 18 | For bariatric, disabled consumers.
ENS-MH-IN ENS-MH-NE | Ensuite - Mental Health, Special | SC-D | 1 | 7 | For bariatric, disabled consumers.
BHWS-B | Bay - Handwashing, Type B | SC | 2 | 1 | Recessed bays in corridors. Locate one near dining area for consumer access to hand hygiene facilities prior to consuming meals.
| Staff / Consumer Interface |  | 1 | 14 | Decentralised base for staff/consumer engagement. Allocation of area may be adjusted between the staff/consumer interface and clinical workroom.
OFF-CLN | Office - Clinical Workroom | SC | 1 | 15 | Including benching and computers. Allocation of area may be adjusted between the staff/consumer interface and clinical workroom.
LAUN-MH | Laundry - Mental Health | SC | 1 | 6 | For use by staff and/or supervised consumers.
DINR | Dining Room | SC-D | 1 | 31 | Also used as a multifunctional group space, may be separated spaces to enable separation of consumers. Overall size of dining/beverage bay and lounge/ recreational areas based on 10m2 per person.
BBEV-MH | Bay - Beverage, Mental Health | SC | 1 | 4 | Adjacent to Dining Room. With 24-hour access to chilled water and controlled access to boiling/hot water. Overall size of dining/beverage bay and lounge/ recreational areas based on 10m2 per person.
| Lounge - General / Shared |  | 1 | 35 | Main lounge/activity area. Overall size of dining/beverage bay and lounge/ recreational areas based on 10m2 per person.
| Lounge - Sitting Area |  | 2 | 10 | Quiet sitting area adjacent to each pod. Lounge spaces may be distributed to support separated clusters/ pods. Overall size of dining/beverage bay and lounge/ recreational areas based on 10m2 per person.
LNGE-10 LNGE-20 | Lounge - Patient / Family | SC-D | 2 | 15 | For visitor access without traversing inpatient unit. This room must not be free egress upon entering the room. Lounge spaces may be distributed to support separated clusters/ pods. Overall size of dining/beverage bay and lounge/ recreational areas based on 10m2 per person.
| Indoor Exercise Room |  | 1 | 20 | For consumer use, collocate with open lounge area for visibility, staff supervision and flexible use of space.
| Sensory Modulation Room |  | 1 | 12
| De-escalation Area |  | 1 | 18 | Refer to Outdoor Areas - Consumer for co-located outdoor area requirement.
STPP | Store - Patient Property | SC-D | 1 | 18 | Adjust area allocation to consider consumer cohorts and operational policies relating to storage of consumer belongings.
| Discounted Circulation |  | 32%
OUTDOOR AREAS - CONSUMER
Room Code | Room Name | SC/ SC-D | 12 Beds |  | Comments
|  |  | Qty | m2
| Outdoor Area - General |  | 1 | 120 | Based on 10m2 per person and 100% occupancy. Reduce to accommodate courtyards off pods. Outdoor space may be distributed to support separated clusters/pods. If divided into smaller areas, min. 20m2 size is to be provided in each location.
| Outdoor Area - De-escalation |  | 1 | 20 | To be located with De-escalation Suite.
| Discounted Circulation |  | 0%
SECLUSION SUITE ‐ OPTIONAL
Room Code | Room Name | SC/ SC-D | 12 Beds |  | Comments
|  |  | Qty | m2
SECL | Seclusion Room | SC | 1 | 14 | Optional.
| Seclusion Access Area |  | 1 | 10 | Optional. Required if Seclusion Room is provided. For safe access to seclusion room that supports consumer privacy and dignity. Area requirement will be subject to design.
ENS-MH-IN | Ensuite – Seclusion | SC | 1 | 5 | Optional. Required if Seclusion Room is provided.
| Discounted Circulation |  | 32%
CLINICAL SUPPORT
Room Code | Room Name | SC/ SC-D | 12 Beds |  | Comments
|  |  | Qty | m2
INTV-MH | Interview Room - Mental Health | SC | 2 | 14 | 2 doors; 1 interview/consult room per 4 beds. Size of room and furniture configuration to support movement of consumers and visitors in wheelchairs. May need larger room to accommodate large families and family members bringing prams.
CONS | Consult Room | SC-D | 1 | 14
OFF-1P-9 | Office - 1 Person, 9m2 | SC |  | 9 | Quantity and area allocation will be dependent on staff profile and local jurisdictional policies relating to staff work areas.
OFF-2P | Office - 2 Person | SC |  | 12 | Quantity and area allocation will be dependent on staff profile and local jurisdictional policies relating to staff work areas.
MED-14 | Medication Room | SC-D | 1 | 8 | Includes space for resuscitation trolley (1.5m2)
CLN-10 | Clean Store | SC-D | 1 | 8
BLIN | Bay - Linen | SC | 1 | 2 | Enclosed and lockable
BMT | Bay - Meal Trolley | SC | 1 | 4
| Kitchen |  | 1 | 20 | Optional, if food services is bulk supply rethermalisation model. Provision dependent on food service model. Staff access only.
DTUR-S | Dirty Utility, Sub | SC | 1 | 8 | Optional, may be shared with another unit.
STGN | Store - General | SC-D | 1 | 8
STEQ-14 | Store - Equipment | SC-D | 1 | 12 | Indoor and outdoor activity equipment, occupational therapy equipment.
CLRM | Cleaner's Room | SC | 1 | 5
DISP-10 | Disposal Room | SC-D | 1 | 8 | Second entry door to external corridor recommended to reduce access to MHICU. Size requirements will be dependent on a department's estimated waste output, the frequency of waste collection and local operational policies for waste management that may dictate the number of waste streams and minimum bin sizes.
| Discounted Circulation |  | 32%
STAFF WORK AREAS AND AMENITIES
Room Code | Room Name | SC/ SC-D | 12 Beds |  | Comments
|  |  | Qty | m2
OFF-1P-12 | Office - 1 Person, 12m2 | SC |  | 12 | Quantity and area allocation will be dependent on staff profile and local jurisdictional policies relating to staff work areas.
OFF-1P-9 | Office - 1 Person, 9m2 | SC |  | 9 | Quantity and area allocation will be dependent on staff profile and local jurisdictional policies relating to staff work areas.
OFF-WS | Office - Workstation | SC |  | 4.5 | Quantity and area allocation will be dependent on staff profile and local jurisdictional policies relating to staff work areas.
BMFD-3 | Bay - Multifunction Device | SC | 1 | 3 | May be incorporated into reception.
SRM-15 | Staff Room | SC-D | 1 | 18
BPROP | Bay - Property, Staff | SC-D | 1 | 3
WCST | Toilet - Staff | SC | 2 | 3
SHST | Shower - Staff | SC | 1 | 3
| Discounted Circulation |  | 25%
OUTDOOR AREAS - STAFF
Room Code | Room Name | SC/ SC-D | 12 Beds |  | Comments
|  |  | Qty | m2
| Outdoor Area - Staff |  | 1 | 15
| Discounted Circulation |  | 0%