## HPU 155 SOA V8
HPU 155 Ambulatory Care and Community Health, Revision 8
ENTRY / RECEPTION / WAITING
Room Code | Room Name | SC/ SC-D | 12 Rooms + 12 Medical Day Spaces |  | 36 Rooms + 24 Medical Day Spaces |  | Comments
|  |  | Qty | m2 | Qty | m2
AIRLE-12 | Airlock - Entry | SC-D | 1 | 10 | 1 | 10 | Optional for all scenarios. Provide when unit is located on a stand-alone site and/or where a dedicated direct external entry from an outdoor area or street is provided.
RECP-10 RECP-20 | Reception | SC | 1 | 10 | 1 | 20 | May be decentralised with separate sub-wait areas for each zone.
WAIT-30 | Waiting | SC/ SC-D | 1 | 30 | 2 | 25 | Area recommendation is indicative and will depend on the no. of people to be accommodated. 1.2m2 recommended per seat, 1.5m2 per wheelchair space. May be further divided into sub-wait areas for appropriate separation of client cohorts (e.g., a separated waiting area for families with children and prams) and to facilitate wayfinding. Consider infrastructure requirements for patient self-registration and access to education/health promotion resources.
PLAY | Play Area | SC/ SC-D | 1 | 8 | 1 | 10 | Increase the size accordingly if unit is a fully dedicated paediatric area. Direct line of sight by parents/carer is required especially when collocating paediatric and adult waiting rooms.
BWC | Bay - Wheelchair Park | SC/ SC-D | 1 | 2 | 1 | 4
BWTR | Bay - Water Fountain | SC | 1 | 1 | 1 | 1
WCPU | Toilet - Public | SC | 1 | 3 | 2 | 3 | Number of toilets to align with building code requirements.
WCAC | Toilet - Accessible | SC | 1 | 6 | 1 | 6 | Optional for all scenarios. To be included if not located nearby.
PAR | Parenting Room | SC | 1 | 9 | 1 | 9 | Optional for all scenarios. To be included if not located nearby or assess requirement if unit does not provide paediatric services.
| Discounted Circulation |  | 25% |  | 25%
PATIENT AREAS: MULTIFUNCTIONAL ROOMS
Room Code | Room Name | SC/ SC-D | 12 Rooms |  | 36 Rooms |  | Comments
|  |  | Qty | m2 | Qty | m2
CONS | Consult Room | SC | 6 | 12 | 20 | 12 | Assume large units are divided into pods. Number dependent on scope of services and projected utilisation. 14m2 required for child-related services.
CONS-UN | Consult Room - Universal Access | SC | 1 | 17 | 1 | 17 | Number to be provided will depend on the patient cohort e.g. disabled people and those with bariatric needs. A shared room, not assigned to any specific clinician or specialty.
INTV | Interview Room | SC | 4 | 12 | 12 | 12 | Assume large units are divided into pods. Number dependent on scope of services and projected utilisation. Consider a multi-use interview room in a quieter area for bereavement or for patients receiving difficult diagnoses.
TRMT | Treatment Room | SC | 1 | 15 | 3 | 15 | For minor procedures, number dependent on scope of services and projected utilisation.
WCPT | Toilet - Patient | SC | 1 | 4 | 2 | 4 | Collocate with specimen collection bay where provided for urine testing. Observed urine testing for drug screening will require appropriate design.
BHW | Bay - Height / Weight | SC | 1 | 2 | 1 | 2
CLN-10 | Clean Store | SC/ SC-D | 1 | 6 | 1 | 10 | May be provided as a combined Clean Store / Medication Room depending on local jurisdictional policies.
MED-14 | Medication Room | SC/ SC-D | 1 | 6 | 1 | 6 | May be provided as a combined Clean Store / Medication Room depending on local jurisdictional policies. A proprietary medication dispensing system secured in situ may also be considered depending on medication policies. Adjust room area to suit.
OFF-CLN | Office - Clinical Workroom | SC-D | 1 | 12 | 3 | 12 | Optional for all scenarios. Assume 1 per pod if provided to accommodate support personnel/staff.
OFF-WS | Office – Workstation | SC |  | 4.5 |  | 4.5 | The majority of work areas should be located in the staff zone; however. a number of workstations may be required within the clinical zone. Number and area allocation will depend on staff profile and local jurisdictional policies.
INTV-MH | Interview Room - Mental Health | SC | 1 | 14 | 1 | 14 | Optional for all scenarios. For patients with mental health conditions to reduce risk to staff and patients.
PBSC | Patient Bay - Specimen Collection | SC | 1 | 9 | 1 | 9 | Optional for all scenarios. Inclusion is dependent on service scope. 9m2 assumes provision of an open bay. Assume 12m2 for an enclosed specimen collection room.
MEET-20 | Meeting Room, Medium | SC | 1 | 20 | 1 | 20 | Optional for all scenarios. Use for group activities, education and integrated care case reviews. Number and size is dependent on scope of services and projected utilisation.
MEET-30 | Meeting Room, Large | SC-D |  |  | 1 | 40 | Optional for 36-room scenario. Commonly used for community health group classes and education. Size will be dependent on scope of services and projected utilisation. Provide external access for after-hours use.
| Observation Room |  | 1 | 9 | 1 | 9 | Optional for all scenarios. Highly utilised by allied health but may also be required in child health and mental health.
DTUR-S | Dirty Utility, Sub | SC | 1 | 8 | 1 | 8 | Optional for all scenarios. May include a combined disposal room function. Requirements will depend on service profile, e.g., these are frequently used for continence and palliative care clinics. Inclusion of pan washer, pan and bottle racks is optional.
| Discounted Circulation |  | 32% |  | 32%
PATIENT AREAS: MEDICAL DAY TREATMENT
Room Code | Room Name | SC/ SC-D | 12 Spaces |  | 24 Spaces |  | Comments
|  |  | Qty | m2 | Qty | m2
PBTR-MD | Patient Bay - Medical Day Treatment | SC | 11 | 9 | 22 | 9 | Acute treatment spaces. May be arranged in pods of 2-4 chairs, designed to ensure staff have oversight across the unit.
PBTR-MD | Patient Room - Medical Day Treatment | SC-D | 1 | 12 | 2 | 12 | An enclosed room with access to handwash basin. Allocation is indicative only and inclusion will be dependent on local requirements. Inclusion of positive or negative pressure rooms will depend on service scope.
ENS-ST-A1 ENS-ST-A2 ENS-ST-A3 ENS-ST-B ENS-ST-C | Ensuite - Standard | SC | 1 | 5 | 2 | 5 | For enclosed rooms.
BHWS-B | Bay - Handwashing, Type B | SC | 3 | 1 | 6 | 1 | 1 between 4 spaces.
BMEQ | Bay - Mobile Equipment | SC/ SC-D | 1 | 2 | 1 | 4
SSTN-10 SSTN-14 | Staff Station | SC | 1 | 10 | 1 | 14
CLN-10 | Clean Store | SC-D | 1 | 6 | 1 | 8 | May be provided as a combined Clean Store / Medication Room depending on local jurisdictional policies.
MED-14 | Medication Room | SC-D | 1 | 6 | 1 | 8 | Assume +4m2 for chemo services to accommodate cytotoxic, blood and medication fridges and additional IV fluids. Consider incorporating additional spaces for a collocated satellite pharmacy in smaller facilities, allocated cytotoxic reconstitution area, and a separate monoclonal antibody (mAb) compounding room in units that offer these specialised services. May be provided as a combined Clean Store / Medication Room depending on local jurisdictional policies.
DTUR-S DTUR-12 | Dirty Utility - Sub | SC | 1 | 8 | 1 | 12 | May also include disposal room function. Inclusion of pan washer, pan and bottle racks is optional. Chemo services will include cytotoxic waste.
WCPT | Toilet - Patient | SC | 1 | 4 | 3 | 4 | Also consider dedicated toilet and/or shower for use by patients receiving chemotherapy treatment if collocated with other ambulatory care services.
WCAC | Toilet - Accessible | SC | 1 | 6 | 1 | 6
CONS | Consult Room | SC | 1 | 12 | 1 | 12 | Optional for all scenarios if service is not collocated with other ambulatory care services.
PROC | Procedure Room | SC | 1 | 20 | 1 | 20 | Optional for all scenarios. Inclusion and number dependent on service scope and utilisation.
BES | Bay - Emergency Shower | SC | 1 | 1 | 1 | 1 | Optional for all scenarios, depending on service profile. Emergency eye/face wash station is required for chemo services but may be provided separate from the shower. The placement of emergency shower in an alternative location instead of the corridor may be risked assessed for containment of water splashes.
| Discounted Circulation |  | 32% |  | 32%
SHARED SUPPORT
Room Code | Room Name | SC/ SC-D | 12 Rooms + 12 Medical Day Spaces |  | 36 Rooms + 24 Medical Day Spaces |  | Comments
|  |  | Qty | m2 | Qty | m2
| Telehealth Room |  |  | 6 |  | 6 | Number dependent on operational guideline of the unit. If included in services, telehealth booths may also be provided in the public areas of the unit for client/patient use. Where mobile telehealth units are provided, allocate designated docking area for parking and recharging.
BBEV | Bay - Beverage | SC | 1 | 4 | 1 | 4
BLIN | Bay - Linen | SC | 1 | 2 | 1 | 2
STEQ-14 | Store - Equipment | SC/ SC-D | 1 | 7 | 1 | 14
STGN | Store - General | SC |  | 9 | 1 | 9 | Shared for 12 Rooms + 12 Medical Day Spaces scenario. Sized to meet storage needs and operational arrangements.
CLRM | Cleaner's Room | SC | 1 | 5 | 1 | 5 | May be shared with an adjacent service.
BRES | Bay - Resuscitation Trolley | SC | 1 | 1.5 | 1 | 1.5 | Optional for all scenarios. Inclusion will depend on operational policies. May include basic or advanced life support trolleys depending on service profile.
DISP-10 | Disposal Room | SC/ SC-D | 1 | 8 | 1 | 10 | Optional for all scenarios. May be shared with an adjacent service or provided as a separate waste compound for the facility e.g., for standalone community health centres. Other 'back of house' services requirements will require confirmation for standalone centres. Size requirements for a Disposal Room will be dependent on a department's estimated waste output, the frequency of waste collection and local operational policies for waste management that may dictate the number of waste streams and minimum bin sizes.
| Discounted Circulation |  | 32% |  | 32%
STAFF AREAS
Room Code | Room Name | SC/ SC-D | 12 Rooms + 12 Medical Day Spaces |  | 36 Rooms + 24 Medical Day Spaces |  | Comments
|  |  | Qty | m2 | Qty | m2
OFF-1P-9 | Office - 1 Person | SC |  | 9 |  | 9 | Number and area allocation will depend on staff profile and local jurisdictional policies.
OFF-WS | Office - Workstation | SC |  | 4.5 |  | 4.5 | Number and area allocation will depend on staff profile and local jurisdictional policies.
BMFD-3 | Bay - Multifunction Device | SC | 1 | 3 | 1 | 3 | Size dependent on number/type of printers and sizes of shredder and paper bins. Adjust area to accommodate paper-based resources required by the unit.
MEET-15 MEET-20 | Meeting Room | SC | 1 | 15 | 1 | 20 | Size will depend on number of people to be accommodated.
SRM-15 | Staff Room | SC | 1 | 15 | 1 | 15 | Requirements will depend on staff profile and opportunity to share with adjacent services.
BPROP | Bay - Property, Staff | SC/ SC-D | 1 | 1 | 1 | 2 | Indicative only and space allocation will be dependent on staff numbers and local policies.
WCST | Toilet - Staff | SC | 2 | 3 | 3 | 3 | Number in accordance with staff profile and building code requirements. Access to an accessible toilet will be required.
| Discounted Circulation |  | 25% |  | 25%
OPIOID TREATMENT - DOSING UNIT (OPTIONAL)
Room Code | Room Name | SC/ SC-D | Opioid Treatment Dosing Unit |  | Comments
|  |  | Qty | m2
WAIT-20 | Waiting | SC | 1 | 20 | Optional.
| Dosing Area |  | 1 | 4 | Optional.
| Dispensary |  | 1 | 9 | Optional.
WCAC | Toilet - Accessible | SC | 1 | 6 | Optional. Specimen collection
MED-14 | Medication Room | SC-D | 1 | 8 | Optional. Including S8 drug safe.
| Discounted Circulation |  | 25 - 32%