## Renal Dialysis - 6 chairs
RENAL DIALYSIS UNIT - 6 CHAIRS
Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ENTRY/ RECEPTION/ WAITING
WAIT-10 | Waiting | Yes | 1 | 12 | Small beverage bay to be located here.
RECL-10 | Reception, Clerical | Yes | 1 | 6
STPS-8 | Store - Photocopier/ Stationary | Yes | 1 | 6 | Adjacent to the reception/clerical area. Accessible to other staff as well
OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Nursing manager
MEET-9 | Meeting Room | Yes | 1 | 12 | For staff meetings, community training and other functions. Should be fitted with teleconferencing. May also be used by families for private conversations.
| Training/ Treatment Room |  | 1 | 14
WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6 | Directly access from the waiting room. Door location should not permit a view into the toilet
| Discounted Circulation |  |  | 30%
TREATMENT AREA
SSTN-10 | Staff Station | Yes | 1 | 10 | May need to be subdivided in larger units
TRMT-RD-A | Treatment Bay - Renal Dialysis | Yes | 5 | 9
WCPT | Toilet - Patient, 3m2 | Yes | 1 | 4 | For use by persons in open treatment bays
1BR-H-12 | 1 Bed Room - Holding, 12m2 | Yes | 1 | 12
BPPE | Bay - PPE | Yes | 1 | 1.5 | A Personal Protective Equipment Bay (one shared between two rooms) outside the isolation
ENS-ST-A1 | Ensuite, 5m2 | Yes | 1 | 5 | One toilet/shower for the dedicated use of each isolation room. A toilet without a shower may also be sufficient.
BHWS-B | Bay - Handwashing, Type B | Yes | 2 | 1 | One hand washing basin per 3 bays or part thereof is required.
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes | 1 | 4 | To receive and issue meals and beverages to persons receiving treatment
| Discounted Circulation |  |  | 35%
SUPPORT AREAS
CLUR-12 | Clean Utility/ Medication Room | Yes | 1 | 12
| Maintenance/ Equipment Clean-up |  | 1 | 6 | For the cleaning and servicing of haemodialysis and other machinery
DTUR-10 | Dirty Utility | Yes | 1 | 10
WTPL | Water Treatment Plant Room | Yes | 1 | 15 | Close to treatment areas to reduce piping runs.
BRES | Bay - Resuscitation Trolley | Yes | 1 | 1.5 | Adjacent to staff station.
STBK-20 | Store - Bulk | Yes | 1 | 7
BLIN | Bay - Linen | Yes | 1 | 2 | Cupboard or trolley bay to hold clean laundry
DISP-8 | Disposal Room | Yes | 1 | 2 | Or bay
BMEQ-4 | Bay - Mobile Equipment | Yes | 1 | 2 | These space will also be used to park WOW when not in use.
CLRM-5 | Cleaner's Room | Yes | 1 | 5
BS-1 | Bay - Storage | Yes | 1 | 1
| Dialysate Preparation Area |  | 1 | 1 | Space adjacent to Dialysis Fluid Bay. May be subdivided to enhance staff access.
| Discounted Circulation |  |  | 25%
STAFF AREAS
OFF-S9 | Office – Single Person, 9m2 | Yes | 1 | 9 | Allocation dependent on staffing profile and local office policies. May accommodate nurse educator, social worker, clinical nurse consultants etc.
SRM-15 | Staff Room |  | 1 | 12 | Discreet location. Adjacent to Staff Room if provided in the Unit. Access to a shower may also be needed if one is not provided nearby.
WCST | Toilet – Staff, 3m2 |  | 1 | 3 | Discreet and secure location. Adjacent to Staff Rm.
PROP-2 | Property Bay - Staff, 2m2 |  | 1 | 2
| Discounted Circulation |  |  | 25%

## Renal Dialysis - 12 chairs
RENAL DIALYSIS UNIT - 12 CHAIRS
Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ENTRY/ RECEPTION/ WAITING
WAIT-10 | Waiting | Yes | 1 | 24 | Small beverage bay to be located here.
RECL-10 | Reception, Clerical | Yes | 1 | 8
STPS-8 | Store - Photocopier/ Stationary | Yes | 1 | 8 | Adjacent to the reception/clerical area. Accessible to other staff as well
OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Nursing manager
MEET-9 | Meeting Room | Yes | 1 | 20 | For staff meetings, community training and other functions. Should be fitted with teleconferencing. May also be used by families for private conversations.
CONS | Consult Room | Yes | 1 | 12
| Training/ Treatment Room |  | 1 | 14
WCPU-4 | Toilet - Public, 3m2 | Yes | 1 | 3 | Directly access from the waiting room. Door location should not permit a view into the toilet
WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6 | Directly access from the waiting room. Door location should not permit a view into the toilet
| Discounted Circulation |  |  | 30%
TREATMENT AREA
SSTN-10 | Staff Station | Yes | 1 | 12 | May need to be subdivided in larger units
WCPT | Toilet - Patient, 3m2 | Yes | 1 | 4 | For use by persons in open treatment bays
SHD | Shower - Accessible, 4m2 | Yes |  |  | Optional and only included where nocturnal services are provided.
1BR-H-12 | 1 Bed Room - Holding, 12m2 | Yes | 2 | 12
BPPE | Bay - PPE | Yes | 1 | 1.5 | A Personal Protective Equipment Bay (one shared between two rooms) outside the isolation
ENS-ST-A1 | Ensuite, 5m2 | Yes | 2 | 5 | One toilet/shower for the dedicated use of each isolation room. A toilet without a shower may also be sufficient.
BHWS-B | Bay - Handwashing, Type B | Yes | 3 | 1 | One hand washing basin per 3 bays or part thereof is required.
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes | 1 | 4 | To receive and issue meals and beverages to persons receiving treatment
| Discounted Circulation |  |  | 35%
SUPPORT AREAS
CLUR-12 | Clean Utility/ Medication Room | Yes | 1 | 12
| Maintenance/ Equipment Clean-up |  | 1 | 8 | For the cleaning and servicing of haemodialysis and other machinery
DTUR-10 | Dirty Utility | Yes | 1 | 10
WTPL | Water Treatment Plant Room | Yes | 1 | 18 | Close to treatment areas to reduce piping runs.
BRES | Bay - Resuscitation Trolley | Yes | 1 | 1.5 | Adjacent to staff station.
STBK-20 | Store - Bulk | Yes | 1 | 21
BLIN | Bay - Linen | Yes | 1 | 2 | Cupboard or trolley bay to hold clean laundry
DISP-8 | Disposal Room | Yes | 1 | 3 | Or bay
BMEQ-4 | Bay - Mobile Equipment | Yes | 1 | 4 | These space will also be used to park WOW when not in use.
CLRM-5 | Cleaner's Room | Yes | 1 | 5
BS-1 | Bay - Storage | Yes | 1 | 1
| Dialysate Preparation Area |  | 1 | 1 | Space adjacent to Dialysis Fluid Bay. May be subdivided to enhance staff access.
| Discounted Circulation |  |  | 25%
STAFF AREAS
OFF-S9 | Office – Single Person, 9m2 | Yes | 1 | 9 | Allocation dependent on staffing profile and local office policies. May accommodate nurse educator, social worker, clinical nurse consultants etc.
| Office – Workstation |  |  | 5.5 | Discreet section of the Unit. May be shared if an easily accessible facility is available.
SRM-15 | Staff Room |  | 1 | 12 | Discreet location. Adjacent to Staff Room if provided in the Unit. Access to a shower may also be needed if one is not provided nearby.
WCST | Toilet – Staff, 3m2 |  | 1 | 3 | Discreet and secure location. Adjacent to Staff Rm.
PROP-2 | Property Bay - Staff, 2m2 |  | 1 | 2
| Discounted Circulation |  |  | 25%

## Renal Dialysis - 18 chairs
RENAL DIALYSIS UNIT - 18 CHAIRS
Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ENTRY/ RECEPTION/ WAITING
WAIT-10 | Waiting | Yes | 1 | 36 | Small beverage bay to be located here.
RECL-10 | Reception, Clerical | Yes | 1 | 10
STPS-8 | Store - Photocopier/ Stationary | Yes | 1 | 8 | Adjacent to the reception/clerical area. Accessible to other staff as well
OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Nursing manager
MEET-9 | Meeting Room | Yes | 1 | 30 | For staff meetings, community training and other functions. Should be fitted with teleconferencing. May also be used by families for private conversations.
CONS | Consult Room | Yes | 1 | 12
| Training/ Treatment Room |  | 1 | 14
WCPU-4 | Toilet - Public, 3m2 | Yes | 2 | 3 | Directly access from the waiting room. Door location should not permit a view into the toilet
WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6 | Directly access from the waiting room. Door location should not permit a view into the toilet
| Discounted Circulation |  |  | 30%
TREATMENT AREA
SSTN-10 | Staff Station | Yes | 1 | 14 | May need to be subdivided in larger units
TRMT-RD-A | Treatment Bay - Renal Dialysis | Yes | 15 | 9
WCPT | Toilet - Patient, 3m2 | Yes | 2 | 4 | For use by persons in open treatment bays
SHD | Shower - Accessible, 4m2 | Yes |  |  | Optional and only included where nocturnal services are provided.
1BR-H-12 | 1 Bed Room - Holding, 12m2 | Yes | 3 | 12
BPPE | Bay - PPE | Yes | 2 | 1.5 | A Personal Protective Equipment Bay (one shared between two rooms) outside the isolation
ENS-ST-A1 | Ensuite, 5m2 | Yes | 3 | 5 | One toilet/shower for the dedicated use of each isolation room. A toilet without a shower may also be sufficient.
BHWS-B | Bay - Handwashing, Type B | Yes | 4 | 1 | One hand washing basin per 3 bays or part thereof is required.
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes | 1 | 5 | To receive and issue meals and beverages to persons receiving treatment
| Discounted Circulation |  |  | 35%
SUPPORT AREAS
CLUR-12 | Clean Utility/ Medication Room | Yes | 1 | 14
| Maintenance/ Equipment Clean-up |  | 1 | 10 | For the cleaning and servicing of haemodialysis and other machinery
DTUR-10 | Dirty Utility | Yes | 1 | 10
WTPL | Water Treatment Plant Room | Yes | 1 | 18 | Close to treatment areas to reduce piping runs.
BRES | Bay - Resuscitation Trolley | Yes | 1 | 1.5 | Adjacent to staff station.
STBK-20 | Store - Bulk | Yes | 1 | 32
BLIN | Bay - Linen | Yes | 1 | 2 | Cupboard or trolley bay to hold clean laundry
DISP-8 | Disposal Room | Yes | 1 | 8 | Or bay
BMEQ-4 | Bay - Mobile Equipment | Yes | 2 | 4 | These space will also be used to park WOW when not in use.
CLRM-5 | Cleaner's Room | Yes | 1 | 5
BS-1 | Bay - Storage | Yes | 1 | 2
| Dialysate Preparation Area |  | 1 | 1.5 | Space adjacent to Dialysis Fluid Bay. May be subdivided to enhance staff access.
| Discounted Circulation |  |  | 25%
STAFF AREAS
OFF-S9 | Office – Single Person, 9m2 | Yes | 1 | 9 | Allocation dependent on staffing profile and local office policies. May accommodate nurse educator, social worker, clinical nurse consultants etc.
| Office – Workstation |  |  | 5.5 | Discreet section of the Unit. May be shared if an easily accessible facility is available.
SRM-15 | Staff Room |  | 1 | 15 | Discreet location. Adjacent to Staff Room if provided in the Unit. Access to a shower may also be needed if one is not provided nearby.
WCST | Toilet – Staff, 3m2 |  | 1 | 3 | Discreet and secure location. Adjacent to Staff Rm.
PROP-2 | Property Bay - Staff, 2m2 |  | 1 | 2
| Discounted Circulation |  |  | 25%

## Renal Dialysis - 24 chairs
RENAL DIALYSIS UNIT - 24 CHAIRS
Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ENTRY/ RECEPTION/ WAITING
WAIT-30 | Waiting | Yes | 1 | 48 | Small beverage bay to be located here.
RECL-10 | Reception, Clerical | Yes | 1 | 10
STPS-8 | Store - Photocopier/ Stationary | Yes | 1 | 8 | Adjacent to the reception/clerical area. Accessible to other staff as well
OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Nursing manager
MEET-L-30 | Meeting Room | Yes | 1 | 40 | For staff meetings, community training and other functions. Should be fitted with teleconferencing. May also be used by families for private conversations.
CONS | Consult Room | Yes | 1 | 12
| Training/ Treatment Room |  | 1 | 14
WCPU-4 | Toilet - Public, 3m2 | Yes | 2 | 3 | Directly access from the waiting room. Door location should not permit a view into the toilet
WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6 | Directly access from the waiting room. Door location should not permit a view into the toilet
| Discounted Circulation |  |  | 30%
TREATMENT AREA
SSTN-10 | Staff Station | Yes | 2 | 10 | May need to be subdivided in larger units
TRMT-RD-A | Treatment Bay - Renal Dialysis | Yes | 20 | 9
WCPT | Toilet - Patient, 3m2 | Yes | 2 | 4 | For use by persons in open treatment bays
SHD | Shower - Accessible, 4m2 | Yes | 1 | 4 | Optional and only included where nocturnal services are provided.
1BR-H-12 | 1 Bed Room - Holding, 12m2 | Yes | 4 | 12
BPPE | Bay - PPE | Yes | 2 | 1.5 | A Personal Protective Equipment Bay (one shared between two rooms) outside the isolation
ENS-ST-A1 | Ensuite, 5m2 | Yes | 4 | 5 | One toilet/shower for the dedicated use of each isolation room. A toilet without a shower may also be sufficient.
BHWS-B | Bay - Handwashing, Type B | Yes | 6 | 1 | One hand washing basin per 3 bays or part thereof is required.
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes | 1 | 5 | To receive and issue meals and beverages to persons receiving treatment
| Discounted Circulation |  |  | 35%
SUPPORT AREAS
CLUR-14 | Clean Utility/ Medication Room | Yes | 1 | 14
| Maintenance/ Equipment Clean-up |  | 1 | 12 | For the cleaning and servicing of haemodialysis and other machinery
DTUR-12 | Dirty Utility | Yes | 1 | 12
WTPL | Water Treatment Plant Room | Yes | 1 | 20 | Close to treatment areas to reduce piping runs.
BRES | Bay - Resuscitation Trolley | Yes | 1 | 1.5 | Adjacent to staff station.
STBK-40 | Store - Bulk | Yes | 1 | 42
BLIN | Bay - Linen | Yes | 2 | 2 | Cupboard or trolley bay to hold clean laundry
DISP-10 | Disposal Room | Yes | 1 | 8 | Or bay
BMEQ-4 | Bay - Mobile Equipment | Yes | 3 | 4 | These space will also be used to park WOW when not in use.
CLRM-5 | Cleaner's Room | Yes | 1 | 5
BS-4 | Bay - Storage | Yes | 1 | 3
| Dialysate Preparation Area |  | 1 | 1.5 | Space adjacent to Dialysis Fluid Bay. May be subdivided to enhance staff access.
| Discounted Circulation |  |  | 25%
STAFF AREAS
OFF-S9 | Office – Single Person, 9m2 | Yes | 1 | 9 | Allocation dependent on staffing profile and local office policies. May accommodate nurse educator, social worker, clinical nurse consultants etc.
| Office – Workstation |  |  | 5.5 | Discreet section of the Unit. May be shared if an easily accessible facility is available.
SRM-15 | Staff Room |  | 1 | 15 | Discreet location. Adjacent to Staff Room if provided in the Unit. Access to a shower may also be needed if one is not provided nearby.
WCST | Toilet – Staff, 3m2 |  | 1 | 3 | Discreet and secure location. Adjacent to Staff Rm.
PROP-2 | Property Bay - Staff, 2m2 |  | 1 | 2
| Discounted Circulation |  |  | 25%

## Renal Dialysis - 30 chairs
RENAL DIALYSIS UNIT - 30 CHAIRS
Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ENTRY/ RECEPTION/ WAITING
WAIT-30 | Waiting | Yes | 1 | 30 | Small beverage bay to be located here.
RECL-10 | Reception, Clerical | Yes | 1 | 10
STPS-8 | Store - Photocopier/ Stationary | Yes | 1 | 8 | Adjacent to the reception/clerical area. Accessible to other staff as well
OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Nursing manager
MEET-L-30 | Meeting Room | Yes | 1 | 40 | For staff meetings, community training and other functions. Should be fitted with teleconferencing. May also be used by families for private conversations.
CONS | Consult Room | Yes | 2 | 12
| Training/ Treatment Room |  | 1 | 14
WCPU-4 | Toilet - Public, 3m2 | Yes | 2 | 3 | Directly access from the waiting room. Door location should not permit a view into the toilet
WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6 | Directly access from the waiting room. Door location should not permit a view into the toilet
| Discounted Circulation |  |  | 30%
TREATMENT AREA
SSTN-10 | Staff Station | Yes | 2 | 12 | May need to be subdivided in larger units
TRMT-RD-A | Treatment Bay - Renal Dialysis | Yes | 25 | 9
WCPT | Toilet - Patient, 3m2 | Yes | 2 | 4 | For use by persons in open treatment bays
SHD | Shower - Accessible, 4m2 | Yes | 1 | 4 | Optional and only included where nocturnal services are provided.
1BR-H-12 | 1 Bed Room - Holding, 12m2 | Yes | 5 | 12
BPPE | Bay - PPE | Yes | 3 | 1.5 | A Personal Protective Equipment Bay (one shared between two rooms) outside the isolation
ENS-ST-A1 | Ensuite, 5m2 | Yes | 5 | 5 | One toilet/shower for the dedicated use of each isolation room. A toilet without a shower may also be sufficient.
BHWS-B | Bay - Handwashing, Type B | Yes | 8 | 1 | One hand washing basin per 3 bays or part thereof is required.
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes | 1 | 5 | To receive and issue meals and beverages to persons receiving treatment
| Discounted Circulation |  |  | 35%
SUPPORT AREAS
CLUR-14 | Clean Utility/ Medication Room | Yes | 1 | 14
| Maintenance/ Equipment Clean-up |  | 1 | 14 | For the cleaning and servicing of haemodialysis and other machinery
DTUR-12 | Dirty Utility | Yes | 1 | 12
WTPL | Water Treatment Plant Room | Yes | 1 | 24 | Close to treatment areas to reduce piping runs.
BRES | Bay - Resuscitation Trolley | Yes | 1 | 1.5 | Adjacent to staff station.
STBK-40 | Store - Bulk | Yes | 1 | 53
BLIN | Bay - Linen | Yes | 2 | 2 | Cupboard or trolley bay to hold clean laundry
DISP-10 | Disposal Room | Yes | 1 | 10 | Or bay
BMEQ-4 | Bay - Mobile Equipment | Yes | 3 | 4 | These space will also be used to park WOW when not in use.
CLRM-5 | Cleaner's Room | Yes | 1 | 5
BS-4 | Bay - Storage | Yes | 1 | 4
| Dialysate Preparation Area |  | 1 | 2 | Space adjacent to Dialysis Fluid Bay. May be subdivided to enhance staff access.
| Discounted Circulation |  |  | 25%
STAFF AREAS
OFF-S9 | Office – Single Person, 9m2 | Yes | 1 | 9 | Allocation dependent on staffing profile and local office policies. May accommodate nurse educator, social worker, clinical nurse consultants etc.
| Office – Workstation |  |  | 5.5 | Discreet section of the Unit. May be shared if an easily accessible facility is available.
SRM-15 | Staff Room |  | 1 | 18 | Discreet location. Adjacent to Staff Room if provided in the Unit. Access to a shower may also be needed if one is not provided nearby.
WCST | Toilet – Staff, 3m2 |  | 2 | 3 | Discreet and secure location. Adjacent to Staff Rm.
PROP-2 | Property Bay - Staff, 2m2 |  | 1 | 2
| Discounted Circulation |  |  | 25%