## Entry_Reception
ENTRY / RECEPTION
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0135.00.001 | Older Persons Acute Mental Health Unit | 22.05 Entry / Reception/ Interview | - | AIRLE-10 | Airlock - Entry, 10m2 | Yes | 1 | 10
B.0135.00.006 | Older Persons Acute Mental Health Unit | 22.05 Entry / Reception/ Interview | - | INTF | Interview Room | Yes | 1 | 14 | Access to enclosed outside courtyard is beneficial
B.0135.00.002 | Older Persons Acute Mental Health Unit | 22.05 Entry / Reception/ Interview | - | RECL-10 | Reception / Clerical, 10m2 | Yes | 1 | 10
B.0135.00.004 | Older Persons Acute Mental Health Unit | 22.05 Entry / Reception/ Interview | - | WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6 | Includes baby change facilities
B.0135.00.003 | Older Persons Acute Mental Health Unit | 22.05 Entry / Reception/ Interview | - | WAIT-10 | Waiting, 10m2 | Yes | 1 | 10
[5 empty] | Discounted Circulation % |  |  | 32%

## 8 Bed Cluster
CONSUMER / PATIENT AREA - 8 BED CLUSTER
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0135.00.007 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | 1 BR-MH | 1 Bed Room - Mental Health, 14m2 | Yes | 6 | 14
B.0135.00.008 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | 1 BR-MH | 1 Bed Room - Mental Health, 14m2 | Yes |  | 14
B.0135.00.009 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | 1 BR-MH | 1 Bed Room - Mental Health, 14m2 | Yes |  | 14
B.0135.00.010 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | 1 BR-MH | 1 Bed Room - Mental Health, 14m2 | Yes |  | 14
B.0135.00.011 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | 1 BR-MH | 1 Bed Room - Mental Health, 14m2 | Yes |  | 14
B.0135.00.012 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | 1 BR-MH | 1 Bed Room - Mental Health, 14m2 | Yes |  | 14
B.0135.00.013 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - |  | 1 Bed Room - Special, 18m2 |  | 2 | 18 | Bariatric patients and support increased mobility equipment.
B.0135.00.014 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - |  | 1 Bed Room - Special, 18m2 |  |  | 18 | Bariatric patients and support increased mobility equipment.
B.0135.00.015 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | ADLB | ADL Bathroom | Yes | 1 | 12 | Optional
B.0135.00.016 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | ADLBR | ADL Bed Room | Yes | 1 | 15 | Optional - for assessment prior to discharge
B.0135.00.017 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | ADLK-ENC | ADL Kitchen | Yes | 1 | 12
B.0135.00.018 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | ADLL | ADL Laundry | Yes | 1 | 8
B.0135.00.040 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | BATH | Bathroom | Yes | 1 | 15 | Optional. May be fitted with lifting equipment or require use of mobile equipment.
B.0135.00.019 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | BHWS-B | Bay - Handwashing, Type B | Yes | 2 | 1 | 1 per 4 beds
B.0135.00.020 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | BHWS-B | Bay - Handwashing, Type B | Yes |  | 1 | 1 per 4 beds
B.0135.00.021 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - |  | Consult Room |  | 2 | 14
B.0135.00.022 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - |  | Consult Room |  |  | 14
B.0135.00.046 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - |  | Courtyard - General |  | 1 | 60 | A minimum recommended size. Additional space should be provided for units that exceed 8 consumers/ patients.
B.0135.00.042 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | DINBEV-25 | Dining Room / Beverage Bay (Mental Health) | Yes | 1 | 30 | Assumes 8 consumers plus 2 family members. Includes refreshments bar. Use for activities at other times.
B.0135.00.023 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | ENS-MH | Ensuite - Mental Health, 5m2 | Yes | 6 | 5 | Some individual ensuites may be substituted with shared ensuites with corridor access
B.0135.00.024 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | ENS-MH | Ensuite - Mental Health, 5m2 | Yes |  | 5 | Some individual ensuites may be substituted with shared ensuites with corridor access
B.0135.00.025 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | ENS-MH | Ensuite - Mental Health, 5m2 | Yes |  | 5 | Some individual ensuites may be substituted with shared ensuites with corridor access
B.0135.00.026 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | ENS-MH | Ensuite - Mental Health, 5m2 | Yes |  | 5 | Some individual ensuites may be substituted with shared ensuites with corridor access
B.0135.00.027 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | ENS-MH | Ensuite - Mental Health, 5m2 | Yes |  | 5 | Some individual ensuites may be substituted with shared ensuites with corridor access
B.0135.00.028 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | ENS-MH | Ensuite - Mental Health, 5m2 | Yes |  | 5 | Some individual ensuites may be substituted with shared ensuites with corridor access
B.0135.00.029 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - |  | Ensuite - Special, 6m2 |  | 2 | 6 | Bariatric patients and support increased mobility equipment.
B.0135.00.030 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - |  | Ensuite - Special, 6m2 |  |  | 6 | Bariatric patients and support increased mobility equipment.
B.0135.00.045 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - |  | Indoor Exercise Facility |  | 1 | 20 | Optional
B.0135.00.031 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | LNPT-10 | Lounge - Patient / Family | Yes | 2 | 15 | Reading, reflection, gender specific area, quiet music room etc.
B.0135.00.032 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | LNPT-10 | Lounge - Patient / Family | Yes |  | 15 | Reading, reflection, gender specific area, quiet music room etc.
B.0135.00.033 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | LNPT-10 | Lounge - Patient / Family | Yes | 1 | 15 | Private family vists. Includes lockable beverage bay.
B.0135.00.034 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | MEET-L-30 | Meeting Room, 30m2 | Yes | 1 | 30 | Activities, group music, occupational therapy. Includes wet area.
B.0135.00.035 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | MEET-L-30 | Meeting Room, 30m2 | Yes | 1 | 30 | Formal hearings, staff meetings, in-service, family conferences.
B.0135.00.044 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - |  | Multifunction Area |  | 1 | 40 | Includes areas for consumer telephone, computer, television, lounges.Note: 1.7m2 per bed may be added if shared space.
B.0135.00.043 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | PTRY | Pantry | Yes | 1 | 12 | Collocated with Dining Room. Includes serving bench
B.0135.00.036 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | STGN-9 | Store - General, 9m2 | Yes | 1 | 9 | Activity equipment
B.0135.00.041 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | CLUR-12 | Clean Utility / Medication Room, 12m2 | Yes | 1 | 10
B.0135.00.037 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | STPP | Store - Patient Property | Yes | 1 | 8
B.0135.00.039 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6 | Access from recreation areas.
B.0135.00.038 | Older Persons Acute Mental Health Unit | 22.10 Consumer/ Patient and Visitor Areas | - | TRMT | Treatment Room | Yes | 1 | 14 | Includes spatial allowance for resuscitation trolley (1m2) and exam couch (3m2)
[5 empty] | Discounted Circulation % |  |  | 32%

## High Dependence Unit - 4 Bedded
HIGH DEPENDENCY UNIT - 4 BEDDED
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
NEW ROOM | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - |  | Police / Ambulance Enclosed Secure Transfer Area |  | 1 | 20 | Gun safe - Allow additional 1m2 per gun safe when included. This is to be a secure area concealed from public view. The number of gun safes that would be required is a jurisdicational specific requirement e.g. x 2
B.0135.00.047 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | 1 BR-MH | 1 Bed Room - Mental Health, 14m2 | Yes | 4 | 14
B.0135.00.048 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | 1 BR-MH | 1 Bed Room - Mental Health, 14m2 | Yes |  | 14
B.0135.00.049 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | 1 BR-MH | 1 Bed Room - Mental Health, 14m2 | Yes |  | 14
B.0135.00.050 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | 1 BR-MH | 1 Bed Room - Mental Health, 14m2 | Yes |  | 14
B.0135.00.063 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | AIRLE-10 | Airlock - Entry, 10m2 | Yes | 1 | 10 | Secure for involuntary or agressive consumers
B.0135.00.051 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | BHWS-B | Bay - Handwashing, Type B | Yes | 1 | 1
B.0135.00.052 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - |  | Courtyard - HDU |  | 1 | 40 | 10m2 per consumer - weather protection provided
B.0135.00.053 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | ENS-MH | Ensuite - Mental Health, 5m2 | Yes | 1 | 5 | Optional - adjoining Exam Assessment
B.0135.00.054 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | ENS-MH | Ensuite - Mental Health, 5m2 | Yes | 4 | 5 | Alternatively, provide: Toilet - Patient x 2; Shower - Patient x 1
B.0135.00.055 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | ENS-MH | Ensuite - Mental Health, 5m2 | Yes |  | 5 | Alternatively, provide: Toilet - Patient x 2; Shower - Patient x 1
B.0135.00.056 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | ENS-MH | Ensuite - Mental Health, 5m2 | Yes |  | 5 | Alternatively, provide: Toilet - Patient x 2; Shower - Patient x 1
B.0135.00.057 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | ENS-MH | Ensuite - Mental Health, 5m2 | Yes |  | 5 | Alternatively, provide: Toilet - Patient x 2; Shower - Patient x 1
B.0135.00.064 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | INTF | Interview Room | Yes | 1 | 14 | Optional. Also used for visitors.
B.0135.00.067 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - |  | Lounge/ Dining/ Activity |  | 1 | 30 | 7.5m2 consumer
B.0135.00.065 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - |  | Low Stimulus Room |  | 1 | 14 | Built to seclusion room specification, but furnished more comfortably. Preferably able to swing between HDU and General zones.
B.0135.00.058 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | SECL | Seclusion Room | Yes | 1 | 15 | Optional: Maybe located with lounge - Low Stimulus Room to replace 'seclusion' room as part of low stimulus area = 10m2.
B.0135.00.059 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | SSTN-14 | Staff Station, 14m2 | Yes | 1 | 14 | Optional - depending on whether planning allows a shared Staff Station with General/ Open zone.
B.0135.00.060 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | STGN-9 | Store - General, 9m2 | Yes | 1 | 9 | General storage needs
B.0135.00.066 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | WCPT | Toilet - Patient, 4m2 | Yes | 1 | 4 | Available for consumers in low stimulus or seclusion room.
B.0135.00.061 | Older Persons Acute Mental Health Unit | 22.15 High Dependency Unit - 4 Bedded | - | WAIT-SEC | Waiting - Secure, 6m2 | Yes | 1 | 6
[5 empty] | Discounted Circulation % |  |  | 32%

## Clinical Support Areas
CLINICAL SUPPORT AREAS
Room Function #: | HPU or SubParts (Name) | Functional Grouping | Department | AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
B.0135.00.068 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | BLIN | Bay - Linen | Yes | 1 | 2 | Enclosed and lockable
B.0135.00.069 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | CLRM-5 | Cleaner's Room, 5m2 | Yes | 1 | 5
B.0135.00.090 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - |  | Courtyard - Staff |  | 1 | 15
B.0135.00.071 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | DTUR-10 | Dirty Utility, 10m2 | Yes | 1 | 10
B.0135.00.070 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | DISP-8 | Disposal Room, 8m2 | Yes | 1 | 8
B.0135.00.072 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | MEET-12 | Meeting Room, 12m2 | Yes | 1 | 12 | Larger meeting room scheduled in consumer/ Visitor Areas
B.0135.00.073 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | OFF-2P | Office - 2 Person Shared, 12m2 | Yes | 1 | 12 | Clinical Nurse Consultant, Educator, Psychologist
B.0135.00.074 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | OFF-3P | Office - 3 Person Shared, 15m2 | Yes | 1 | 15 | Consultants, Registrars
B.0135.00.075 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | OFF-CLW | Office - Clinical Workroom | Yes | 1 | 15 | In main unit
B.0135.00.076 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | OFF-S12 | Office - Single Person, 12m2 | Yes | 1 | 12 | Clinical Director
B.0135.00.077 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Unit Manager or NUM. In main unit.
B.0135.00.078 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - |  | Office - Workstations, 4.4m2 |  | 4 | 4.4 | Education & Allied Health, ward clerk, students. 4.5m2 per person. Refer to staff establishment.
B.0135.00.079 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - |  | Office - Workstations, 4.4m2 |  |  | 4.4 | Education & Allied Health, ward clerk, students. 4.5m2 per person. Refer to staff establishment.
B.0135.00.080 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - |  | Office - Workstations, 4.4m2 |  |  | 4.4 | Education & Allied Health, ward clerk, students. 4.5m2 per person. Refer to staff establishment.
B.0135.00.081 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - |  | Office - Workstations, 4.4m2 |  |  | 4.4 | Education & Allied Health, ward clerk, students. 4.5m2 per person. Refer to staff establishment.
B.0135.00.082 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | SHST | Shower - Staff, 3m2 | Yes | 1 | 3
B.0135.00.083 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | SRM-18 | Staff Room, 18m2 | Yes | 1 | 18
B.0135.00.084 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | SSTN-14 | Staff Station, 14m2 | Yes | 1 | 14 | In main unit
B.0135.00.085 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | STEQ-14 | Store - Equipment, 14m2 | Yes | 1 | 14 | Mobility aid and medical equipment storage. Maybe located on ward.
B.0135.00.086 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | STGN-9 | Store - General, 9m2 | Yes | 1 | 9 | General storage
B.0135.00.087 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | STPS-8 | Store - Photocopier / Stationery, 8m2 | Yes | 1 | 8
B.0135.00.088 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | WCST | Toilet - Staff, 3m2 | Yes | 2 | 3
B.0135.00.089 | Older Persons Acute Mental Health Unit | 22.20 Clinical Support Areas | - | WCST | Toilet - Staff, 3m2 | Yes |  | 3
[5 empty] | Discounted Circulation % |  |  | 32%