## 6 Rooms
6 Rooms
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ENTRY / RECEPTION / WAITING
AIRLE-10 | Airlock - Entry, 10m2 | Yes | 1 | 10 | Only provided when located on a stand-alone site or where a dedicated external entry is provided.
RECL-10 | Reception / Clerical, 10m2 | Yes | 1 | 9
STFS-10 | Store - Files, 10m2 | Yes | 1 | 6 | Not required if paperless systems are being used.
WAIT-20 | Waiting, 20m2 | Yes | 1 | 15 | Waiting will be arranged to achieve separation between groups and ages.
PLAP-10 | Play Area - Paediatrics, 10m2 | Yes | 1 | 10
BWD-1 | Bay – Water Dispenser | Yes | Shared
WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6
WCPU-3 | Toilet - Public, 3m2 | Yes | 1 | 3
PAR | Parenting Room | Yes | Shared |  | Optional inclusion if not located nearby.
| Discounted Circulation % |  | 32%
PATIENT AREAS
Outpatient Clinics |  |  |  |  | See Note 1 above.
CONS | Consult Room | Yes | 5 | 12
INTF | Interview Room | Yes | 1 | 12 | See Note 2 above.
TRMT | Treatment Room | Yes | - | -
| Treatment Room - Mental Health |  | 1 | 14 | Inclusion only needed where community mental health services are part of the scope.
MEET-L-20 | Meeting Room, 20m2 | Yes | - | - | Use for group activities and/or education.
WCPT | Toilet - Patient, 4m2 | Yes | 1 x 4 | 4 | Additional visitor amenities are provided at the entry.
Medical Day Treatment |  |  | 4 Spaces |  | See Note 2 above.
TRMT-CHE | Treatment Bay | Yes | 4 | 9 | Acute treatment spaces; may include dialysis chair.
1BR-H-12 | 1 Bed Room, 12m2 | Yes | - | - | Allocation is indicative only and inclusion will be dependent on local requirements.
ENS-ST | Ensuite - Standard, 5m2 | Yes
PBTR-H-6 | Patient Bay - Holding, 6m2 |  | 1 | 6 | Pre/post treatment; inclusion depends on operational policy.
WCPT | Toilet - Patient, 4m2 | Yes | 1 | 4 | Additional visitor amenities are provided at the entry.
| Discounted Circulation % |  | 32%
CLINICAL SUPPORT
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes | 1 | 4 | May be shared between entry and treatment areas.
BLIN | Bay - Linen | Yes | 1 | 2 | Includes storage for pillows.
BPATH | Bay - Pathology | Yes | - | - | Optional.
BRES | Bay - Resuscitation | Yes | 1 | 1.5
CLRM-5 | Cleaner's Room, 5m2 | Yes | Shared |  | Shared with an adjacent service.
CLUR-12 | Clean Utility / Medication Room, 12m2 | Yes | 1 | 10 | Incl. medications, may also be used for pre-packaged cytotoxic drug storage.
DTUR-S | Dirty Utility - Sub, 8m2 | Yes | 1 | 8 | May include Disposal Room function when dedicated room not provided.
DISP-8 | Disposal Room, 8m2 | Yes | Shared |  | Shared with an adjacent service.
OFF-CLW | Office - Clinical Workroom | Yes | - | - | Staff work, handovers, etc.
SSTN-10 | Staff Station, 10m2 | Yes | 1 | 8
STEQ-14 | Store - Equipment, 14m2 | Yes | 1 | 8 | Combined.
STGN-9 | Store - General, 9m2 | Yes | - | -
| Discounted Circulation % |  | 32%
STAFF AREAS
MEET-L-20 | Meeting Room, 20m2 | Yes | - | -
OFF-S9 | Office - Single Person, 9m2 | Yes | - | - | Optional. Nursing Manager, dependent on local management arrangements.
| Office – Workstation, 5.5m2 |  | - | -
| Office – Workstation, 4.4m2 |  | 1 | 4.4
PROP-2 | Property Bay - Staff | Yes | 1 | 2 | Indicative only and space allocation will be dependent on staff numbers and local policies.
WCST | Toilet - Staff, 3m2 | Yes | Shared |  | Number in accordance with staff profile.
| Discounted Circulation % |  | 32%

## 12 Rooms
12 Rooms
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ENTRY / RECEPTION / WAITING
AIRLE-10 | Airlock - Entry, 10m2 | Yes | 1 | 10 | Only provided when located on a stand-alone site or where a dedicated external entry is provided.
RECL-10 | Reception / Clerical, 10m2 | Yes | 1 | 9
STFS-10 | Store - Files, 10m2 | Yes | 1 | 8 | Not required if paperless systems are being used.
WAIT-20 | Waiting, 20m2 | Yes | 1 | 28 | Waiting will be arranged to achieve separation between groups and ages.
PLAP-10 | Play Area - Paediatrics, 10m2 | Yes | 1 | 10
BWD-1 | Bay – Water Dispenser | Yes | 1 | 1
WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6
WCPU-3 | Toilet - Public, 3m2 | Yes | 1 | 3
PAR | Parenting Room | Yes | Shared |  | Optional inclusion if not located nearby.
| Discounted Circulation % |  | 32%
PATIENT AREAS
Outpatient Clinics |  |  |  |  | See Note 1 above.
CONS | Consult Room | Yes | 10 | 12
INTF | Interview Room | Yes | 1 | 12 | See Note 2 above.
TRMT | Treatment Room | Yes | 1 | 14
| Treatment Room - Mental Health |  | 1 | 14 | Inclusion only needed where community mental health services are part of the scope.
MEET-L-20 | Meeting Room, 20m2 | Yes | 1 | 20 | Use for group activities and/or education.
WCPT | Toilet - Patient, 4m2 | Yes | 1 | 4 | Additional visitor amenities are provided at the entry.
Medical Day Treatment |  |  | 6 Spaces |  | See Note 2 above.
TRMT-CHE | Treatment Bay | Yes | 5 | 9 | Acute treatment spaces; may include dialysis chair.
1BR-H-12 | 1 Bed Room, 12m2 | Yes | 1 | 12 | Allocation is indicative only and inclusion will be dependent on local requirements.
ENS-ST | Ensuite - Standard, 5m2 | Yes | 1 | 5
PBTR-H-6 | Patient Bay - Holding, 6m2 |  | 1 | 6 | Pre/post treatment; inclusion depends on operational policy.
WCPT | Toilet - Patient, 4m2 | Yes | 1 | 4 | Additional visitor amenities are provided at the entry.
| Discounted Circulation % |  | 32%
CLINICAL SUPPORT
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes | 1 | 4 | May be shared between entry and treatment areas.
BLIN | Bay - Linen | Yes | 1 | 2 | Includes storage for pillows.
BPATH | Bay - Pathology | Yes | - | - | Optional.
BRES | Bay - Resuscitation | Yes | 1 | 1.5
CLRM-5 | Cleaner's Room, 5m2 | Yes | Shared |  | Shared with an adjacent service.
CLUR-12 | Clean Utility / Medication Room, 12m2 | Yes | 1 | 12 | Incl. medications, may also be used for pre-packaged cytotoxic drug storage.
DTUR-S | Dirty Utility - Sub, 8m2 | Yes | 1 | 8 | May include Disposal Room function when dedicated room not provided.
DISP-8 | Disposal Room, 8m2 | Yes | Shared |  | Shared with an adjacent service.
OFF-CLW | Office - Clinical Workroom | Yes | - | - | Staff work, handovers, etc.
SSTN-10 | Staff Station, 10m2 | Yes | 1 | 10
STEQ-14 | Store - Equipment, 14m2 | Yes | 1 | 9 | Combined.
STGN-9 | Store - General, 9m2 | Yes | - | -
| Discounted Circulation % |  | 32%
STAFF AREAS
MEET-L-20 | Meeting Room, 20m2 | Yes | - | -
OFF-S9 | Office - Single Person, 9m2 | Yes | - | - | Optional. Nursing Manager, dependent on local management arrangements.
| Office – Workstation, 5.5m2 |  | 1 | 5.5
| Office – Workstation, 4.4m2 |  | 1 | 4.4
PROP-2 | Property Bay - Staff | Yes | 1 | 2 | Indicative only and space allocation will be dependent on staff numbers and local policies.
WCST | Toilet - Staff, 3m2 | Yes | 1 | 3 | Number in accordance with staff profile.
| Discounted Circulation % |  | 32%

## 16 Rooms
16 Rooms
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
ENTRY / RECEPTION / WAITING
AIRLE-10 | Airlock - Entry, 10m2 | Yes | 1 | 10 | Only provided when located on a stand-alone site or where a dedicated external entry is provided.
RECL-10 | Reception / Clerical, 10m2 | Yes | 1 | 12
STFS-10 | Store - Files, 10m2 | Yes | 1 | 10 | Not required if paperless systems are being used.
WAIT-20 | Waiting, 20m2 | Yes | 1 | 40 | Waiting will be arranged to achieve separation between groups and ages.
PLAP-10 | Play Area - Paediatrics, 10m2 | Yes | 1 | 10
BWD-1 | Bay – Water Dispenser | Yes | 1 | 1
WCAC | Toilet - Accessible, 6m2 | Yes | 1 | 6
WCPU-3 | Toilet - Public, 3m2 | Yes | 2 | 3
PAR | Parenting Room | Yes | 1 | 6 | Optional inclusion if not located nearby.
| Discounted Circulation % |  | 32%
PATIENT AREAS
Outpatient Clinics |  |  | Qty | m2 | See Note 1 above.
CONS | Consult Room | Yes | 12 | 12
INTF | Interview Room | Yes | 1 | 12 | See Note 2 above.
TRMT | Treatment Room | Yes | 2 | 14
| Treatment Room - Mental Health |  | 1 | 14 | Inclusion only needed where community mental health services are part of the scope.
MEET-L-20 | Meeting Room, 20m2 | Yes | 1 | 20 | Use for group activities and/or education.
WCPT | Toilet - Patient, 4m2 | Yes | 1 | 4 | Additional visitor amenities are provided at the entry.
Medical Day Treatment |  |  | 12 Spaces |  | See Note 2 above.
TRMT-CHE | Treatment Bay | Yes | 11 | 9 | Acute treatment spaces; may include dialysis chair.
1BR-H-12 | 1 Bed Room, 12m2 | Yes | 1 | 12 | Allocation is indicative only and inclusion will be dependent on local requirements.
ENS-ST | Ensuite - Standard, 5m2 | Yes | 1 | 5
PBTR-H-6 | Patient Bay - Holding, 6m2 |  | 1 | 6 | Pre/post treatment; inclusion depends on operational policy.
WCPT | Toilet - Patient, 4m2 | Yes | 2 x 4 | 4 | Additional visitor amenities are provided at the entry.
| Discounted Circulation % |  | 32%
CLINICAL SUPPORT
BBEV-OP | Bay - Beverage, Open Plan, 4m2 | Yes | 1 | 4 | May be shared between entry and treatment areas.
BLIN | Bay - Linen | Yes | 1 | 2 | Includes storage for pillows.
BPATH | Bay - Pathology | Yes | 1 | 3 | Optional.
BRES | Bay - Resuscitation | Yes | 1 | 1.5
CLRM-5 | Cleaner's Room, 5m2 | Yes | 1 | 8 | Shared with an adjacent service.
CLUR-12 | Clean Utility / Medication Room, 12m2 | Yes | 1 | 14 | Incl. medications, may also be used for pre-packaged cytotoxic drug storage.
DTUR-S | Dirty Utility - Sub, 8m2 | Yes | 1 | 10 | May include Disposal Room function when dedicated room not provided.
DISP-8 | Disposal Room, 8m2 | Yes | 1 | 8 | Shared with an adjacent service.
OFF-CLW | Office - Clinical Workroom | Yes | 1 | 12 | Staff work, handovers, etc.
SSTN-10 | Staff Station, 10m2 | Yes | 1 | 12
STEQ-14 | Store - Equipment, 14m2 | Yes | 1 | 12 | Combined.
STGN-9 | Store - General, 9m2 | Yes | 1 | 9
| Discounted Circulation % |  | 32%
STAFF AREAS
MEET-L-20 | Meeting Room, 20m2 | Yes | 1 | 18
OFF-S9 | Office - Single Person, 9m2 | Yes | 1 | 9 | Optional. Nursing Manager, dependent on local management arrangements.
| Office – Workstation, 5.5m2 |  | 1 | 5.5
| Office – Workstation, 4.4m2 |  | 1 | 4.4
PROP-2 | Property Bay - Staff | Yes | 1 | 2 | Indicative only and space allocation will be dependent on staff numbers and local policies.
WCST | Toilet - Staff, 3m2 | Yes | 1 | 3 | Number in accordance with staff profile.
| Discounted Circulation % |  | 32%