## Revised Version 3
ENTRY / RECEPTION / WAITING
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
WAIT-20 | Waiting | Yes | 1 | 20 | Area recommendation is indicative and will depend on the number of services sharing the waiting area and number of people to be accommodated. 1.2m2 recommended per seat, 1.5m2 per wheelchair space. Consider infrastructure requirements for patient self-registration and access to education / health promotion resources.
WCPU-3 | Toilet - Public | Yes | 2 | 3 | May be shared with collocated services.
WCAC | Toilet - Accessible | Yes | 1 | 6 | May be shared with collocated services.
RECL-12 | Reception / Clerical | Yes | 1 | 12 | Size will depend on number of services being supported.
STPS-8 | Store - Photocopy / Stationery | Yes | 1 | 8
| Discounted Circulation % |  |  | 25%
CARDIAC DIAGNOSTIC AREAS
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
CONS | Consult Room | Yes | 3 | 12 | To be flexibly used for ECG, holter / ambulatory BP application, general consultations. Number of rooms will depend on projected activity assuming optimal utilisation. May require ECG machine, Holter monitoring equipment (ECG leads and monitors) and blood pressure equipment.
| Holter Analysis Room |  | 1 | 12 | Desks / benching to support 2-3 computers.
| Pacemaker / ICD Follow-Up Clinical Room |  | 1 | 15 | Bed access; cardiac protection; dedicated write up area.
STRT | Stress Testing Room | Yes | 1 | 20 | To be flexibly used for ECG, echo exercise stress testing and pharmacological stress testing. Includes resuscitation trolley. Pharmacological stress testing may also be undertaken in a TOE room given a treadmill is not required.
CHPT | Change Cubicle - Patient | Yes | 2 | 2
BWD-1 | Bay - Water Dispenser | Yes | 1 | 1 | Locate near to stress testing room. Should not be located in waiting room given some patients will be fasting.
| Tilt Table Testing Room |  | 1 | 15
| Echo Room - TTE |  | 2 | 20
ECHO-TOE | Echo-Transoesophageal | Yes | 1 | 26 | For TOES. May be flexibly used for TTEs also. Note recovery areas included with cath lab SOA below as an assumed integrated recovery zone.
CLUP-7 | Echo Reprocessing Room | Yes | 1 | 9 | Collocated with TOE room. For reprocessing and storage of TOE probes and ultrasound transducers.
REPR | Echo Reporting Room | Yes | 1 | 12
SSTN-10 | Staff Station | Yes | 1 | 12
CLUR-12 | Clean Utility / Medication Room | Yes | 1 | 10 | Includes medication store.
DTUR-S | Dirty Utility-Sub | Yes | 1 | 8 | May be shared with adjacent service.
BRES | Bay - Resuscitation | Yes | 1 | 1.5
BLIN | Bay - Linen | Yes | 1 | 2
BMEQ-4 | Bay - Mobile Equipment | Yes | 1 | 4
STEQ-20 | Store - Equipment | Yes | 1 | 16 | Storage of mobile units, requires power and data. Area will depend on scope of service and no. of mobile units to be accommodated.
BWC | Trolley / Wheelchair Park |  | 1 | 4 | May be used to store outpatient trolleys when rooms are used for inpatients. Area requirement will depend on size of unit.
| Discounted Circulation % |  |  | 32%
CARDIAC CATHETER LABORATORY AREAS
Assume reception, waiting is shared with collocated service eg cardiac diagnostic services, interventional imaging suite or operating theatres.
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
CONS | Consult Room | Yes | 2 | 12 | For examinations, post aniogram review, operator reviews, pre-admission interviews, consents etc. Also needs to accommodate a carer.
CLAB-I | Catheter Lab - Interventional | Yes | 2 | 55
CLAB-EP | Catheter Lab - Electrophysiology Studies |  | 1 | 60
CLCR-I | Cath Lab I Control / Reporting Room | Yes | 2 | 14 | 1 control room per cath lab recommended.
CLCR-EP | Cath Lab EP Control / Reporting Room |  | 1 | 17 | Multiple staff will stand and sit in this area. Located ideally at head or foot of bed not at the side for maximum patient and procedure visibility.
| Equipment Room - Interventional Lab |  | 2 | 10 | For storage of vendor computer cabinets.
| Equipment Room - EP Lab |  | 1 | 12 | For storage of vendor computer cabinets, additional required for EP labs.
SCRB-4 | Scrub Up / Gowning | Yes | 3 | 4 | Includes gowning requirements. May be shared between 2 labs.
| Bay - Lead Aprons |  | 3 | 1 | One per laboratory; may be shared between rooms. To be located for ease of donning prior to accessing the procedure room.
BBW | Bay - Blanket / Fluid Warmer | Yes | 1 | 1
BMEQ-4 | Bay - Mobile Equipment | Yes | 1 | 4 | Minor equipment e.g. IV poles, commodes, wheelchairs.
STSS-20 | Store - Sterile Stock |  | 1 | 36 | 12m2 per lab.
STEQ-20 | Store - Equipment | Yes | 1 | 24 | 8m2 per lab. For large equipment when not required in cath labs.
STGN-8 | Store - General | Yes | 1 | 8 | For storage of non-sterile bulk items/boxes
CLUP-7 | Clean-up Room | Yes | 1 | 10
REPR | Reporting Room |  | 1 | 18 | 1 workstation per lab assumed, however this will depend on the staffing profile. May be shared with cardiac diagnostic services if collocated.
DISP-10 | Disposal Room | Yes | 1 | 10 | Large volume of packaging waste. May be shared with collocated service.
CLRM-5 | Cleaner's Room | Yes | 1 | 5
| Discounted Circulation % |  |  | 32%
PATIENT HOLD / RECOVERY
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
CHPT | Change Cubicle - Patient | Yes | 2 | 2 | 1 change space per lab
CHPT-D | Change Cubicle, Accessible |  | 1 | 4
| Property Bay - Patient |  | 1 | 2
PBTR-RS1 | Patient Bay - Recovery, Stage 1 | Yes | 2 | 9 | For pre and post procedure holding and recovery. 5 bays per laboratory and 1-2 per TOE room (including discharge lounge with recliners below). The number of Stage 1 recovery bays to support patients recovering from GA will require confirmation depending on anticipated activity. Locate to provide ease of access to lockers above.
PBTR-H-9 | Patient Bay - Holding | Yes | 10 | 9
| Patient Bay - Discharge Lounge |  | 5 | 4
WCPT | Toilet - Patient | Yes | 2 | 4
WCAC | Toilet - Accessible | Yes | 1 | 6
| Shower / Toilet - Accessible |  | 1 | 7 | Close access from the stress testing room and cath labs.
SSTN-14 | Staff Station | Yes | 1 | 14 | Includes central monitoring.
CLUR-12 | Clean Utility / Medication Room | Yes | 1 | 12 | Shared with cath lab zone.
BHWS-B | Bay - Handwashing, Type B | Yes | 4 | 1 | 1 between 4 bays
BPATH | Bay - Pathology | Yes | 1 | 2 | Accessible from cath lab and recovery zones
BPTS | Bay - Pneumatic Tube | Yes | 1 | 1
BBW | Bay - Blanket / Fluid Warmer | Yes | 1 | 1
BRES | Bay - Resuscitation | Yes | 1 | 1.5
BLIN | Bay - Linen | Yes | 1 | 2
BMEQ-4 | Bay - Mobile Equipment | Yes | 1 | 4
BBEV-OP | Bay Beverage, Open Plan | Yes | 1 | 4
DTUR-S | Dirty Utility - Sub | Yes | 1 | 8
| Discounted Circulation % |  |  | 32%
STAFF WORK AREAS AND AMENITIES
AusHFG Room Code | Room / Space | SC / SC-D | Qty | m2 | Remarks
OFF-S9 | Office - Single Person | Yes |  | 9 | Number will depend on staff profile and local jurisdictional policies.
| Office - Workstation |  |  | 5.5 | To support home monitoring service. Number of workstations will depend on staff establishment.
MEET- L-15 | Meeting Room | Yes | 1 | 15 | Number and size will depend on requirements of unit. May be shared with adjacent service. Will require audio-visual equipment.
SRM-18 | Staff Room | Yes | 1 | 18 | Area requirement will depend on the staff establishment. Refer to standard components for capacity requirements. Shared staff room for small units. Depending on the size of service, additional beverage bays may be needed to support staff near to where they work.
WCST | Toilet - Staff | Yes | 2 | 3 | Number will suit FTE and be located in staff areas but also close to patient care rooms. Access to accessible toilet required.
CHST-10 | Change Room - Staff (Male / Female) | Yes | 2 | 15 | Access to 1 male, 1 female. Comprises lockers, shower, toilet. Are requirement will depend on staff establishment.
| Discounted Circulation % |  |  | 25%